## DaRUC Charge Formula
DaRUC Charge Equation (per 3-29-04 TNT approved DaRUC)
1 | DaRUC ShortFall Charge (DARUCSF)
DARUCSFAMT = MIN (SFRS * DARUCMWAMT_ERCOTTOT), (6 * DARUCHRCHG * DARUCSFQTY))
Where:
SFRS = DARUCSFQTY / DARUCSFQTY_ERCOTTOT
DARUCHRCHG = DARUCMWAMT_ERCOTTOT / DARUCMWQTY_ERCOTTOT
DARUCSFQTY = LDOBL – MIN ((DARUCSNAP – SUM (DECOMMIT)), RTCAP)
2 | DaRUC Load Allocation Charge (DARUCLA)
DARUCLAAMT = LRS * DARUCUPTL
Where:
LRS = SUM4(LTOTQSE) / SUM4(LTOTERCOT)
DARUCUPTL = DARUCMWAMT_ERCOTTOT - DARUCSFAMT_ERCOTTOT
3 | DaRUC Charge (DARUCCHG)
DARUCCHGAMT = DARUCSFAMT + DARUCLAAMT
Where:
|  | DARUCCHGAMT: |  | Total DARUC Charge to QSE ($) by hour for that QSE
|  | DARUCHRCHG: |  | Hourly DARUC Charge used to calculate DARUC Shortfall Charge to QSE
|  | DARUCLAAMT: |  | Total DARUC Load Allocation Charge to QSE ($) by hour for that QSE
|  | DARUCMWAMT_ERCOTTOT: |  | Sum of DARUC Make Whole Payments to QSE ($) by hour for all QSEs in the market
|  | DARUCMWQTY_ERCOTTOT: |  | Sum of DARUC Make Whole Quantities (MW) by hour for all QSEs in the market
|  | DARUCSFAMT: |  | Total DARUC ShortFall Charge to QSE ($) by hour for that QSE
|  | DARUCSFAMT_ERCOTTOT: |  | Sum of DARUC ShortFall Payments to QSE ($) by hour for all QSEs in the market
|  | DARUCSFQTY: |  | Total DARUC ShortFall Quantity (MW) by hour for that QSE
|  | DARUCSFQTY_ERCOTTOT: |  | Sum of DARUC ShortFall Quantities (MW) by hour for all QSEs in the market
|  | DARUCSNAP: |  | Sum of QSE self-committed capacity, capacity de-committed by ERCOT, committed capacity purchase nominations and bilateral energy purchase schedules (all submitted prior to the DaRUC) by hour for that QSE
|  | DARUCUPTL: |  | Total amount ($) uplifted to Load.
|  | DECOMMIT: |  | Capacity taken off-line by either QSE or due to forced outage by hour for that QSE
|  | LDOBL: |  | QSE after-the-fact adjusted metered load, committed capacity sale nominiations and bilateral energy sale schedules by hour for that QSE
|  | LRS: |  | QSE percentage % of Total ERCOT Load by hour for that QSE
|  | LTOTERCOT: |  | Load Total for ERCOT by 15-minute interval
|  | LTOTQSE: |  | Load Total for each QSE by 15-minute interval
|  | RTCAP: |  | QSE actual capacity provided in real time by hour for that QSE
|  | SFRS: |  | QSE percentage % of Total ERCOT ShortFall by hour for that QSE

## DaRUC Charge INPUTS
Settlement of Day-Ahead Reliability Unit Commitment (DaRUC) Charge
Inputs
ID | Inputs | Variable | Unit of Measure | Data Source | Freq. | Description
1 | int. ERCOTTOT DaRUC Make Whole Payment | DARUCMWAMT_ERCOTTOT | $ | Settlements | 24 | Sum all QSE/Unit DaRUC Make Whole payments by hour.
2 | int. ERCOTTOT DaRUC Make Whole MW Quantity | DARUCMWQTY_ERCOTTOT | MW | Settlements | 24 | Sum all QSE/Unit DaRUC Make Whole MW Quantities by hour.
3 | int. Hourly DaRUC Charge | DARUCHRCHG | $/MW | Settlements | 24 | Hourly DaRUC $/MW Charge used in Shortfall DaRUC Charge.
4 | QSE Load Obligation | LDOBL | MW | MOS | 24 | QSE after-the-fact adjusted metered load, committed capacity sale nominiations and bilateral energy sale schedules.
5 | QSE DaRUC Snapshot | DARUCSNAP | MW | MOS | 24 | Sum of QSE self-committed capacity, capacity de-committed by ERCOT, committed capacity purchase nominations and bilateral energy purchase schedules (all submitted prior to the DaRUC).
6 | QSE De-Commits | DECOMMIT | MW | MOS | 24 | Capacity taken off-line by either QSE or due to forced outage.
7 | QSE Real Time Capacity | RTCAP | MW | MOS | 24 | Actual capacity provided in real time.
8 | int. QSE Shortfall MW Quantity | DARUCSFQTY | MW | Settlements | 24 | Load Obligation–MIN((DaRUC Snapshot-DeCommits),Real Time QSE Cap.)
9 | int. ERCOTTOT Shortfall MW Quantity | DARUCSFQTY_ERCOTTOT | MW | Settlements | 24 | Sum all QSE Capacity Shortfall quantities in MW.
10 | int. QSE Short Ratio Share | SFRS | % | Settlements | 24 | Each QSEs percentage of total ERCOT DaRUC Shortfall.
11 | int. QSE Shortfall DaRUC Charge | DARUCSFAMT | $ | Settlements | 24 | QSE charge for Capacity shortfall. Shortfall Charge = MIN [(SFRS * ERCOTTOT DaRUC Make Whole Payments), (6 * Hourly DaRUC Charge*QSE Shortfall MW Quantity)]
12 | int. ERCOTTOT Shortfall DaRUC Charge | DARUCSFAMT_ERCOTTOT | $ | Settlements | 24 | Sum all QSE Shortfall DaRUC Charges by hour.
13 | int. Uplift to Load | UPTL | $ | Settlements | 24 | Total dollar amount uplifted to Load. This is the total dollar amount above the ERCOTTOT Shortfall DaRUC Charge.
14 | ERCOT Total Load Actual | LTOTERCOT | MWh | Data Ag | 96 | Load Total for ERCOT by interval.
15 | QSE Load Actual | LTOTQSE | MWh | Data Ag | 96 | Load Total for each QSE by interval.
16 | int. QSE Load Ratio Share | LRS | % | Settlements | 24 | QSE percentage of Total ERCOT Load
17 | int. QSE Uplift Charge | DARUCLAAMT | $ | Settlements | 24 | QSE charge for DaRUC above Shortfall DaRUC Charge

## DaRUC Charge Example
(NOTE: HaRUC and DaRUC may be used interchangeably throughout document)
Step b.1
DaRUC Make Whole Payments (DaRUC Make Whole Payment Total / # Committed Hours)
| Interval 1 | Interval 2 | Interval 3 | Interval 4 | Interval 5 | Interval 6 | Interval 7 | Interval 8 | Interval 9
Resource QSE A | -3000 | -3000 | -3000 | -3000 | -3000 | -3000 | -3000 | -3000 | -3000
Resource QSE B | 0 | -900 | -900 | -900 | -900 | -900 | 0 | 0 | 0
Resource QSE C | 0 | 0 | 0 | 0 | 0 | -70000 | -70000 | -70000 | -70000
Step b.2
ERCOTTOT DaRUC Make Whole Payments | -3000 | -3900 | -3900 | -3900 | -3900 | -73900 | -73000 | -73000 | -73000
Step b.3
DaRUC Make Whole MW Quantities
| Interval 1 | Interval 2 | Interval 3 | Interval 4 | Interval 5 | Interval 6 | Interval 7 | Interval 8 | Interval 9
Resource QSE A | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400
Resource QSE B | 0 | 90 | 90 | 90 | 90 | 90 | 0 | 0 | 0
Resource QSE C | 0 | 0 | 0 | 0 | 0 | 400 | 400 | 400 | 400
ERCOTTOT DaRUC Make Whole MW Quantities | 400 | 490 | 490 | 490 | 490 | 890 | 800 | 800 | 800
DaRUC Charge/MW | -7.5 | -7.9592 | -7.9592 | -7.9592 | -7.9592 | -83.0337 | -91.25 | -91.25 | -91.25
Step b.4 | Interval 1 | Interval 2 | Interval 3 | Interval 4 | Interval 5 | Interval 6 | Interval 7 | Interval 8 | Interval 9
QSE A Shortfall MW Qty | 300 | 300 | 300 | 300 | 200 | 20 | 0 | 0 | 0
Load Obligation (MW) | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
DaRUC Snapshot (MW) | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
De-Commits (MW) | 200 | 200 | 200 | 200 | 200 | 0 | 0 | 0 | 0
Real Time Capacity (MW) | 700 | 700 | 700 | 700 | 800 | 980 | 1000 | 1000 | 1000
QSE B Shortfall MW Qty | 200 | 200 | 200 | 200 | 0 | 0 | 0 | 0 | 0
Load Obligation (MW) | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200
DaRUC Snapshot (MW) | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200
De-Commits (MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Real Time Capacity (MW) | 1000 | 1000 | 1000 | 1000 | 1200 | 1200 | 1200 | 1200 | 1200
Step b.5
| Interval 1 | Interval 2 | Interval 3 | Interval 4 | Interval 5 | Interval 6 | Interval 7 | Interval 8 | Interval 9
ERCOTTOT Shortfall MW Qty | 500 | 500 | 500 | 500 | 200 | 20 | 0 | 0 | 0
Step b.6
| Interval 1 | Interval 2 | Interval 3 | Interval 4 | Interval 5 | Interval 6 | Interval 7 | Interval 8 | Interval 9
QSE A SFRS | 0.6 | 0.6 | 0.6 | 0.6 | 1 | 1 | 0 | 0 | 0
QSE B SFRS | 0.4 | 0.4 | 0.4 | 0.4 | 0 | 0 | 0 | 0 | 0
Shortfall DaRUC Charge = Minimum of SFRS * ERCOTTOT DaRUC Make Whole Payments OR 6 * Hourly DaRUC Charge (Step 3)
QSE A
SFRS * ERCOTTOT DaRUC Pymt | 1800 | 2340 | 2340 | 2340 | 3900 | 73900 | 0 | 0 | 0
6 * Hourly DaRUC Charge | 13500 | 14326.5306 | 14326.5306 | 14326.5306 | 9551.0204 | 9964.0449 | 0 | 0 | 0
QSE A Shortfall DaRUC Charge | 1800 | 2340 | 2340 | 2340 | 3900 | 9964.0449 | 0 | 0 | 0
QSE B
SFRS * ERCOTTOT DaRUC Pymt | 1200 | 1560 | 1560 | 1560 | 0 | 0 | 0 | 0 | 0
6 * Hourly DaRUC Charge | 9000 | 9551.0204 | 9551.0204 | 9551.0204 | 0 | 0 | 0 | 0 | 0
QSE B Shortfall DaRUC Charge | 1200 | 1560 | 1560 | 1560 | 0 | 0 | 0 | 0 | 0
Step b.7 | Interval 1 | Interval 2 | Interval 3 | Interval 4 | Interval 5 | Interval 6 | Interval 7 | Interval 8 | Interval 9
ERCOTTOT Shortfall DaRUC Charges | 3000 | 3900 | 3900 | 3900 | 3900 | 9964.0449 | 0 | 0 | 0
Uplift to Load | 0 | 0 | 0 | 0 | 0 | 63935.9551 | 73000 | 73000 | 73000
Calculate LRS | Interval 1 | Interval 2 | Interval 3 | Interval 4 | Interval 5 | Interval 6 | Interval 7 | Interval 8 | Interval 9 | Interval 10 | Interval 11 | Interval 12 | Interval 13 | Interval 14 | Interval 15 | Interval 16 | Interval 17 | Interval 18 | Interval 19 | Interval 20 | Interval 21 | Interval 22 | Interval 23 | Interval 24 | Interval 25 | Interval 26 | Interval 27 | Interval 28 | Interval 29 | Interval 30 | Interval 31 | Interval 32 | Interval 33 | Interval 34 | Interval 35 | Interval 36 | Interval 37 | Interval 38 | Interval 39 | Interval 40
LTOTERCOT/15-minute intervals | 1575 | 1575 | 1575 | 1575 | 1575 | 1575 | 1575 | 1575 | 1575 | 1575 | 1575 | 1575 | 1575 | 1575 | 1575 | 1575 | 1650 | 1650 | 1650 | 1650 | 1695 | 1695 | 1695 | 1695 | 1700 | 1700 | 1700 | 1700 | 1700 | 1700 | 1700 | 1700 | 1700 | 1700 | 1700 | 1700 | 1700 | 1700 | 1700 | 1700
MW Load QSE A/15-minute intervals | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 200 | 200 | 200 | 200 | 245 | 245 | 245 | 245 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250
MW Load QSE B/15-minute intervals | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300
MW Load QSE C/15-minute intervals | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250
MW Load QSE D/15-minute intervals | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275
MW Load QSE E/15-minute intervals | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300
MW Load QSE F/15-minute intervals | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325
LRS Load QSE A/hourly intervals | 0.11111 | 0.11111 | 0.11111 | 0.11111 | 0.11111 | 0.11111 | 0.11111 | 0.11111 | 0.11111
LRS Load QSE B/hourly intervals | 0.15873 | 0.15873 | 0.15873 | 0.15873 | 0.15873 | 0.15873 | 0.15873 | 0.15873 | 0.15873
LRS Load QSE C/hourly intervals | 0.15873 | 0.15873 | 0.15873 | 0.15873 | 0.15873 | 0.15873 | 0.15873 | 0.15873 | 0.15873
LRS Load QSE D/hourly intervals | 0.1746 | 0.1746 | 0.1746 | 0.1746 | 0.1746 | 0.1746 | 0.1746 | 0.1746 | 0.1746
LRS Load QSE E/hourly intervals | 0.19048 | 0.19048 | 0.19048 | 0.19048 | 0.19048 | 0.19048 | 0.19048 | 0.19048 | 0.19048
LRS Load QSE F/hourly intervals | 0.20635 | 0.20635 | 0.20635 | 0.20635 | 0.20635 | 0.20635 | 0.20635 | 0.20635 | 0.20635
| 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Load QSE A Uplift Charge | 0 | 0 | 0 | 0 | 0 | 7103.995 | 8111.1111 | 8111.1111 | 8111.1111
Load QSE B Uplift Charge | 0 | 0 | 0 | 0 | 0 | 10148.5643 | 11587.3016 | 11587.3016 | 11587.3016
Load QSE C Uplift Charge | 0 | 0 | 0 | 0 | 0 | 10148.5643 | 11587.3016 | 11587.3016 | 11587.3016
Load QSE D Uplift Charge | 0 | 0 | 0 | 0 | 0 | 11163.4207 | 12746.0317 | 12746.0317 | 12746.0317
Load QSE E Uplift Charge | 0 | 0 | 0 | 0 | 0 | 12178.2772 | 13904.7619 | 13904.7619 | 13904.7619
Load QSE F Uplift Charge | 0 | 0 | 0 | 0 | 0 | 13193.1336 | 15063.4921 | 15063.4921 | 15063.4921
Sum | 0 | 0 | 0 | 0 | 0 | 63935.9551 | 73000 | 73000 | 73000
ERCOTTOT DaRUC Make Whole Payments | -3000 | -3900 | -3900 | -3900 | -3900 | -73900 | -73000 | -73000 | -73000
Charges (Shortfall & Load Uplift) | 3000 | 3900 | 3900 | 3900 | 3900 | 73900 | 73000 | 73000 | 73000