| PRR Number | 502PRR | PRR Title | Aggregation of Combined Cycle Units Providing RRS |
| --- | --- | --- | --- |
| Date |  | 5/16/04 |  |
| Submitter’s Information |  |  |  |
| Name |  | Clayton Greer |  |
| E-mail Address |  | Clayton.greer@constellation.com |  |
| Company |  | Constellation Power Source |  |
| Company Address |  | 8768 Polo Drive, Fort Worth, TX 76123 |  |
| Phone Number |  | 817-938-3692 |  |
| Fax Number |  |  |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT |  |  |  |
| MARKET SEGMENT |  |  |  |
| Consumer |  |  |  |
| LSE: General, Including NOIE |  |  |  |
| LSE: CR & REP |  |  |  |
| QSE |  |  |  |
| Resource |  |  |  |
| TDSP |  |  |  |

Comments

This PRR calls for the aggregation of all units in joint combined cycle operation for the purposes of calculating compliance with the Responsive Reserve Service requirements of the Protocols.  ERCOT Operations expressed concerns with the ability for Operations to implement this PRR, so the PRR was remanded to a Task Force for further study on the feasibility of implementation.

At the Task Force meeting, ERCOT Staff stated that with the Operations systems being implemented in mid-July, the aggregation described in the PRR could be implemented fairly simply.  An estimate of 2 weeks was given to link the units of each qualifying combined cycle plant into aggregates.  As an initial list, ERCOT will use the aggregates already approved for settlement.  A new or revised aggregation application may be needed as the similar shift factor requirement of settlement aggregation is not required for RRS aggregation.

The QSE will still be responsible for notifying ERCOT of the appropriate limits of each unit in their Resource Plan.  The system will then aggregate all linked units for determination of compliance with Responsive Reserve requirements.

To affect the change as early as possible, the task force will be moving to have the PRR declared urgent and given a high priority.  The implementation is fairly simple and will remove unnecessary discrimination of a generation technology class.

Constellation has also initiated an OGRR to align the Operating Guides with this PRR change.

Revised Proposed Protocol Language