| PRR Number | 516PRR | PRR Title | Curtailment Prioritization for Wind Generators |
| --- | --- | --- | --- |
| Date |  | May 18, 2004 |  |
| Submitter’s Information |  |  |  |
| Name |  | Todd Eagleston |  |
| E-mail Address |  | todd.eagleston@res-na.com |  |
| Company |  | RES North America, LLC |  |
| Company Address |  | 4501 Spicewood Springs, Suite 1040, Austin, TX, 78759 |  |
| Phone Number |  | 512-338-8575 |  |
| Fax Number |  | 512-708-1757 |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | Approve SPS’s and implement limitations. | None | None |
| MARKET SEGMENT |  |  |  |
| Consumer | None | None | None |
| LSE: General, Including NOIE | Value of contracts with WPGR’s is affected. | None | LSE’s contracting with WPGR’s with early in-service dates would benefit at the expense of LSE’s contracting with WPGR’s with later in service dates. |
| LSE: CR & REP | Value of contracts with WPGR’s is affected. | None | LSE’s contracting with WPGR’s with early in-service dates would benefit at the expense of LSE’s contracting with WPGR’s with later in service dates. |
| QSE | None | None | None |
| Resource | WPGR’s are subject to ERCOT curtailment instructions | None | WPGR’s with early in-service dates would benefit at the expense of WPGR’s with later in service dates. |
| TDSP | Design and implement SPS’s | None | None |

Comments

This proposed revision would be a dramatic shift in fundamental ERCOT policy with respect to transmission service and rights.  If such a change in the protocols is to be considered to address the admittedly unique characteristics of wind generation, any generation interconnection queue proposed should provide for transmission access and service based on the date that proposed WPGR’s make application for such interconnection and/or service.  A queue based on in-service date, as proposed, rather than interconnection application date would arbitrarily benefit some WPGR’s at the expense of others.  Many elements of a WPGR development process are not within the control of the developer, notably the timeline for study, design, and construction of the interconnection by ERCOT and the TDSP.  Additionally, the time required to make arrangements for financing of the project and negotiation of bilateral agreements for sale of energy from the project can vary significantly between projects.  Investors for proposed WPGR’s need to have confidence that they have a reasonable time frame in which to assemble their commercial structure and they must be able to rely on either a)  open access to the transmission system or b)  a queue position that they can rely on without risk that another project can slot in front of them.  To the extent that a transmission queue for WPGR’s is deemed appropriate, the language below is suggested.

Revised Proposed Protocol Language

### 7.4.2	Resolution of Local Congestion

ERCOT will procure RPRS if necessary to provide sufficient capacity to resolve forecasted Local Congestion.  ERCOT will purchase RPRS from the Resource(s) having the lowest cost per megawatt based on each Resource’s Resource Category Generic Cost and its ability to resolve the Congestion given its Shift Factor on the Local Congestion.

ERCOT will instruct and Dispatch Resources in Real Time in a manner that does not exceed the units’ operational limits known to ERCOT.  Other than in the McCamey area, which is addressed in Section 7.8, Congestion Management in McCamey Area, for situations where WPGRs provide the only options for resolving Congestion, the WPGRs shall be curtailed by reverse order of the date that application was made to ERCOT for generation interconnection (last to apply, first off).  The Resources that have been instructed to operate within a range to resolve Local Congestion are paid or pay a price, in accordance with Section 6.8, Compensation for Services Provided, that depends on whether a Market Solution exists for resolving the Local Congestion.

The Local Congestion Costs are embedded in each service deployed to resolve Local Congestion such as OOMC, OOME, and unit specific premiums.

The formula to calculate Local Congestion Replacement Reserve payment can be found in Section 6.8.1.11, Local Congestion Replacement Reserve Payment to QSE, of these Protocols.

### Accommodation of New or Recommissioned WPGRs

Wind Powered Generating Resources in the McCamey Area which have completed the required registration activities as defined in Section 16.5.2, Registration Process for a Resource, after January 1, 2003 shall be required to install a Special Protection Scheme to allow them to operate in such a way as to not increase curtailments at existing WPGRs, until such time as additional Transmission Facilities are placed in service that would increase the transmission transfer capability out of the McCamey Area.  When only WPGRs are available to resolve Congestion in the McCamey Area, any WPGRs which have completed the required registration activities as defined in Section 16.5.2, Registration Process for a Resource, after January 1, 2003, including any WPGRs added beyond the quantity at which a SPS would be effective, shall be the first curtailed by reverse order of the date that application was made to ERCOT for generation interconnection (last to apply, first off) when the capability of the installed Transmission Facilities is exceeded.

In the case of a new or recommissioned WPGR located in the McCamey Area, the Resource must demonstrate to ERCOT’s satisfaction that the anticipated capacity factor for the first month of commercial operation is greater than or equal to ten percent (10%) to be included in the determination of total generating capacity in the McCamey Area.

#### 7.8.8.1	New or Recommissioned Unit Startup and Testing

For new or recommissioned Generation Resources in the McCamey Area that rely on phased-in Facility interconnection, the WPGR owner shall Supply ERCOT with a test plan.  This plan must indicate how the Resource will increase capacity, along with the expected dates of such capacity becoming available.  During the testing period before commercial operation, ERCOT shall allocate to the new WPGR, TGRs equal to the test plan capability if it is less than five (5) MW.  ERCOT shall allocate to the new WPGR, TGRs proportional to the test plan’s proportion of available capacity if it is more than five (5) MW.

#### 7.8.8.2	New or Recommissioned Unit Commercial Operation

The owner of a WPGR coming online in the McCamey Area shall notify ERCOT three (3) Business Days before expected commercial operation.  The Notice must include the MW of generation capacity expected to become commercial based on the PUCT certification of the Generation Resource as a REC generator, the date of expected commercial operation, and the scheduling QSE(s) with the associated capacity that the QSE will be scheduling from the WPGR.  ERCOT shall allocate TGRs to the QSE(s) scheduling the WPGR as of the first day of expected commercial operation in accordance with the methods described in this Section 7.8.9, ERCOT Day Ahead and Real Time Operations.  The owner of the WPGR is responsible for notifying ERCOT of any delays in expected commercial operation, as the calculation of the TGR allocation is partially contingent upon this information.