| PRR Number | 520PRR | PRR Title | Resource Plan Performance Metrics |
| --- | --- | --- | --- |
| Date |  | 5/25/04 |  |
| Submitter’s Information |  |  |  |
| Name |  | Randa Stephenson |  |
| E-mail Address |  | rstephenson@tielp.com |  |
| Company |  | PSEG TexGen |  |
| Company Address |  | 13760 Noel Road, Suite 930 Dallas, Texas 75240 |  |
| Phone Number |  | 972-628-2752 |  |
| Fax Number |  | 972-490-4635 |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT |  |  |  |
| MARKET SEGMENT |  |  |  |
| Consumer |  |  |  |
| LSE: General, Including NOIE |  |  |  |
| LSE: CR & REP |  |  |  |
| QSE |  |  |  |
| Resource |  |  |  |
| TDSP |  |  |  |

Comments

PSEG has concerns on how Aggregated Units are measured in Section 4.10.4, Resource Low Sustainable Limit as a Percent of High Sustainable Limit Measure. Section 4.10.3, Resource Status Measure, contemplated that Aggregated Units are treated as single units for the purpose of calculating the score for Resource Status Measures. However, HSL and LSL measures do not contemplate Aggregated Units. Our concern is how combined cycled generators are to set limits for steam turbines that work in tandem with gas turbines. We feel some further clarification is necessary by ERCOT.

Revised Proposed Protocol Language