| PRR Number | 503PRR | PRR Title | Section 8 Coordination of Resource Outage Due to TSP |
| --- | --- | --- | --- |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 8.2.4, Management of Transmission Forced Outages or Maintenance Outages |  |
| Revision Description |  | Include the following statement within the Protocols: Resource Entities that have arranged for redundant interconnection onto the ERCOT Transmission Grid, during the construction and interconnection phase, shall not be exposed to interruption of both interconnections at the same time, without the TSP arranging for station service and ERCOT taking on the responsibility of serving the Resource Entity’s obligations. |  |
| Benefit |  | Resource Entities are being forced offline by the TSP even though the Resource Entity previously arranged for redundant interconnection points with ERCOT and the TSP. Resource Entity is not only unable to fulfill its contractual obligations, but also exposed to demand charges on station service and/ or damage to its equipment. |  |
| PRS Action |  | PRR withdrawn by submitter. |  |

| Sponsor |  |
| --- | --- |
| Name | Rafael Lozano |
| E-mail Address | rlozano@tielp.com |
| Company | PSEG Texgen |
| Company Address | 13760 Noel Road, Suite 930 |
| Phone Number | (972) 628-2753 |
| Fax Number | (972) 490-4635 |

| PRR Evaluation |  |
| --- | --- |
| Non-ERCOT Market Comparison | No Comparison conducted. |
| Comments Author | Comments Summary |
| CNP | Requests clarifications |
| Constellation | Revised language |
| ERCOT | Recommends keeping existing Protocol language |
| LCRA | Revised language |
| Oncor | Agrees with CNP |

| Sponsor's Revision Description | Include the following statement within the Protocols: Resource Entities that have arranged for redundant interconnection onto the ERCOT Transmission Grid, during the construction and interconnection phase, shall not be exposed to interruption of both interconnections at the same time, without the TSP arranging for station service and ERCOT taking on the responsibility of serving the Resource Entity’s obligations. |
| --- | --- |
| Sponsor's Reason for Revision | Resource Entities are being forced offline by the TSP even though the Resource Entity previously arranged for redundant interconnection points with ERCOT and the TSP. Resource Entity is not only unable to fulfill its contractual obligations, but also exposed to demand charges on station service and/ or damage to its equipment. |