| PRR Number | PRR504 | PRR Title | Resource Derating Classification |
| --- | --- | --- | --- |
| Impact Analysis Date | May 26, 2004 |
| Credit Impacts | YES _______ NO ______ If No, skip the next two boxes. |
| Has the Credit Workgroup reviewed the PRR? | YES _______ NO ______ |
| Outcome of Credit Workgroup review |  |
| Cost/Budgetary Impact | No project costs. |
| Estimated Project Time Requirements* *Unless otherwise indicated, project time requirements begin upon project initiation. | This PRR can be immediately implemented upon approval. |
| ERCOT Staffing Impacts (across all areas) | There is no additional impact to ERCOT staffing levels. This PRR requires QSEs to provide more accurate information that allows ERCOT to perform more accurate analyses. |
| ERCOT Computer System Impacts | No system impact. |
| ERCOT Business Function Impacts | More accurate reliability analyses shall be performed by the Outage Coordination team with the input from QSEs regarding the anticipated unit derating due to the affects of weather related events. |
| Grid Operations/ Practices Impacts | This PRR provides ERCOT with more accurate input regarding reduced capability of generating units imposed by weather events to provide more accurate analysis of potential impacts to the ERCOT grid. |

Alternatives for a More Efficient Implementation (include explanation of impacts)

N/A

Evaluation of Interim Solutions (e.g., manual workarounds)

N/A

Comments

This PRR will provide the capability for more accurate resource capacity analyses for ERCOT staff.