| PRR Number | PRR504 | PRR Title | Resource Derating Classification |
| --- | --- | --- | --- |
| Impact Analysis Date |  | May 26, 2004 |  |
| Credit Impacts |  | YES _______ NO ______ If No, skip the next two boxes. |  |
| Has the Credit Workgroup reviewed the PRR? |  | YES _______ NO ______ |  |
| Outcome of Credit Workgroup review |  |  |  |
| Cost/Budgetary Impact |  | No project costs. |  |
| Estimated Project Time Requirements* *Unless otherwise indicated, project time requirements begin upon project initiation. |  | This PRR can be immediately implemented upon approval. |  |
| ERCOT Staffing Impacts (across all areas) |  | There is no additional impact to ERCOT staffing levels. This PRR requires QSEs to provide more accurate information that allows ERCOT to perform more accurate analyses. |  |
| ERCOT Computer System Impacts |  | No system impact. |  |
| ERCOT Business Function Impacts |  | More accurate reliability analyses shall be performed by the Outage Coordination team with the input from QSEs regarding the anticipated unit derating due to the affects of weather related events. |  |
| Grid Operations/ Practices Impacts |  | This PRR provides ERCOT with more accurate input regarding reduced capability of generating units imposed by weather events to provide more accurate analysis of potential impacts to the ERCOT grid. |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

N/A

Evaluation of Interim Solutions (e.g., manual workarounds)

N/A

Comments

This PRR will provide the capability for more accurate resource capacity analyses for ERCOT staff.