| PRR Number | 515PRR | PRR Title | Disclosure of Local Congestion |
| --- | --- | --- | --- |
| Recommended Action |  | Approve |  |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 1.3.1.1 Items Considered Protected Information 1.3.1.2 Items Not Considered Protected Information 6.5.10 Out-of-Merit Capacity and Out-of-Merit Energy Services 6.7.8 Deployment of RMR Service |  |
| Proposed Effective Date |  | August 1, 2004 |  |
| Priority & Rank Assigned |  | N/A |  |
| Revision Description |  | This PRR provides for the disclosure of information on each unit receiving an OOMC deployment or an OOME Dispatch Instruction, the intervals for which the deployment or instruction was received, and the amount of OOMC and OOME service provided by interval for each unit receiving such instruction by ERCOT as soon as possible, as well as, the transmission studies performed by ERCOT Staff that lead to OOMC, OOME, or RMR deployments. This PRR also provides for disclosure of the contingency and/or overloaded element(s) causing the Local Congestion (OOMC, OOME, and RMR) deployments as soon as possible. |  |
| Benefit |  | PRR 446, Disclosure of OOMC Deployments, was approved by the ERCOT Board of Directors in September of 2003 to provide certain information that was deemed to be critical to Market Participants. TXU Energy believes that timely disclosure of OOME information is likewise critical information needed by Market Participants that should be made available as soon as possible. In addition, the current limitation on posting of aggregated OOMC information on the second Business Day and unit-specific OOMC information on the 30th day following the Operating Day by ERCOT is too delayed for Market Participants to begin immediately investigating what options exist for mitigating the continuation of the Local Congestion. During calendar year 2003, Local Congestion cost (OOMC, OOME, and RMR) Market Participants approximately $400 million, which suggests that there is a critical need for greater visibility to Market Participants of the location and reasons why these deployments are required so that appropriate cost-effective solutions can be pursued. The recommended change requires ERCOT to post OOMC and OOME deployment information as quickly as possible with no prescribed delay. Since OOME is a “regulated service,” and not a “competitive service,” this information should be posted and made available to Market Participants as soon as possible so that all parties might better understand the reasons why ERCOT is making these deployments and provide more visibility into that process. Furthermore, such information should not be included in the list of Protected Information in Protocols Section 1.3.1.1. Unit specific RMR Deployments are already posted by ERCOT, although there is no Protocol requirement for them to do so. Language is proposed to 6.7.8 (5) that will codify the requirement to continue publishing unit specific RMR deployments. In addition, TXU Energy believes that it is important that the binding transmission constraint (i.e., the contingency and/or overloaded element(s)) causing the out-of-merit deployment be made available to Market Participants. Publishing the binding transmission constraints that are causing the OOMC, OOME, and RMR deployments will allow ERCOT staff and the Congestion Management Working Group (CMWG) to incorporate historical congestion information in the annual Commercially Significant Constraint (CSC) selection process. Additionally, the historical transmission binding constraints can be used in the transmission planning process to allow ERCOT planning personnel, TDSPs, and other Market Participants to evaluate which limiting transmission facilities would be economically justified for upgrading. Both the Congestion Management Working Group (CMWG) and the Dynamic Ratings Task Force (DRTF) within the ERCOT Reliability and Operating Subcommittee (ROS) have recognized the need for this information in their respective work activities. Finally, studies performed by ERCOT Staff that lead to OOMC, OOME, or RMR deployments should be made available to all Market Participants for review. This will facilitate greater efforts underway in the Regional Operating Groups to ensure that all approved Remedial Action Plans (RAPs) and Special Protection Schemes (SPSs) are reflected in these studies. |  |
| PRS Recommendation |  | PRS recommends approval of PRR515 as revised by ERCOT Comments and PRS. |  |

| Sponsor |  |
| --- | --- |
| Name | Shannon Caraway |
| E-mail Address | scaraway@txu.com |
| Company | TXU Energy |
| Company Address | 1717 Main Street Dallas, TX 75201 |
| Phone Number | (214) 875-9397 |
| Fax Number | (214) 875-9052 |

Proposed Protocol Language Revision

#### Items Considered Protected Information

“Protected Information” is information containing or revealing:

- Schedule Control Error, as calculated by ERCOT, identified to a specific QSE, with the exception of Real Time SCE data that may be viewable on-site at ERCOT Facilities;

- Bids or pricing information identifiable to a specific QSE, except as provided in 1.3.3(2)(b);

- Status of Resources including but not limited to outages or limitations or scheduled or metered Resource data;

- Resource Plans;

- Energy and Ancillary Service Schedules identifiable to a specific QSE;

- ERCOT Dispatch Instructions identifiable to a specific QSE, except for OOMC and OOME deployments as provided in Section 6.5.10, Out of Merit Capacity and Out of Merit Energy Services, items (8) and (9);

- Raw and Adjusted Metered Load data (Demand and energy) identifiable to a specific QSE;

- Settlement Statements identifiable to a specific QSE;

- Aggregated raw and Adjusted Metered Load data (Demand and energy), and number of ESI-IDs identifiable to a specific LSE;

- Information related to generation interconnection requests, to the extent such information is not otherwise publicly available;

- Resource specific costs, design and engineering data, with the exception of data provided pursuant to Section 1.3.1.2, Items Not Considered Protected Information;

- TCR ownership, credit limits or bidding information identifiable to a specific TCR Account Holder;

- Renewable Energy Credit account balances;

- Credit Limits identifiable to a specific QSE;

- Any information not submitted to or collected by ERCOT pursuant to requirements of the Protocols or Operating Guides that is designated as Protected Information in writing by Disclosing Party at the time the information is provided to Receiving Party except for information provided to ERCOT in support of an RMR application according to Protocols Section 6.5.9, Reliability Must-Run Service;

- Any Proprietary Customer Information unless the Customer has authorized the release for public disclosure of such information in a manner approved by the PUCT;

- Any software, products of software or other vendor information that ERCOT is required to keep confidential under its agreements;

- QSE and TDSP backup plans collected by ERCOT in compliance with the Protocols or Operating Guides;

- DC Tie information provided to TDSPs pursuant to Section 9.8.2, DC Tie Schedule Information; and

- Any Texas SET transaction submitted by an LSE to ERCOT or received by an LSE from ERCOT.  This item (20) shall not apply to ERCOT in regard to its compliance with PUCT Rules relating to performance measure reporting, these Protocols, or any TAC approved reporting requirements.

#### Items Not Considered Protected Information

Notwithstanding the foregoing, the following items shall not be considered Protected Information even if so designated:

- Data comprising Load flow cases.  Such data may include estimated peak and off-peak Demand of any Load;

- RMR Agreements, applicable portions of studies, reports and data, excluding information that is otherwise considered as Protected Information according to Protocols Section 1.3.1.1, used in ERCOT’s assessment of whether an RMR Unit satisfies ERCOT’s criteria for operational necessity to support ERCOT System reliability, and status of RMR Units and RMR Synchronous Condenser Units;

- Information provided to ERCOT in support of an “Application for Reliability Must Run (RMR) Status” according to Protocols Section 6.5.9, Reliability Must-Run Service;

- Black Start Agreement terms;

- All OOMC, OOME, and RMR studies performed and used by ERCOT as the basis for their OOMC, OOME, and RMR deployment decisions; and

- Any other information specifically designated in these Protocols as information to be posted to all Market Participants or to the public.

Protected Information that Receiving Party is permitted or required to Disclose or use under the Protocols or under an agreement between Receiving Party and a Disclosing Party does not cease to be regarded as Protected Information in all other circumstances not encompassed by these Protocols or such agreement by virtue of the permitted or required Disclosure or use under these Protocols or such agreement.

### Out of Merit Capacity and Out of Merit Energy Services

- ERCOT will use OOMC and OOME Services to procure additional capacity and energy required to provide reliable ERCOT System operation, as determined by ERCOT.

- Any Generation Resource or Load acting as a Resource may be called upon by ERCOT to provide OOMC or OOME Service, in any time frame that the Resource or Load is listed as available in the Resource Plan.

- For combined cycle plants, or other plants that involve tandem operation of units, a Generation Entity may request ERCOT approval to treat the plant at which these units are located as an Aggregated Unit.

- OOMC is used by ERCOT only when necessary to provide ERCOT System security and capacity adequacy.  ERCOT will call on OOMC and OOME Service in such a way as to minimize the use of these services as much as practicable.

- OOME will be settled in accordance with Balancing Energy settlement provisions in Section 6.8.2.3, Energy Payments.

- Bids from Loads acting as Resources may also be used by ERCOT under the OOME instructions and pricing structure.

- The QSE associated with the Generation Resource or Load acting as a Resource that receives a Dispatch Instruction to provide OOMC and/or OOME Service(s) must use all commercially reasonable efforts to provide the requested service(s).  If the QSE declines the Dispatch Instruction according to provisions of Section 5.4.4, Compliance with Dispatch Instructions, to provide OOMC and/or OOME Service(s), ERCOT will post such declines on the MIS.

- In the event that OOMC is ordered to sustain reliable ERCOT System operation, the QSE must bid into the Balancing Energy Up and Down market quantities which sum greater or equal to the High Sustainable Limit (if unavailable, the High Operating Limit) minus the Low Sustainable Limit (if unavailable, the Low Operating Limit) of the unit receiving the OOMC instruction, in the zone of the OOMC unit.

On the second (2nd) Business Day after each Operating Day , ERCOT will post on the MIS, for such Operating Day:

- each unit receiving an OOMC Dispatch Instruction;

- intervals for which a unit received an OOMC Dispatch Instruction;

- the Low Sustainable Limit for each interval for each unit receiving an OOMC Dispatch Instruction; and

- in the case of congestion, the binding transmission constraint (contingency and/or overloaded element(s)) causing OOMC deployments.

- For OOME Dispatch Instructions, ERCOT will post the following information on the MIS, for such Operating Day:

- each unit receiving an OOME Up Dispatch Instruction for each interval shall be posted by the second (2nd) Business Day;

- each unit receiving an OOME Down Dispatch Instruction for each interval shall be posted by the second (2nd) Business Day;

- the amount of OOME Up provided by each unit for each interval shall be posted by the seventeenth (17th) Business Day;

- the amount of OOME Down provided by each unit for each interval shall be posted by the seventeenth (17th) Business Day; and

- the binding transmission constraint (contingency and/or overloaded element(s)) causing OOME deployments shall be posted by the second (2nd)  Business Day.

- In the event that an OOME Dispatch Instruction causes a unit to go Off-line, ERCOT shall either:

- Provide the QSE of the unit with OOME Dispatch Instructions until the unit was scheduled in the current Resource Plan to be Off-line; or

- Provide the QSE of the unit with an OOMC Dispatch Instruction if the unit is recalled, unless the current Resource Plan indicates that the Resource was scheduled to go Off-line, until the time that the Resource is recalled by ERCOT.

### 6.7.8	Deployment of RMR Service

- If Market Solutions are not available, and in Emergency Conditions, ERCOT shall have the option to Dispatch a contracted RMR Unit at any time for voltage support or localized transmission limitations, but it must Dispatch the unit as early as possible (if conditions merit) once conditions are identified that require the use of the RMR Unit and only to the extent of megawatt loading necessary to correct the voltage support or localized transmission limitation.

- ERCOT must elect to use units under an RMR Agreement before issuing an OOME or Zonal OOME Dispatch Instruction subject to the terms of the Agreement, if practical.

- ERCOT will deploy RMR Units in accordance with the RMR Agreement.  RMR Agreements with ERCOT are expected to include limitations on the total service hours, megawatt-hour output, and the number of starts available to ERCOT for each RMR Unit.

- ERCOT shall issue Dispatch Instructions via the Messaging System for any RMR Unit deployment.  Any revisions to those instructions must be communicated via revised Dispatch Instructions.

- In the event that RMR is ordered to sustain reliable ERCOT System operation in any Operating Day, ERCOT will post on the MIS as soon as possible, but no later than the next Business Day, for such Operating Day:

- (a)	each unit receiving an RMR Dispatch Instruction for each interval;

(b)	the amount of RMR energy provided by each unit for each interval; and

(c)	the binding transmission constraint (contingency and/or overloaded element(s)) causing RMR deployments.

- ERCOT shall publicly post an annual forecast of the Dispatch pattern it expects for each contracted RMR Unit as well as monthly and week-ahead forecasts regarding its use of such units.

- ERCOT will adjust the amount of Balancing Energy acquired due to the impact of RMR Energy deployed.  If adjustments made by ERCOT would result in the QSE exceeding its scheduled amount of generation, then the affected QSE must not accommodate these changes by adjusting other Resources such that the Schedule Control Error is minimized.  URC charges will not be assessed to the QSE as a result of these adjustments for the interval.  The RMR may implement a Responsibility Transfer between its QSE and ERCOT for energy delivered under an RMR Agreement to minimize the impact of RMR scheduling on its QSE.

| PRR Evaluation |  |
| --- | --- |
| Non-ERCOT Market Comparison | No Comparison conducted. |
| Comments Author | Comments Summary |
| ERCOT | Revised language |
| TXU | Revised language |

| Sponsor's Revision Description | This PRR provides for the disclosure of information on each unit receiving an OOMC deployment or an OOME Dispatch Instruction, the intervals for which the deployment or instruction was received, and the amount of OOMC and OOME service provided by interval for each unit receiving such instruction by ERCOT as soon as possible, as well as, the transmission studies performed by ERCOT Staff that lead to OOMC, OOME, or RMR deployments. This PRR also provides for disclosure of the contingency and/or overloaded element(s) causing the Local Congestion (OOMC, OOME, and RMR) deployments as soon as possible. |
| --- | --- |
| Sponsor's Reason for Revision | PRR 446, Disclosure of OOMC Deployments, was approved by the ERCOT Board of Directors in September of 2003 to provide certain information that was deemed to be critical to Market Participants. TXU Energy believes that timely disclosure of OOME information is likewise critical information needed by Market Participants that should be made available as soon as possible. In addition, the current limitation on posting of aggregated OOMC information on the second Business Day and unit-specific OOMC information on the 30th day following the Operating Day by ERCOT is too delayed for Market Participants to begin immediately investigating what options exist for mitigating the continuation of the Local Congestion. During calendar year 2003, Local Congestion cost (OOMC, OOME, and RMR) Market Participants approximately $400 million, which suggests that there is a critical need for greater visibility to Market Participants of the location and reasons why these deployments are required so that appropriate cost-effective solutions can be pursued. The recommended change requires ERCOT to post OOMC and OOME deployment information as quickly as possible with no prescribed delay. Since OOME is a “regulated service,” and not a “competitive service,” this information should be posted and made available to Market Participants as soon as possible so that all parties might better understand the reasons why ERCOT is making these deployments and provide more visibility into that process. Furthermore, such information should not be included in the list of Protected Information in Protocols Section 1.3.1.1. Unit specific RMR Deployments are already posted by ERCOT, although there is no Protocol requirement for them to do so. Language is proposed to 6.7.8 (5) that will codify the requirement to continue publishing unit specific RMR deployments. In addition, TXU Energy believes that it is important that the binding transmission constraint (i.e., the contingency and/or overloaded element(s)) causing the out-of-merit deployment be made available to Market Participants. Publishing the binding transmission constraints that are causing the OOMC, OOME, and RMR deployments will allow ERCOT staff and the Congestion Management Working Group (CMWG) to incorporate historical congestion information in the annual Commercially Significant Constraint (CSC) selection process. Additionally, the historical transmission binding constraints can be used in the transmission planning process to allow ERCOT planning personnel, TDSPs, and other Market Participants to evaluate which limiting transmission facilities would be economically justified for upgrading. Both the Congestion Management Working Group (CMWG) and the Dynamic Ratings Task Force (DRTF) within the ERCOT Reliability and Operating Subcommittee (ROS) have recognized the need for this information in their respective work activities. Finally, studies performed by ERCOT Staff that lead to OOMC, OOME, or RMR deployments should be made available to all Market Participants for review. This will facilitate greater efforts underway in the Regional Operating Groups to ensure that all approved Remedial Action Plans (RAPs) and Special Protection Schemes (SPSs) are reflected in these studies. |