| PRR Number | 516PRR | PRR Title | Curtailment Prioritization for Wind Generators |
| --- | --- | --- | --- |
| Protocol Section(s) Requiring Revision (include Section No. and Title) | 7.4.2, Resolution of Local Congestion 7.8.8, Accommodation of New or Recommissioned WPGRs |
| Revision Description | Introduces the concept of using in-service date to determine curtailment priority in situations where only wind generators are needed to resolve local congestion. Requires new WPGRs locating in the McCamey area to install Special Protection Schemes to limit their output. |
| Benefit | To address congestion situations that may arise in the McCamey area prior to the completion of the ERCOT approved 345kV transmission plan (Twin Buttes – McCamey – Odessa). Also addresses congestion situations that may arise in other locations since wind generation can be installed much more quickly than typically required transmission improvements can be constructed. |
| PRS Action | PRR withdrawn by submitter. |

| Sponsor |
| --- |
| Name | Beth Garza |
| E-mail Address | beth_garza@fpl.com |
| Company | FPL Energy |
| Company Address | 701 Brazos, Suite 970, Austin, TX 78701 |
| Phone Number | 512-320-5915 |
| Fax Number | 512-320-5988 |

| PRR Evaluation |
| --- |
| Non-ERCOT Market Comparison | No Comparison conducted. |
| Comments Author | Comments Summary |
| ERCOT | Language revision |
| RES | Language revision |
| TREIA | Suggests referring PRR to PUCT |
| Cielo | Opposes PRR |

| Sponsor's Revision Description | Introduces the concept of using in-service date to determine curtailment priority in situations where only wind generators are needed to resolve local congestion. Requires new WPGRs locating in the McCamey area to install Special Protection Schemes to limit their output. |
| --- | --- |
| Sponsor's Reason for Revision | To address congestion situations that may arise in the McCamey area prior to the completion of the ERCOT approved 345kV transmission plan (Twin Buttes – McCamey – Odessa). Also addresses congestion situations that may arise in other locations since wind generation can be installed much more quickly than typically required transmission improvements can be constructed. |