| PRR Number | 520PRR | PRR Title | Resource Plan Performance Metrics |
| --- | --- | --- | --- |
| Date |  | 05/27/04 |  |
| Submitter’s Information |  |  |  |
| Name |  | Fred Sherman |  |
| E-mail Address |  | freds@gplops.org |  |
| Company |  | Garland Power and Light |  |
| Company Address |  | 525 East Ave B Garland, TX 75040 |  |
| Phone Number |  | 972-205-3184 |  |
| Fax Number |  | 972-205-3106 |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT |  |  |  |
| MARKET SEGMENT |  |  |  |
| Consumer |  |  |  |
| LSE: General, Including NOIE |  |  |  |
| LSE: CR & REP |  |  |  |
| QSE |  |  |  |
| Resource |  |  |  |
| TDSP |  |  |  |

Comments

If using HSL as a measure of Responsive Reserve, then there will not be consistency with current operating practices. RRS is calculated using the HOL of units. Since RRS and Regulation deployments are usually short periods of time, it would benefit the Market to use the HOL for these calculations. By using the HSL, it is possible for an Entity to be in violation of the metrics, but not in violation of Real-Time operations. If this measure is used to force compliance, then either the Entity could have to purchase additional RRS and/or Reg, or start additional generation just to cover the shortage. The potential impact of this would be to increase the cost to the end users by adding the additional costs to the product. To avoid this, I would propose the following change:

Revised Proposed Protocol Language

### 4.10.5	Total Up AS Scheduled Obligation Measure

The “Total Up AS Scheduled Obligation Measure” compares the energy schedule, Balancing Energy Service Up deployed, and scheduled Ancillary Services to the Resource Plan HOLs and HSLs.  The scheduled Ancillary Services include Regulation Service Up, Responsive Reserve, and Non-Spinning Reserve Services schedules.  The Resource Plan HSL is aggregated to include all On-line units, Off-line units necessary to cover Non-Spinning Reserve Service obligations. The Resource Plan HOL shall be used to determine RRS and Regulation deployments by Resources includingHydro units that have tested hydro Responsive Reserve capability when in synchronous condenser fast response mode, and active LaaRs for each QSE.  Only fifteen (15) minute intervals when the sum of the Regulation Service Up schedule, Responsive Reserve Service schedule, and Non-Spinning Reserve Service schedule are greater than zero (0) MW are included in the calculation of this measure.

An Occurrence is recorded for a QSE in an interval if the sum of the QSE’s energy schedule, Balancing Energy Service Up deployed, and scheduled Ancillary Services exceeds the QSE’s Resource Plan aggregated HSL by more than one (1) MW. Measurement for RRS and Reg deployments will use the HOL.  Only one (1) Occurrence can be recorded per QSE per interval.  To determine the QSE Measure Score for the Total Up AS Schedule Obligation Measure, Occurrences are summed for every fifteen (15) minute interval in a given month, and divided by the total number of intervals in a given month when the QSE’s scheduled Ancillary Services is greater than zero (0) MW.