| PRR Number | 502PRR | PRR Title | Aggregation of Combined Cycle Units Providing RRS |
| --- | --- | --- | --- |
| Impact Analysis Date |  | June 4, 2004 |  |
| Credit Impacts |  | YES _______ NO __X____ If No, skip the next two boxes. |  |
| Has the Credit Workgroup reviewed the PRR? |  | YES _______ NO ______ |  |
| Outcome of Credit Workgroup review |  |  |  |
| Cost/Budgetary Impact |  | 6-LL |  |
| Estimated Project Time Requirements* *Unless otherwise indicated, project time requirements begin upon project initiation. |  | Upon system implementation with some additional time for Operator procedure updates and training. ERCOT project management is currently assessing if this PRR (with a 1.1 priority) can be implemented as part of EMMS 4(B). This project is dependent on the successful implementation of EMP 2.2, currently scheduled for mid-July, 2004, with EMMS Release 3.1. Two weeks are needed for internal development of database changes, in addition to three months for updating Operator Procedures and training Operators. An Operations Guide revision is also necessary and adjustments to Compliance monitoring will be needed. |  |
| ERCOT Staffing Impacts (across all areas) |  | No significant staffing impacts. |  |
| ERCOT Computer System Impacts |  | There will be a system impact to the ERCOT Power Operations System to change the generator and reserve modeling (technical work can be done without vendor). Upon project initiation, an internal project of at least two weeks of ERCOT Power Operations System database work will be required. These modifications would be done without needing ESCA/Areva resources. |  |
| ERCOT Business Function Impacts |  | ERCOT Compliance will have some training/adjustments to make as well as update pertinent monitoring processes. |  |
| Grid Operations/ Practices Impacts |  | Prior to implementation, Operator Procedures and Operator training are required. After system implementation, there is no impact to Grid Operations with respect to addressing performance monitoring of Responsive Reserve Service. |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

N/A

Evaluation of Interim Solutions (e.g., manual workarounds)

N/A

Comments

N/A