| PRR Number | 479PRR | PRR Title | IDR Optional Removal Threshold |
| --- | --- | --- | --- |
| Date |  | June 22, 2004 |  |
| Submitter’s Information |  |  |  |
| Name |  | Frank Wilson |  |
| E-mail Address |  | fwilson@nueceselectric.org |  |
| Company |  | Nueces Electric Cooperative |  |
| Company Address |  | PO Box 1032, Robstown, TX 78380 |  |
| Phone Number |  | 361-387-2581 |  |
| Fax Number |  | 361-387-4139 |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | Not have to process IDR information for IDR meters of very low kW demand 90 kW and less | Reduce processing and programming cost (likely) | Reduce processing and programming cost (likely) |
| MARKET SEGMENT | Likely does not want IDR info. | N/A | N/A |
| Consumer | Possible reduced cost. Up to $75/month | N/A | Possible reduction in TDSP wires charges. Customer Choice of a meter type. |
| LSE: General, Including NOIE | Not have to process IDR information for IDR meters of very low kW demand 90 kW and less | Reduce processing and programming cost (likely) | Reduce processing and programming cost (likely) |
| LSE: CR & REP | Not have to process IDR information for IDR meters of very low kW demand 90 kW and less | Reduce processing and programming cost (likely) | Reduce processing and programming cost (likely) |
| QSE | Not have to process IDR information for IDR meters of very low kW demand 90 kW and less | Reduce processing and programming cost (likely) | Reduce processing and programming cost (likely) |
| Resource | Not have to process IDR information for IDR meters of very low kW demand 90 kW and less | Reduce processing and programming cost (likely) | Reduce processing and programming cost (likely) |
| TDSP | Not have to process IDR information for IDR meters of very low kW demand, 90 kW and less | Reduce processing and programming cost (likely) | Reduce processing and programming cost (likely) |

Comments

NEC supports PWG revisions to this PRR posted on 5/26/04 and would like to add language to Section 18.6.1(4.b).  On 6/22/04, NEC submitted a change to allow IDR meter(s) installed for load separation to not be used for settlement purposes.   This was done in light that we were advised that these meters were going to have to be treated as IDR meters and submit settlement data.  NEC feels the cost to do so is prohibitive to their PILOT and would also hurt end use customers who did not request or need an IDR meter.  This language exempts NEC and others from the cost of monitoring, compiling, and transmitting IDR data for small accounts involved in the PILOT that normally do not fallow under ECOT protocols.

Revised Proposed Protocol Language

Add IDR Optional Removal Threshold as a defined term and change IDR Requirement to IDR Mandatory Installation Threshold in Section 2.

IDR Optional Removal Threshold

The kW (kVA) level at which an interval data recorder may be removed as set forth in Section 18.6.7, IDR Optional Removal Threshold.

IDRMandatory Installation Threshold

The kW (kVA) level at which the installation of interval data recorders are required for settlement purposes as set forth in Section 18.6.1, Interval Data Recorder Installation and Use in Settlement

18.6	Installation and Use of Interval Data Recorders

### Interval Data Recorder (IDR) Installation and Use in Settlement

- IDR Mandatory Installation Threshold:  IDRs shall be installed and utilized for settlement of Premises having either:

  - A peak demand greater than 1000 kW (or 1000 kVa), or

  - Service provided at transmission voltage (above 60 kV).

- A Competitive Retailer may have an IDR installed and used for settlement purposes at any associated Premise outside the IDR Mandatory Installation Threshold.  Except as stated in item (4) of this Section, IDRs in place or installed after September 1, 1999 shall be used for settlement.  Once an IDR is installed on a Premise and used for settlement purposes, the given Premise shall continue to be settled with its interval data, except as stated in Sections 18.6.7, IDR Optional Removal Threshold.  If a Customer or CR requests installation of an IDR meter, the same Customer may not request removal of the IDR meter for a period of twelve (12) months following such installation.

- All Non-Metered Loads such as street lighting, regardless of the aggregation level, shall not be required to install IDRs under the IDR Mandatory Installation Threshold.  These Loads shall be settled using Load Profiles.

- For premises not subject to the IDR Mandatory Installation Threshold in item (1) of this Section:

  - IDRs installed at the request of ERCOT, a TDSP, a municipal, or a cooperative for Load research, rate/tariff design calculation, coincident Demand calculation, or Load Profiling purposes shall be exempt from the requirement to use an IDR for settlement purposes; or

  - IDRs previously used specifically for separating NOIE Load from competitive Load shall be exempt from the requirement to use an IDR for settlement purposes, provided that the IDR meter has been removed within one hundred and twenty (120) days after the NOIE has fully implemented Customer Choice.   IDR meters used for NOIE separation that do not meet the IDR installation threshold of 1,000 kW Demand are not required to be used for settlement purposes.

- For IDR installation procedures reference Section 10.2.2, TDSP Metered Entities.

- TDSPs responsible for any Load transfer schemes between ERCOT and Non-ERCOT Regions shall install IDR metering capable of measuring the Load served during the period the Load transfer is implemented.

- 18.6.7 IDR Optional Removal Threshold

A Customer, or the CR upon a Customer’s request, may request, in accordance with PUCT rules and regulations, optional removal of an IDR. The optional removal of an IDR meter may be requested provided that the Demand was below the IDR Optional Removal Threshold of one hundred and fifty (150) kW(kVA).  The criteria for requesting removal of an IDR meter shall be allowed:

a) for a new Customer move-in, where the request is submitted within one hundred twenty (120) days and the most recent twenty five (25) consecutive days for Demand is below the Optional Removal Threshold; or

b) if an existing Customer’s Load has never exceeded the IDR Optional Removal Threshold during the most recent twelve (12) consecutive months.

If a Customer or CR requests removal of an IDR meter, the same Customer may not request reinstallation of an IDR meter for a period of twelve (12) months following such removal. Removal or re-installation of IDR meters may be subject to applicable tariff charges.