| PRR Number | 479PRR | PRR Title | IDR Optional Removal Threshold |
| --- | --- | --- | --- |
| Date |  | June 23, 2004 |  |
| Submitter’s Information |  |  |  |
| Name |  | Kenan Ögelman |  |
| E-mail Address |  | ogelman@opc.state.tx.us |  |
| Company |  | Office of Public Utility Counsel |  |
| Company Address |  | 1701 N. Congress Suite 9-180, Austin, TX. 78701 |  |
| Phone Number |  | 512/936-7500 |  |
| Fax Number |  | 512/936-7520 |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT |  |  |  |
| MARKET SEGMENT |  |  |  |
| Consumer |  |  |  |
| LSE: General, Including NOIE |  |  |  |
| LSE: CR & REP |  |  |  |
| QSE |  |  |  |
| Resource |  |  |  |
| TDSP |  |  |  |

Comments

The changes proposed by PWG and approved by RMS do not achieve any of the objectives that led OPC to support PRR 479, specifically the unequal treatment in the protocols of customers having demand below 1000 kW.  If PRS accepts PRR 479 without OPC’s modifications, a customer with demand between 150 and 1000 kW would be forced to take IDR charges and tariffs purely based on their real estate choice.  If the facility already had an IDR meter they would face an IDR tariff, if no IDR meter existed they would be on a different tariff.  The proposed changes would remedy the treatment of move-in customers.

Revised Proposed Protocol Language

Add IDR Optional Removal Threshold as a defined term and change IDR Requirement to IDR Mandatory Installation Threshold in Section 2.

IDR Optional Removal Threshold

The kW (kVA) level at which an interval data recorder may be removed as set forth in Section 18.6.7, IDR Optional Removal Threshold.

IDRMandatory Installation Threshold

The kW (kVA) level at which the installation of interval data recorders are required for settlement purposes as set forth in Section 18.6.1, Interval Data Recorder Installation and Use in Settlement

18.6	Installation and Use of Interval Data Recorders

### Interval Data Recorder (IDR) Installation and Use in Settlement

- IDR Mandatory Installation Threshold:  IDRs shall be installed and utilized for settlement of Premises having either:

  - A peak demand greater than 1000 kW (or 1000 kVa), or

  - Service provided at transmission voltage (above 60 kV).

- A Competitive Retailer may have an IDR installed and used for settlement purposes at any associated Premise outside the IDR Mandatory Installation Threshold.  Except as stated in item (4) of this Section, IDRs in place or installed after September 1, 1999 shall be used for settlement.  Once an IDR is installed on a Premise and used for settlement purposes, the given Premise shall continue to be settled with its interval data, except as stated in Sections 18.6.7, IDR Optional Removal Threshold.  If a Customer or CR requests installation of an IDR meter, the same Customer may not request removal of the IDR meter for a period of twelve (12) months following such installation.

- All Non-Metered Loads such as street lighting, regardless of the aggregation level, shall not be required to install IDRs under the IDR Mandatory Installation Threshold.  These Loads shall be settled using Load Profiles.

- For premises not subject to the IDR Mandatory Installation Threshold in item (1) of this Section:

  - IDRs installed at the request of ERCOT, a TDSP, a municipal, or a cooperative for Load research, rate/tariff design calculation, coincident demand calculation, or Load Profiling purposes shall be exempt from the requirement to use an IDR for settlement purposes; or

  - IDRs previously used specifically for separating NOIE load from competitive load shall be exempt from the requirement to use an IDR for settlement purposes, provided that the IDR meter has been removed within one hundred and twenty (120) days after the NOIE has fully implemented Customer Choice.

- For IDR installation procedures reference Section 10.2.2, TDSP Metered Entities.

- TDSPs responsible for any Load transfer schemes between ERCOT and Non-ERCOT Regions shall install IDR metering capable of measuring the Load served during the period the Load transfer is implemented.

- 18.6.7 IDR Optional Removal Threshold

A Customer, or the CR upon a Customer’s request, may request, in accordance with PUCT rules and regulations, optional removal of an IDR. The optional removal of an IDR meter may be requested provided that the demand was below the IDR Optional Removal Threshold.  The criteria for requesting removal of an IDR meter are described in subsections (a) and (b) below.

a) A Move-in Customer, or the CR upon a Customer’s request, may request, in accordance with PUCT rules and regulations, request the replacement removal of an IDR meter and replacement with a Non-IDR meter provided that the request is submitted within one hundred twenty (120) days of a new Customer’s move-in at an existing Premise.  The IDR meter shall be removed and a Non-IDR meter installed if having demonstrated with a minimum of twenty-five (25) days of current meter readings that the Premise’s fifteen (15) - minute maximum demand for a minimum of twenty-five (25) days of current meter readings is below the threshold defined in Section 18.6.1, Interval Data Recorder (IDR) Installation and Use in Settlement, item (1).  If the Premise’s Non-IDR maximum monthly demand during the next twelve (12) months for the same Customer or tenant exceeds the minimum threshold as defined in Section 18.6.1 item (1), then the IDR meter shall be reinstalled and the requestor may incur appropriate charges.

b) If an existing customer’s load has never exceeded the IDR Optional Removal Threshold of one hundred and fifty (150) kW(kVA) during the most recent twelve (12) consecutive months.

If a Customer or CR requests removal of an IDR meter, the same Customer may not request reinstallation of an IDR meter for a period of twelve (12) months following such removal. Removal or re-installation of IDR meters may be subject to applicable tariff charges.