| PRR Number | 504PRR | PRR Title | Resource Derating Clarification |
| --- | --- | --- | --- |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 8.6.3, Deratings |  |
| Effective Date |  | July 1, 2004 |  |
| Priority & Rank Assigned |  | N/A |  |
| Revision Description |  | Provides an explanation of what constitutes a Resource deration. |  |
| Benefit |  | Defines the magnitude of the deratings to be entered, so that ERCOT will receive relevant information regarding Resource capability. |  |
| PRS Recommendation |  | PRS recommended approval of PRR504 as revised by TXU comments and PRS. |  |
| TAC Recommendation |  | TAC recommended approval of PRR504 as recommended by PRS. |  |
| Board Action |  | Board approved PRR504 as recommended by TAC. |  |

| Sponsor |  |
| --- | --- |
| Name | Rick Keetch, on behalf of the ROS |
| E-mail Address | rkeetch@reliant.com |
| Company | Reliant Energy |
| Company Address | 1000 Main, Houston, TX |
| Phone Number | (713) 497-2526 |
| Fax Number | (713) 497-9720 |

Proposed Protocol Language Revision

### Deratings

The Resource Entity or its designee must enter material deratings that are expected to last more than forty-eight (48) hours in the ERCOT Outage Scheduler.  A derating is considered to be material when the Resource’s capability is reduced by the greater of ten percent (10%) or 10 MW due to the loss of auxiliary equipment or other known conditions.  ERCOT will consider the Resource’s capability as the lesser of the latest seasonal net capability test, or the asset registration submittal.

| PRR Evaluation |  |
| --- | --- |
| Non-ERCOT Market Comparison | No Comparison conducted. |
| Comments Author | Comments Summary |
| TXU | Revised Language |
| ERCOT | Revised Language |

| Sponsor's Revision Description | Provides an explanation of what constitutes a Resource deration. |
| --- | --- |
| Sponsor's Reason for Revision | Defines the magnitude of the deratings to be entered, so that ERCOT will receive relevant information regarding Resource capability. |