| PRR Number | 510PRR | PRR Title | Remove PIP134 and PIP158 Boxed Language |
| --- | --- | --- | --- |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 5.4.2.2, Dispatch Instruction via the Messaging System 6.4.2, Determination of ERCOT Control Area Requirements |  |
| Effective Date |  | July 1, 2004 |  |
| Priority & Rank Assigned |  | N/A |  |
| Revision Description |  | This PRR removes changes due to PIP134 and PIP158, which will not be supported. PIP134 required ERCOT System and Zonal Load forecasts to be distributed through the Message System and PIP158 added information contained in Dispatch Instructions. |  |
| Benefit |  | Both PIP134 and PIP158 have consistently received priority 3.3 rankings from the Market Participants when examined against all other projects. This level of priority is not likely to result in project initiation. |  |
| PRS Recommendation |  | PRS recommended approval of PRR510 as submitted. |  |
| TAC Recommendation |  | TAC recommended approval of PRR510 as submitted by PRS. |  |
| Board Action |  | Board approved PRR510 as recommended by TAC. |  |

| Sponsor |  |
| --- | --- |
| Name | Lacy Seybold |
| E-mail Address | lseybold@ercot.com |
| Company | ERCOT |
| Company Address | Austin MET |
| Phone Number | (512) 225-7246 |
| Fax Number | (512) 225-7020 |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | None | Removes PIP134 and PIP158 from project priority list, if approved. | Removes very old PIPs included in boxed Protocol language from the Protocols. These two items have consistently been given priority 3.3 assignments by the Market and are not likely to be completed. |
| MARKET SEGMENT |  |  |  |
| Consumer | Not known | Not known | Not known |
| LSE: General, Including NOIE | Not known | Not known | Not known |
| LSE: CR & REP | Not known | Not known | Not known |
| QSE | Not known | Not known | Not known |
| Resource | Not known | Not known | Not known |
| TDSP | Not known | Not known | Not known |

Comments

This PRR removes very old boxed language from the Protocols.  These two PIPs have consistently been given priority 3.3 assignments by the Market and are not likely to be completed.

The proposed PRR was reviewed and approved by WMS on 3/25/04.

Proposed Protocol Language Revision

### Contents of Valid Dispatch Instructions

#### Dispatch Instruction via the Messaging System

Valid Dispatch Instructions issued via the messaging system shall contain the following information:

- Identification of the responsible Entity;

- Specific Resources that are the subject of the Dispatch Instruction;

- Specific action required;

- Time of notification of the Dispatch Instruction via a timestamp on the Dispatch Instruction;

- Time at which the QSE is required to initiate the Dispatch Instruction;

- Time within which the QSE is required to complete the Dispatch Instruction; and

- Other information relevant to the specific Dispatch Instruction.

# Ancillary Services

## Standards and Determination of the Control Area Requirements for Ancillary Services

### Determination of ERCOT Control Area Requirements

By the 20th day of the current month, ERCOT will post a forecast of minimum Ancillary Services quantity requirements for the next calendar month.

Prior to 0600 of the Day Ahead, ERCOT will use the Day Ahead Load forecast and will develop an Ancillary Services Plan that identifies the amount of Ancillary Services necessary for each hour of the next day as specified in Section 4, Scheduling.  The amount of Ancillary Services required may vary depending on ERCOT System conditions from hour to hour.

By 0600 of the Day Ahead, ERCOT will post an ERCOT System and zonal Load forecast for the next seven (7) days, by hour.  ERCOT will notify each QSE of its allocated share of Ancillary Services for each hour for the next day, as specified in Section 4, Scheduling.  ERCOT will make available to Market Participants any ERCOT area Load forecasts used in the determination of its ERCOT System and zonal forecasts.

ERCOT will determine the total required amount of each Ancillary Service using the Operating Guides and the following:

- Balancing Energy Service: ERCOT will estimate Balancing Energy needs based on the actual Load, the difference in forecasted Loads and Loads reported in bilateral schedules, deployed Regulation Service, and forecasted Congestion.

- Regulation Service: ERCOT will use its operational judgment and experience to determine the quantity of Regulation-Up and Regulation-Down procured.  The quantity of Regulation-Up may differ from the quantity of Regulation-Down in any particular hour.

- Responsive Reserve Service: The requirement for Responsive Reserves is specified in the Operating Guides.  Using ERCOT-approved procedures ERCOT may increase the quantity requirement based on its judgment of reliability conditions.

- Non-Spinning Reserve Service: ERCOT will use its operational judgment and experience to determine the quantity of Non-Spinning Reserves procured.

- Replacement Reserve Service:  Replacement Reserves are procured from Generation Resource units planned to be off-line and Load acting as a Resource that are available for interruption during the period of requirement.  Energy is deployed from these procured Resources by requiring them to bid the amount of procured capacity into the Balancing Energy Up Service market.  ERCOT will consider the Generation Resource capacity on line, based on Resource Plans, in its determination of Zonal Congestion and Local Congestion requirements.  ERCOT will evaluate the need for Replacement Reserves necessary to correct for ERCOT total capacity insufficiency, Zonal Congestion, or Local Congestion.  ERCOT shall determine the amount of RPRS to provide sufficient capacity in appropriate locations to provide ERCOT System security as specified in the Operating Guides, given ERCOT forecasted Load conditions as posted on the Market Information System.

- Voltage Support:  ERCOT in coordination with the TDSPs shall conduct studies to determine the normally desired Voltage Profile for all Generation Resource busses in the ERCOT System and shall post all Voltage Profiles on the Market Information System.  ERCOT may temporarily modify its requirements based on Current System Conditions.  ERCOT shall determine the amount of Voltage Support Service needed to provide sufficient reactive capacity in appropriate locations to provide ERCOT System security as specified in the Operating Guides.

- Black Start Service: ERCOT shall periodically determine and review the location and number of Black Start Resources required, as well as any special transmission or voice communication needs required.  ERCOT and providers of this service shall meet the requirements as specified in the Operating Guides and in NERC policy.

| PRR Evaluation |  |
| --- | --- |
| Non-ERCOT Market Comparison | No Comparison conducted. |
| Comments Author | Comments Summary |
|  | None submitted |

| Sponsor's Revision Description | This PRR removes changes due to PIP134 and PIP158, which will not be supported. PIP134 required ERCOT System and Zonal Load forecasts to be distributed through the Message System and PIP158 added information contained in Dispatch Instructions. |
| --- | --- |
| Sponsor's Reason for Revision | Both PIP134 and PIP158 have consistently received priority 3.3 rankings from the Market Participants when examined against all other projects. This level of priority is not likely to result in project initiation. |