| PRR Number | 479PRR | PRR Title | IDR Optional Removal Threshold |
| --- | --- | --- | --- |
| Date |  | July 1, 2004 |  |
| Submitter’s Information |  |  |  |
| Name |  | Betty Day |  |
| E-mail Address |  | bday@ercot.com |  |
| Company |  | ERCOT |  |
| Company Address |  | 2705 West Lake Drive, Taylor, Texas |  |
| Phone Number |  | 512-248-38767 |  |
| Fax Number |  |  |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | Manual processing of files from TDSPs to incorporate meter removal data into Lodestar for proper reporting in IDR Requirement report. Additional reporting resources, which shall increase the administration cost | Relatively small development project to enhance IDR Requirement report. | None. |
| MARKET SEGMENT |  |  |  |
| Consumer | Possible reduced cost. | N/A | Possible reduction in TDSP wires charges. Customer Choice of a meter type. |
| LSE: General, Including NOIE | Loss of settlement accuracy. Changes in settlement charges | N/A | None. |
| LSE: CR & REP | Loss of settlement accuracy. Changes the relationship with the Customer. Changes in settlement charges. Possible changes in revenue. | Added software to manage. | None. |
| QSE | Changes in settlement charges. | N/A | None. |
| Resource | N/A | N/A | N/A |
| TDSP | Introduces need for monthly report to ERCOT of meters that are removed under Move-In conditions described in PRR. Increased number of meter changes. | TSDP will be required to perform all IDR removal validation logic specified in this PRR. | Less processing of IDR data. |

Comments

Based on PRS’ Recommendation to TAC, ERCOT has revised its Impact Analysis to reflect that the Market Participants do not desire ERCOT to monitor IDRs being removed under the IDR Optional Removal Threshold. ERCOT notes that without notification when IDRs are removed because a Move-In customer has met the requirements of 18.6.7 (a) and opted for IDR removal, the IDR Requirement report generated by ERCOT will always have the possibility of being incorrect.

Section 18.6.2, IDR Administration Issues, requires that ERCOT produce a report informing the appropriate Market Participants of profiled Premises that have become subject to the IDR Mandatory Installation Threshold.  However, if an IDR has been removed because a new Customer has moved into a Premise, ERCOT will not be aware that a Move-In has resulted in the Customer requesting meter removal.  When the report then looks back at twelve (12) months of usage for the Premise, it will see that the demand was over the IDR Mandatory Installation Threshold and list the Premise on the IDR Requirement report incorrectly.

ERCOT would prefer not to knowingly produce a report that may contain incorrect data that would put ERCOT out of compliance with Section 18.6.2.  In order to resolve this, ERCOT is proposing two possible solutions.  First, ERCOT could make no changes to its systems and recommend that it no longer produce the IDR Requirement report.  As ERCOT would be unable to meet the requirements of Section 18.6.2, it would submit a PRR asking that it be removed.

The second option would be to create the necessary business processes and system enhancements to provide ERCOT with a list of the IDRs being removed.  ERCOT’s suggestion would be for the TDSPs to update ERCOT on a monthly basis using a spreadsheet.  This spreadsheet should contain a list of the ESI IDs for which the IDR is being removed along with the date the CR requested the removal.  ERCOT would then use this data to validate the results generated by the IDR Requirement report and remove any Premises that were incorrectly included (see corresponding Impact Analysis for more detail on the system and business process changes).

ERCOT has also provided revised language to clarify the following issues:

1) In the new Section 18.6.7 item (a), ERCOT understood the requirements for a new Customer to request removal of an IDR meter to as follows:

  - Their request is submitted within 120 days of their Move-In; and

  - They have at least 25 consecutive days worth of usage loaded in ERCOT’s system; and

  - Their demand has not exceeded the IDR Optional Removal Threshold at anytime since their Move-In.

2) In Section 18.6.7, ERCOT rearranged the opening paragraph to eliminate redundant language and added words to better to illustrate that the requirements are only applicable to the Customer’s demand at that Premise.

3) ERCOT is also revising Section 10.9 and all of Section 18.6 to reflect the change from IDR Requirement to IDR Mandatory Installation Threshold.

Revised Proposed Protocol Language

Add IDR Optional Removal Threshold as a defined term and change IDR Requirement to IDR Mandatory Installation Threshold in Section 2.

IDR Optional Removal Threshold

The kW (kVA) level at which an interval data recorder may be removed as set forth in Section 18.6.7, IDR Optional Removal Threshold.

IDRMandatory Installation Threshold

The kW (kVA) level at which the installation of interval data recorders are required for settlement purposes as set forth in Section 18.6.1, Interval Data Recorder Installation and Use in Settlement

18.6	Installation and Use of Interval Data Recorders

### Interval Data Recorder (IDR) Installation and Use in Settlement

- IDR Mandatory Installation Threshold:  IDRs shall be installed and utilized for settlement of Premises having either:

  - A peak demand greater than 1000 kW (or 1000 kVA), or

  - Service provided at transmission voltage (above 60 kV).

- A Competitive Retailer may have an IDR installed and used for settlement purposes at any associated Premise outside the IDR Mandatory Installation Threshold.  Except as stated in item (4) of this Section, IDRs in place or installed after September 1, 1999 shall be used for settlement.  Once an IDR is installed on a Premise and used for settlement purposes, the given Premise shall continue to be settled with its interval data, except as stated in Sections 18.6.7, IDR Optional Removal Threshold.  If a Customer or CR requests installation of an IDR meter, the same Customer may not request removal of the IDR meter for a period of twelve (12) months following such installation.

- All Non-Metered Loads such as street lighting, regardless of the aggregation level, shall not be required to install IDRs under the IDR Mandatory Installation Threshold.  These Loads shall be settled using Load Profiles.

- For Premises not subject to the IDR Mandatory Installation Threshold in item (1) of this Section:

  - IDRs installed at the request of ERCOT, a TDSP, a municipal, or a cooperative for Load research, rate/tariff design calculation, coincident Demand calculation, or Load Profiling purposes shall be exempt from the requirement to use an IDR for settlement purposes; or

  - IDRs previously used specifically for separating NOIE Load from competitive Load shall be exempt from the requirement to use an IDR for retail Customer settlement purposes, provided that the IDR meter has been removed within one hundred and twenty (120) days after the NOIE has fully implemented Customer Choice.   IDR meters used for NOIE separation that do not meet the IDR Mandatory Installation Threshold shall not be used for retail Customer settlement purposes.

- For IDR installation procedures reference Section 10.2.2, TDSP Metered Entities.

- TDSPs responsible for any Load transfer schemes between ERCOT and Non-ERCOT Regions shall install IDR metering capable of measuring the Load served during the period the Load transfer is implemented.

### 18.6.2	IDR Administration Issues

ERCOT shall produce a report informing the appropriate Market Participants of profiled Premises that have become subject to the provisions of Section 18.6, Installation and Use of Interval Data Recorders.  ERCOT shall put in place a system to track Market Participants’ timely adherence to this requirement.  This report shall be posted to MIS.

### 18.6.3	Adherence to Interval Data Recorder Requirements

Municipal Entities and Electric Cooperative Entities that opt-in to Customer Choice must install IDR meters at all Premises subject to the IDR Mandatory Installation Threshold for metering prior to the effective date of their participation in the testing and integration requirements of ERCOT systems for Customer Choice.

### 18.6.4	Technical Requirements

Regardless of data retrieval method, interval data shall be provided on a schedule that supports the requirements of final settlement (typical monthly billing cycle).

Interval data that is provided for settlement shall be consistent with the ERCOT defined Settlement Interval.

IDRs used for settlement shall meet technical metering requirements defined in the Load Profiling Guides.

### 18.6.5	Future Requirements for IDRs

ERCOT and the appropriate ERCOT TAC subcommittee shall evaluate the impact of the IDR Mandatory Installation Threshold as defined in this Section for possible revision prior to the introduction of competitive metering services to the market on January 1, 2004.

### 18.6.6	Peak Demand Determination for Non-IDR Premises

For the purpose of determining the peak demand level for the IDR Mandatory Installation Threshold in Section 18.6.1, Interval Data Recorder (IDR) Installation and Use in Settlement, the demand will be determined in accordance with PUCT rulemaking or through a consensus process with ERCOT and Market Participants.  In the absence of a clear definition of peak demand in the “price to beat” rulemaking, the following application shall be used in determining the peak demand level for IDR  Mandatory Installation Threshold in Section 18.6.1, Interval Data Recorder (IDR) Installation and Use in Settlement:

A Premise (ESI ID) has a peak demand greater than 1000 kW (or kVA) when a demand greater than 1000 kW (kVA) has been measured in any two (2) billing months of the most recent twelve (12) month period.  Competitive Retailers may dispute an IDR assignment through the ERCOT settlement dispute process, described in Section 9.5 Settlement and Billing Dispute Process.

ERCOT shall be responsible for receiving and storing demand information necessary for determining mandatory IDR installations.

- 18.6.7 IDR Optional Removal Threshold

The IDR Optional Removal Threshold is established at one hundred and fifty (150) kW (or kVA).  A Customer, or the CR upon a Customer’s request, may request, in accordance with PUCT rules and regulations, removal of an IDR at a Premise.  :

a) for a new Customer Move-In, where the request is submitted within one hundred and twenty (120) days of the Move-In provided the new Customer’s demand at the Premise has remained below the Optional Removal Threshold between the Move-In date and the request date and that a meter reading covering at least twenty five (25) consecutive days of usage at the Premise has been registered for the new Customer; or

b) for an existing Customer, where the load at the Premise has never exceeded the IDR Optional Removal Threshold during the most recent twelve (12) consecutive months.

If a Customer or CR requests removal of an IDR meter at a Premise, the same Customer or CR may not request reinstallation of an IDR meter at that Premise for a period of twelve (12) months following such removal. Removal or re-installation of IDR meters may be subject to applicable tariff charges.