| PRR Number | PRR425 | PRR Title | Section 8 Outage Coordination |
| --- | --- | --- | --- |
| ###### Impact Analysis Date |  | November 13, 2003 |  |
| ###### Cost/Budgetary Impact |  | Budget for system changes already part of 2004 budget with vendor. |  |
| ###### Estimated Project Time Requirements |  | Approximately a three-month project after project start. |  |
| ###### ERCOT Staffing Impacts (across all areas) |  | The proposed changes in timeline requirements will require 1 additional FTE to ensure ERCOT can meet the requirements for response time. |  |
| ###### ERCOT Computer System Impacts |  | Some of the system changes were anticipated and have been included in the future budget for Outage Scheduler system. The remaining changes required in this PRR are not significant. |  |
| ###### ERCOT Business Function Impacts |  | See Operations in next section. |  |
| ###### Operating Practice Impacts |  | ERCOT Operations will need one additional staff to meet the timeline requirements introduced by response times of the PRR. Operating Procedure changes are required for ERCOT Operations and ERCOT Coordination Group. |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

N/A

Evaluation of Interim Solutions (e.g., manual workarounds)

N/A

Comments

The PRR reduces operational risk caused by uncoordinated Transmission/ Resource Outages. Also reduces rescheduling of Transmission Outages caused by unexpected Resource Outages and inaccurate data.