| PRR Number | 436PRR | PRR Title | Enhance LaaR/BUL Ability to Participate |
| --- | --- | --- | --- |
| Date | 07/22/03 |
| Submitter’s Information |
| Name | Mark Patterson |
| E-mail Address | mpatterson@ercot.com |
| Company | ERCOT |
| Company Address | 7620 Metro Center Drive, Austin |
| Phone Number | 512 248 3912 |
| Fax Number |  |

ERCOT’s comments include some questions related to issues that need to be clarified before this PRR is effective.  ERCOT requests that the PRR be remanded to a working group or task force in order to address those issues before this PRR is approved.

Comments

### 4.4.11	Ancillary Services Bid Submittal

QSEs may submit, by 1300, Ancillary Service bids to ERCOT for any Ancillary Service market open during the Day Ahead Period.  Submitted bids remain active for any period until:  (a) selected by ERCOT; or (b) automatically expired by software at the time selected by the QSE.

All Ancillary Service bids shall not exceed $1,000 per MW for all Resources.

[PRR414: Upon implementation of required system changes, the following provisions will be added to 4.4.11, Ancillary Services Bid Submittal:]

Any Ancillary Service bids in excess of $1,000 will be rejected by ERCOT.

For Ancillary Service bids, a QSE must provide:

- The market for which the bid is being supplied;

- The period of time for which the bid is submitted;

- A dollars per megawatt price for the capacity bid;

- The quantity of capacity for which the bid price is effective;

- Any ties to other bids in other ERCOT Day Ahead Ancillary Service markets that may require those bids to be removed from those markets if a bid is selected by ERCOT in an earlier clearing market; and

- Expiration time of the bid.

- A Load acting as a Resource has the option to request a bid to be awarded only as a complete block for RRS and NSRS.

[PRR342: Revise Section 4.4.11, Ancillary Serviced Bid Submittal, as follows upon system implementation and notice to the Market.]

QSEs may submit, by 1300, Ancillary Service bids to ERCOT for any Ancillary Service market open during the Day Ahead Period.  Submitted bids remain active for any period until:  (a) selected by ERCOT; or (b) automatically expired by software at the time selected by the QSE.

[The following text should be added at the end of 4.4.11 after the numbered list.]

A Responsive Reserve capacity bid tied to a Regulation Up capacity bid may only exceed the Regulation Up capacity bid by X%, as approved by the ERCOT Board.

A Non-Spinning Reserve capacity bid may only exceed Responsive Reserve capacity bid by X%, as approved by the ERCOT Board.

### 4.5.2 Receipt of QSE’s Balancing Energy Bid Curves

ERCOT will receive QSEs Balancing Energy bid curves by the end of each Adjustment Period for an Operating Hour.  QSEs may voluntarily submit Balancing Energy Service Up and Down bid curves to ERCOT for use in the Operating Period.

QSEs may also be required to submit mandatory Balancing Energy Service Down bid curves if called on to do so by ERCOT.  If so, the QSEs will submit an amount of Balancing Energy Service Down bids sufficient to meet ERCOT’s required percentage of Balancing Energy Service Down bids as posted at 0600 of the Day Ahead.  Balancing Energy Service Down bids shall be supplied for at least the percentage requirement posted by ERCOT multiplied by the QSE’s scheduled energy resources in each Congestion Zone, less any QSE trades and energy scheduled by ERCOT from Resources under an RMR Agreement, averaged over the hour.

Balancing bid curves will have the following components:

- $/MWh

- Quantity (MW)

- Congestion Zone

- Ramp Rate

- An expiration time for the bid

- Balancing Up Load (BUL) has the option to request a bid to be awarded only as a complete block.

[PIP 210: When block deployment for Loads Acting as a Resource can be implemented, add the following paragraph:]

A Load Acting as a Resource has the option to request a load bid less than or equal to 50 MW to be deployed only as a complete block.  The block deployment option shall be selected at the time of bid submittal.

6.5.2 Balancing Energy Service

The Balancing Energy Service bids shall consist of Balancing Energy Service Up and Balancing Energy Service Down bids. All Balancing Energy Service provider bids must be entered by the close of the Adjustment Period for the effective Operating Hour and shall become an obligation at the close of the Adjustment Period. However, Balancing Energy Service provider bids may be withdrawn at any time prior to the close of the Adjustment Period.

Balancing Energy Service bids shall not exceed $1,000 per MWh for all Resources.

- Balancing Energy Service bids must specify Congestion Zone, a ramp rate, minimum block bid size in MW for BULs (if any), and service time period.  Balancing energy service up bids consist of monotonically increasing ordered pairs ($/MWh, MW). Balancing energy service down bids consist of monotonically decreasing ordered pairs ($/MWh, MW).

PIP112: Replace beginning paragraph and item 1 above with the following when BUL is implemented:

The Balancing Energy Service bids shall consist of Balancing Energy Service Up, Balancing Energy Service Down, and Balancing Up - Load bids. All Balancing Energy Service provider bids must be entered by the close of the Adjustment Period for the effective Operating Hour and shall become an obligation at the close of the Adjustment Period. However, Balancing Energy Service provider bids may be withdrawn at any time prior to the close of the Adjustment Period.

Balancing Energy Service bids shall not exceed $1,000 per MWh for all Resources.

(1) Balancing Energy Service bids must specify Congestion Zone, the type of bid, either a Resource or a BUL used to deploy the service, a ramp rate, minimum block size in MW (if any), and service time period.

(a)	For Balancing Energy Service Up and Balancing Energy Service down, the bid curve consists of monotonically increasing ordered pairs of dollars per megawatt hour and cumulative megawatts ($/MWh, MW).

(b)	For Balancing Up – Load, the bids consist of blocks in dollars per megawatt hour and megawatts ($/MWh, MW). If the full block cannot be deployed the bid will be bypassed.

(19)	Balancing Energy Service recall instructions by ERCOT are not constrained by the QSE specified ramp rate.  However, except for Balancing Up-Load and Load acting as a Resource providing Balancing Energy Up, the QSE is expected to recall those instructions at a fixed ramp period.  Energy provided outside of the target settlement interval as a result of the ramping specified above will not be considered part of the Dispatch Instruction.  Energy provided outside of the target settlement interval as a result of the ramping specified above will be considered instructed deviation.

[PIP112 & PRR349: Replace items #17 & 18 with the following once BUL is implemented:  Add “With the exception of Balancing Up – Load,” before (17) & (18), above.]

(17) 	With the exception of Balancing Up – Load and Load acting as Resources providing Balancing Energy Up, [keep rest of language per PRR349].

(18) 	With the exception of Balancing Up - Load and Load acting as Resources providing Balancing Energy Up, [keep rest of language per PRR349].

### 6.5.4   Responsive Reserve Service

(11)	The amount of RRS that a QSE can self-arrange using Load acting as a Resource is limited to the percentage amount of total RRS that LaaR can provide as specified by ERCOT.  However, a QSE may bid additional Load acting as a Resource into the ERCOT RRS Ancillary Service market.

6.7.1 Deployment of Balancing Energy

6.7.1.1	Creation of the Balancing Energy Bid Stack

[PIP210: When block deployment for Loads Acting as a Resource can be implemented, add the following paragraph:]

(11) 	A Load Acting as a Resource or a Balancing Up - Load has the option to request a load bid to be deployed only as a complete block.  To the extent that ERCOT deploys a bid by a Load Acting as a Resource that has chosen a block deployment option, ERCOT shall either deploy the entire bid or, if only partial deployment is possible, skip the bid by the Load Acting as a Resource and proceed to deploy the next available bid.

6.7.3    Deployment of Responsive Reserve Service

6.7.4    Deployment of Non-Spinning Reserve Service

### 6.7.5	Deployment of Replacement Reserve Service

- All units selected to supply this service based on capacity bids will have their Balancing Energy Service bid associated with the service placed in the Balancing Energy Service Bid Stack and will be deployed in accordance with these Protocols.

- Replacement Reserve Service providers are required to provide incremental Balancing Energy Service bids for the full megawatt quantity of capacity accepted by, and purchased by, ERCOT in the Replacement Reserve market.  Energy bids from Replacement capacity reserves will be treated as any other incremental energy bid.  A Load Acting as a Resource has the option to request a bid to be deployed only as a complete block.  To the extent that ERCOT deploys a bid by a Load Acting as a Resource that has chosen a block deployment option, ERCOT shall either deploy the entire bid or, if only partial deployment is possible, skip the bid by the Load Acting as a Resource and proceed to deploy the next available bid.

- The QSEs providing Replacement Reserve Service shall meet the deployment performance requirements specified in Section 6.10.4, Ancillary Services Deployment Performance Measures.

6.10.3.2	Responsive Reserve Qualification Testing Criteria

- A test for RRS shall be performed during a continuous eight (8) hour window agreed on by the QSE and ERCOT.

- ERCOT shall confirm the date and time of the test with the QSE using both the primary and alternate voice circuits to validate the voice circuits.

- At any time during the window, selected by ERCOT when market and reliability conditions allow, and not previously disclosed to the QSE, ERCOT shall send a signal to the QSE requesting it to provide an amount of RRS. The QSE shall acknowledge the start of the test.

- For the thirty (30) minute duration of the test, the QSE output shall be measured as clock-minute average outputs for (a) the clock minute prior to the instructions being received from ERCOT; (b) the clock minute following receipt of instructions from ERCOT and continuing for ten (10) minutes; (c) and for each of the subsequent nineteen (19) clock minutes.  All measurements shall confirm the additional delivery of energy due to the deployment of responsive reserve service in an amount equal to at least ninety-five percent (95%) and less then 200% of the amount requested by ERCOT.  Satisfactory performance shall be deemed acceptable if ninety-percent (90%) of each clock-minute measurement ten (10) minutes after notice through the balance of the test period is equal to at least ninety-five percent (95%) and less than 200% of the amount expected.

- On successful demonstration of all test criteria, ERCOT shall qualify that the QSE is capable of providing RRS and shall provide a copy of the certificate to the QSE.

6.10.3.3	Non-Spinning Reserve Qualification Testing Criteria

- A test for Non-Spinning Reserve serve shall be performed during a continuous eight (8) hour window agreed on by the QSE and ERCOT.

- ERCOT shall confirm the date and time of the test with the QSE using both the primary and alternate voice circuits to validate the voice circuits.

- At any time during the window, selected by ERCOT when market and reliability conditions allow and not previously disclosed to the QSE, ERCOT shall notify the QSE using ERCOT’s Messaging System requesting it to provide an amount of Non-Spinning Reserve the QSE wishes to be qualified to. The QSE shall acknowledge the start of the test.

(4)	For the sixty (60) minute duration of the test, the QSE output shall be measured as clock-minute average outputs for (a) the clock minute prior to the instructions being received from ERCOT; (b) the clock minute following receipt of instructions from ERCOT and continuing for thirty (30) minutes; (c) and for each of the subsequent twenty-nine (29) clock minutes.  All measurements shall confirm the additional delivery of energy due to the deployment of Non-Spinning Reserve service in an amount equal to at least ninety- five percent (95%) and less than 200% of the amount requested by ERCOT.

6.10.5.2   Balancing Energy Performance Monitoring Criteria

QSEs providing only Balancing Energy Services shall declare this intent to ERCOT in the Scheduling Process. On deployment of Balancing Energy, the QSE shall control its Resources to operate to the final Resource bilateral schedules as converted to a base power function plus the equivalent power requirement of the Balancing Energy Dispatch Instruction. ERCOT calculation of SCE for each two (2) seconds and integrated over the Settlement Interval will indicate the average performance of the QSE to supply Balancing Energy. Control performance of the QSE providing only Balancing Energy services shall be deemed satisfactory when ninety percent (90%) of the Settlement Intervals result in an amount delivered to ERCOT average error of less than 5%  of the average awarded bid in each Settlement Interval   The performance of a Load acting as a Resource will be determined by comparing the baseline capacity calculated using the hourly average of the real power consumption data being telemetered to ERCOT for the four settlement intervals prior to issuing the Dispatch Instruction against the actual deployment response for each Settlement Interval the Load acting as a Resource is deployed measured by using the average of the real power consumption for that Settlement Interval being telemetered to ERCOT.

6.10.5.4	Responsive Reserve Services Performance Monitoring Criteria

QSEs providing Responsive Reserve Services must so indicate in the Scheduling process.  On deployment of any Responsive Reserve service, the QSE shall control its Resources to operate to the final Resource bilateral schedules as converted to a base power function plus the Instructed Responsive Reserve power requirement.  ERCOT calculation of SCE 10 minutes after the deployment instruction will determine the level of Responsive Reserve Service provided.  Satisfactory control performance of the QSE providing only Responsive Reserve Services shall be deemed satisfactory when:

(1)	Not less than 95% nor more than 200% of the RRS requested, subject to the declared capabilities of the QSE, is provided within ten (10) minutes of ERCOT’s deployment Dispatch Instruction and maintained until recalled or expiration of the QSE’s service obligation;

(2)	The RRS requested shall return to within 90% to 110% of its predeployment scheduled output, subject to the declared capabilities of the QSE, within ten (10) minutes following a recall instruction from ERCOT or as soon as practical considering process constraints if the Responsive Reserve Service is being served by a Load Acting as a Resource but not to exceed 1 hour.  ERCOT may decrease the amounts of RRS provided by LAAR if this delayed restoration expectation makes the grid more vulnerable a following incident.

For all frequency deviations exceeding 0.175 Hz, ERCOT shall measure and record each two (2) second scan rate values of real power output for each QSE Resource providing Responsive Reserve.  ERCOT shall measure and record the MW data beginning one (1) minute prior to the start of the frequency excursion event or Manual / Dispatch Instruction until ten (10) minutes after the start of the frequency excursion event.  Satisfactory performance is measured by comparing the actual response to the frequency response capability response required in the Operating Guides.

Where multiple observations of operating response are available, the QSE must deliver the required frequency response capability 75% of the time during any single calendar quarter.

6.10.5.5	Non-Spinning Reserve Services Performance Monitoring Criteria

QSEs providing Non-Spinning Reserve Services must so indicate in the Scheduling Process.  On deployment of any Non-Spinning Reserve Service, the QSE shall control its Resources to operate to the final Resource bilateral schedules as converted to a base power function plus the instructed Non-Spinning Reserve power requirement.  ERCOT’s calculation of SCE thirty (30) minute after the Dispatch Instruction will determine the level of Non-Spinning Reserve provided.  Control performance of the QSE providing only Non-Spinning Reserve services shall be deemed satisfactory when:

(1)	Not less than 95% nor more than 200%  of the Non-Spinning Reserve services requested, subject to the declared capabilities of the QSE, is provided within ten (10) minutes of ERCOT’s deployment Dispatch Instruction and maintained until recalled or expiration of the QSE’s service obligation;

(2) 	The Non Spinning Reserve Service requested shall return to within 90% to 110% of its predeployment scheduled output, subject to the declared capabilities of the QSE, within thirty (30) minutes following a recall instruction from ERCOT or as soon as practical considering process constraints if the Non Spinning Reserve Service is being served by a Load Acting as a Resource but not to exceed 2 hours.(3)	The performance of a Load acting as a Resource will be determined by comparing the baseline capacity calculated using the hourly average of the real power consumption data being telemetered to ERCOT for the four settlement intervals prior to issuing the Dispatch Instruction against the actual deployment response for each Settlement Interval the Load acting as a Resource is deployed measured by using the average of the real power consumption for that Settlement Interval being telemetered to ERCOT.

6.10.8   Replacement Reserve and OOMC Service Performance Criteria

QSEs awarded Replacement Reserve or OOMC Service to bring a Generation Resource unit on-line or make available Load acting as a Resource shall make a good faith effort to cause their Resources to be available for required Balancing Energy instructions at the time requested by ERCOT.  Any QSE that anticipates for any reason it may not be able to honor its commitment because of unexpected problems shall notify ERCOT immediately.  ERCOT will monitor the Real Time telemetry of the subject Resource breakers and megawatt output to determine if it is available as purchased.  Performance shall be satisfactory if the Resource is brought on-line or made available and the QSE makes available required Balancing Energy Bids at least in the amount of the capacity of the awarded Resource throughout the period requested.  The performance of a Load acting as a Resource will be determined by comparing the baseline capacity calculated using the hourly average of the real power consumption data being telemetered to ERCOT for the four settlement intervals prior to issuing the Dispatch Instruction against the actual deployment response for each Settlement Interval the Load acting as a Resource is deployed measured by using the average of the real power consumption for that Settlement Interval being telemetered to ERCOT.  QSEs failing to bring the Generation Resource on-line or make the Load acting as a Resource Active shall not be entitled to compensation for the intervals that the capacity was not available.  QSEs failing to provide Balancing Energy bids in the amount of the awarded capacity shall not be entitled to compensation for that amount of capacity not made available.

# Comments

If RRS is awarded as a Block in the day ahead capacity market some clarification should be added to address the rules for scheduling (section 4.3) and deployment.  ERCOT deploys AS proportionately based upon their schedules.  What logic would ERCOT apply if some providers have blocks scheduled?

If NSRS is awarded as a Block in the day ahead capacity market some clarification should be added to address the rules for scheduling (section 4.3) and deployment. ERCOT deploys AS proportionately based upon their schedules.  What logic would ERCOT apply if some providers have blocks scheduled?

All energy deployed from RPRS resources are deployed thru BES awards. This wording should be removed from the RPRS section.Son-Spinning t of Rf Responsive to address the rules for deploymentlock RRS

If this is added here it should also be added to 6.10.3.1, 6.10.3.3, etc.

This proposal allows over-delivery of any amount of energy in response to a deployment. This could lead to significant High frequency (overshoot) problems.

If this is added here it should also be added to 6.10.3.1, 6.10.3.2, etc.

If this is added here it should also be added to 6.10.5.1, 6.10.5.3, etc.

.[I object strongly to the proposed change in language – Balancing energy is the only tool available to ERCOT for following load, and this proposal makes delivery errors of essentially infinite magnitude allowable.]

Balancing Energy monitoring is an SCE (portfolio) test and not a resource specific test.  This language is inappropriate for this section and should be removed.

From Mark Henry:

The “4 prior interval averaging” method added to 6.10.5.2, 5.5 and 5.8 complicates and affects use of the realtime Schedule Control Error signal in these performance metrics.  These metrics are not simply energy delivery calculations, but also use the SCE to assess delivery of services (considering factors like starting point of service and ramp rate).

If this is added here it should also be added to 6.10.5.1, 6.10.5.2, etc.

Without a restoration time requirement, ERCOT can remain very vulnerable to the “next event”; particularly as the amount of load qualifying as RRS keeps moving upward.

From Mark Henry:

LaaR’s may not be capable of returning to prior levels as effectively as generators, but it would seem that an agreeable, longer time limit than generators use could be developed rather than leaving an open-ended, “as soon as practicable” situation as proposed.

From Mark Henry:

The inserted comment “or Manual/Dispatch Instruction” in 6.10.5.4 on measuring performance from .175 Hz frequency deviations doesn’t seem appropriate.  Manual instruction performance is covered by the 95% rule in item (1). This section is intended to assess frequency response to actual disturbances as defined in the Operating Guides.   This frequency response really needs to be captured within the first 30 seconds of a disturbance, not ten minutes.   LaaR responsive reserve needs to have a “frequency response” component like that obtained when underfrequency relays are used.  Simulations of LaaR participation assumed that almost all LaaR would be on UF relay and deploy rapidly to aid recovery from disturbances.

If this is added here it should also be added to 6.10.5.1, 6.10.5.2, etc.

Having no cap exposes ERCOT to frequency overshoot of large magnitude.

LaaR’s may not be capable of returning to prior levels as effectively as generators, but it would seem that an agreeable, longer time limit than generators use could be developed rather than leaving an open-ended, “as soon as practicable” situation as proposed.

Without some limit ERCOT may go the remainder of the 24 hour period without restoring Nonspin service.

NSRS monitoring is an SCE (portfolio) test and not a resource specific test.  This language is inappropriate for this section.  Item #3 should be removed.

From Mark Henry:

The “4 prior interval averaging” method added to 6.10.5.2, 5.5 and 5.8 complicates and affects use of the realtime Schedule Control Error signal in these performance metrics.  These metrics are not simply energy delivery calculations, but also use the SCE to assess delivery of services (considering factors like starting point of service and ramp rate).

From Mark Henry:

The “4 prior interval averaging” method added to 6.10.5.2, 5.5 and 5.8 complicates and affects use of the realtime Schedule Control Error signal in these performance metrics.  These metrics are not simply energy delivery calculations, but also use the SCE to assess delivery of services (considering factors like starting point of service and ramp rate).

This performance of a LaaR language that was added is inappropriate for this section.  OOMC/RPRS must be active in the resource plan and have BES bids submitted.  The performance criteria then becomes SCE monitoring.  Recommend removing this language.