| PRR Number | 439PRR | PRR Title | Clarification on Defining OOME as Instructed Deviation |
| --- | --- | --- | --- |
| Recommended Action |  | Approve |  |
| Protocol Section Requiring Revision |  | 6.7.7, Deployment of Out-of-Merit Energy Service |  |
| Proposed Effective Date |  | Upon implementation in the ERCOT computer system. |  |
| Priority & Rank Assigned |  | Same priority as PRR373 (included in EMMS Release 3.2). |  |
| Summary of Impact Analysis |  | Impacts ERCOT computer systems. |  |
| Revision Description |  | This Protocol revision will clarify two exceptions on defining OOME as instructed deviation. Before the Balancing Energy Service market clearing, the manual OOME instruction will not be defined as an Instructed Deviation under the following two conditions: 1.) A Resource is instructed to operate at or above the instructed output level and the planned output level of that Resource is above the instructed output level, or 2.) A Resource is instructed to operate at or below an instructed output level and the planned output level of that Resource is below the instructed output level. |  |
| ###### Benefit |  | Clarifies two exceptions on defining OOME as Instructed Deviation for the implementation of PRR373. |  |
| PRS Recommendation |  | Approve as revised. |  |
| TAC Recommendation |  | TAC recommends approval of PRR439 as recommended by PRS. |  |

Proposed Protocol Language Revision

### 6.7.7	Deployment of Out-of-Merit Energy Service

### [PRR 373:  Replace Subsection 6.7.7, Deployment of Out-of-Merit Energy Service, as follows when the system change is implemented.]

Deployment of units for OOME Service will follow Balancing Energy Service deployment guidelines as specified in Section 5, Dispatch.

6.7.7.1  Deployment of Zonal OOME

- During circumstances when command and control actions are required, ERCOT may instruct one or more specific QSEs to adjust their total ERCOT generation level or their generation level in a specific Congestion Zone.  The Dispatch Instruction includes the quantity of energy required and the specific Congestion Zone, if applicable, but does not specify which Generation Resource(s) the QSE(s) should move.  Such a Dispatch Instruction will be referred to as a “Zonal OOME Dispatch Instruction.”

- A Zonal OOME Dispatch Instruction will be treated as an instructed deviation for Settlement purposes.  When ERCOT issues a Zonal OOME Dispatch Instruction, the resulting instructed deviation from the Zonal OOME Dispatch Instruction will be defined by the MW amount as specified in the Zonal OOME Dispatch Instruction.

- Manual Deployment of Zonal OOME Before Market Clearing

The instructed deviation will be balanced using the Balancing Energy Service bid stack.  ERCOT will send Zonal OOME Dispatch Instructions to QSEs concurrent with Balancing Energy Service Dispatch Instructions for the target interval.  The Balancing Energy Service deployment will be limited by the constraints imposed by the Zonal OOME Dispatch Instructions.  The instructed deviations for these Zonal OOME Dispatch Instructions will be included in the Balancing Energy Service Dispatch Instructions for that QSE for the target interval.  For the Zonal OOME Dispatch Instructions, ERCOT will endeavor to honor the Zonal Portfolio Ramp Rate as indicated in the QSE’s Zonal Balancing Energy Service Bids.

6.7.7.2    Deployment of Resource-Specific OOME Before Market Clearing

When ERCOT issues a Resource-specific OOME Dispatch Instruction before the Balancing Energy Service market clears, the instructed deviation resulting from the OOME Dispatch Instruction will be defined as the difference between the instructed output level in the Dispatch Instruction and the Resource Plan output level at the close of the Adjustment Period for the target service interval except: 1.) A Resource is instructed to operate at or above an instructed output level and the planned output level of that Resource is above the instructed output level, or 2.) A Resource is instructed to operate at or below an instructed output level and the planned output level of that Resource is below the instructed output level. The instructed deviation will be balanced using the Balancing Energy Service bid stack.  ERCOT will send OOME Dispatch Instructions to QSEs concurrent with Balancing Energy Service Dispatch Instructions for the target interval.  The Balancing Energy Service deployment will be limited by the constraints imposed by the OOME Dispatch Instructions.  The instructed deviations for these OOME Dispatch Instructions will be included in the Balancing Energy Service Dispatch Instructions for that QSE for the target interval.  ERCOT must honor the unit ramp rates as indicated set forth in the QSE’s Resource Plan for the applicable Generation Resource.

6.7.7.3  Deployment of  OOME After Market Clearing

Resource-specific OOME Dispatch Instructions issued after the Balancing Energy Service market clears will not be instructed deviations.  ERCOT will use its best efforts to minimize Resource Specific OOME and Zonal OOME Dispatch Instructions issued after the Balancing Energy Service market has cleared.

| PRR Evaluation |  |
| --- | --- |
| Non-ERCOT Market Comparison | No Comparison conducted. |
| Comments Author | Comments Summary |
| Lacy Seybold, ERCOT | Provides consistent baseline language due to Board Action on PRR424. |

| ## Sponsor |  |
| --- | --- |
| Name | Larry Gurley (for QSE Managers WG) |
| E-mail Address | Lgurley1@txu.com |
| Company | TXU Energy |
| Company Address | 1717 Main Street Suite 20-014, Dallas, TX 75201 |
| Phone Number | (214) 875-9020 |
| Fax Number | (214) 875-9074 |
| Sponsor’s Revision Description | This Protocol revision will clarify two exceptions on defining OOME as instructed deviation. Before the balancing energy market clearing, the manual OOME instruction will not be defined as instructed deviation under the following two conditions: 1.) A resource is instructed to operate at or above the instructed output level and the planned output level of that resource is above the instructed output level, or 2.) A resource is instructed to operate at or below an instructed output level and the planned output level of that resource is below the instructed output level. |
| ###### Sponsor’s Reason for Revision | To clarify two exceptions on defining OOME as Instructed Deviation for the implementation of 373PRR. |