| PRR Number | 443PRR | PRR Title | Competitive Metering Ownership Implementation |
| --- | --- | --- | --- |
| ###### Status |  | Posted |  |
| Protocol Section Requiring Revision |  | Section 10 |  |
| Requested Resolution |  | ## URGENT |  |
| Revision Description |  | Define the requirements of Competitive Meter Ownership and establish a reference to the fact that Competitive Metering Guides will exist. |  |
| ###### Reason for Revision |  | Implementation of Competitive Metering Ownership by January 1, 2004, per PUCT Substantive Rule 25.311. |  |
| ## Timeline |  |  |  |
| Date Received |  | 7/23/03 |  |
| Date Posted |  | 7/23/03 |  |
| Comments Due |  | 8/13/03 |  |
| PRS Review Date |  | 8/20/03 (suggested) |  |
| PRS Recommendation |  |  |  |

Proposed Protocol Language Revision

## 10.1 Overview

This section specifies the responsibilities and requirements for meter data, certification of meter Facilities, meter standards, approved meter types and the process for auditing, testing and maintenance of meter Facilities to be used in the ERCOT Region.

Transmission and/or Distribution Service Providers (TDSP) are the only Entities authorized to provide Settlement Meter data.  ERCOT will maintain a Meter Data Acquisition System (MDAS) to collect generation and consumption energy data for settlement purposes under these Protocols.  The MDAS shall receive Customer Load meter data from TDSPs and shall collect data from all ERCOT Polled Settlement (EPS) Meters.

All Service Delivery Points (SDP), excluding EPS, Generation, or NOIE metering points, that meet the requirements of Subst. Rule 25.311 are eligible for competitive meter ownership pursuant to such Subst. Rule.  All competitively owned meters shall meet all the applicable metering requirements of the ERCOT Protocols and Competitive Metering Guides.

| ## Sponsor |  |
| --- | --- |
| Name | COMET Working Group (Prepared by Don Tucker on behalf of COMET) |
| E-mail Address | dtucker@ercot.com |
| Company | ERCOT |
| Company Address | 2705 West Lake Drive Taylor, TX 76574 |
| Phone Number | (512) 248-3913 |
| Fax Number | (512) 248-6565 |
| ## ERCOT Impact Analysis |  |
| Date |  |
| Financial Impact |  |
| Analysis |  |
| ## TAC Action |  |
| TAC Vote Date |  |
| TAC Proposed Implementation Date |  |
| TAC Vote Results |  |
| ## ERCOT Board Action |  |
| ERCOT Board Vote Date |  |
| ERCOT Board Implementation Date |  |
| ERCOT Board Results |  |
| ## Appeal |  |
| Appeal Date |  |
| Entity Initiating Appeal |  |
| Nature of Appeal |  |