| PRR Number | 443PRR | PRR Title | Competitive Metering Ownership Implementation |
| --- | --- | --- | --- |
| Recommended Action |  | Approve |  |
| Protocol Section Requiring Revision |  | Section 10.1, Overview |  |
| Proposed Effective Date |  | October 1, 2003 |  |
| Priority & Rank Assigned |  | N/A |  |
| Summary of Impact Analysis |  | Impacts to ERCOT staffing and operating practices of Competitive Meter Ownership for large customers (which becomes effective on January 1st) are expected to be minimal. |  |
| Revision Description |  | Identifies delivery points eligible for Competitive Meter Ownership in accordance with the PUCT Substantive Rule 25.311 and establishes a reference to the fact that Competitive Metering Guides will exist. |  |
| ###### Benefit |  | Implementation of Competitive Metering Ownership by January 1, 2004, per PUCT Substantive Rule 25.311. |  |
| PRS Recommendation |  | PRS recommends approval of PRR443 as submitted. |  |
| TAC Recommendation |  | TAC recommends approval of PRR443 as recommended by PRS. |  |

Proposed Protocol Language Revision

## 10.1 Overview

This section specifies the responsibilities and requirements for meter data, certification of meter Facilities, meter standards, approved meter types and the process for auditing, testing and maintenance of meter Facilities to be used in the ERCOT Region.

Transmission and/or Distribution Service Providers (TDSP) are the only Entities authorized to provide Settlement Meter data.  ERCOT will maintain a Meter Data Acquisition System (MDAS) to collect generation and consumption energy data for settlement purposes under these Protocols.  The MDAS shall receive Customer Load meter data from TDSPs and shall collect data from all ERCOT Polled Settlement (EPS) Meters.

All Service Delivery Points (SDP), excluding EPS, Generation, or NOIE metering points, that meet the requirements of Subst. Rule 25.311 are eligible for competitive meter ownership pursuant to such Subst. Rule.  All competitively owned meters shall meet all the applicable metering requirements of the ERCOT Protocols and Competitive Metering Guides.

| PRR Evaluation |  |
| --- | --- |
| Non-ERCOT Market Comparison | No Comparison conducted. |
| Comments Author | Comments Summary |
|  | None submitted |

| ## Sponsor |  |
| --- | --- |
| Name | COMET Working Group (Prepared by Don Tucker on behalf of COMET) |
| E-mail Address | dtucker@ercot.com |
| Company | ERCOT |
| Company Address | 2705 West Lake Drive Taylor, TX 76574 |
| Phone Number | (512) 248-3913 |
| Fax Number | (512) 248-6565 |

| Sponsor's Revision Description | Define the requirements of Competitive Meter Ownership and establish a reference to the fact that Competitive Metering Guides will exist. |
| --- | --- |
| ###### Sponsor's Reason for Revision | Implementation of Competitive Metering Ownership by January 1, 2004, per PUCT Substantive Rule 25.311. |