| PRR Number | 446PRR | PRR Title | Disclosure of OOMC and OOME Deployments and Binding Transmission Constraint(s) |
| --- | --- | --- | --- |
| ###### Date |  | August 21, 2003 |  |
| ## Submitter’s Information |  |  |  |
| Name |  | Larry Gurley |  |
| E-mail Address |  | Lgurley1@txu.com |  |
| Company |  | TXU Energy |  |
| Company Address |  | 1717 Main Street Dallas, TX 75201 |  |
| Phone Number |  | (214) 875-9020 |  |
| Fax Number |  | (214) 875-9074 |  |

Comments

TXU Energy agrees with the submitter of PRR 446 that disclosure of OOMC information is important information needed by Market Participants.  TXU Energy feels it is also important that OOME information be made available to Market Participants for the same reasons as indicated in the original PRR 446.

In addition, TXU Energy believes that it is important that the binding transmission constraint (i.e., the contingency and/or overloaded element(s)) causing the out-of-merit deployment be made available to Market Participants.  Publishing the binding transmission constraints that are causing the OOMC and OOME deployments will allow ERCOT staff and the Congestion Management Working Group (CMWG) to incorporate historical congestion information in the annual CSC selection process.  Additionally, the historical transmission binding constraints can be used in the transmission planning process to allow ERCOT planning personnel, TDSPs, and other market participants to evaluate which limiting transmission facilities would be economically justified for upgrading.  Both the CMWG and the Dynamic Ratings Task Force have recognized the need for this information in their respective work activities.

Therefore, TXU Energy offers the following comments that incorporate these two concepts.  TXU Energy also recommends that the title of the PRR be changed to: 446 PRR – Disclosure of OOMC and OOME Deployments and Binding Transmission Constraint(s).

#### 1.3.1.1  Items Considered Protected Information

“Protected Information” is information containing or revealing:

- Schedule Control Error, as calculated by ERCOT, identified to a specific QSE, with the exception of real-time SCE data that may be viewable on-site at ERCOT facilities;

- Bids or pricing information identifiable to a specific QSE, except as provided in 1.3.3(2)(b);

- Status of Resources including but not limited to outages or limitations or scheduled or metered Resource data;

- Resource Plans;

- Energy and Ancillary Service Schedules identifiable to a specific QSE;

- ERCOT Dispatch Instructions identifiable to a specific QSE, except for OOMC and OOME deployments as provided in 6.5.10(8);

- Raw and Adjusted Metered Load data (demand and energy) identifiable to a specific QSE;

- Settlement Statements identifiable to a specific QSE;

- Aggregated raw and Adjusted Metered Load data (demand and energy), and number of ESI-IDs identifiable to a specific LSE;

- Information related to generation interconnection requests, to the extent such information is not otherwise publicly available;

- Resource specific costs, design and engineering data, with the exception of data provided pursuant to Subsection 1.3.1.2, Items Not Considered Protected Information;

- TCR ownership, credit limits or bidding information identifiable to a specific TCR Account Holder;

- Renewable Energy Credit account balances;

- Credit Limits identifiable to a specific QSE;

- Any information not submitted to or collected by ERCOT pursuant to requirements of the Protocols or Operating Guides that is designated as Protected Information in writing by Disclosing Party at the time the information is provided to Receiving Party except for information provided to ERCOT in support of an RMR application according to Protocols Subsection 6.5.9, Reliability Must-Run Service;

- Any Proprietary Customer Information unless the Customer has authorized the release for public disclosure of such information in a manner approved by the PUCT;

- Any software, products of software or other vendor information that ERCOT is required to keep confidential under its agreements;

- QSE and TO backup plans collected by ERCOT in compliance with the Protocols or Operating Guides; and,

- DC Tie information provided to TDSPs pursuant to Section 9.8.2, DC Tie Schedule Information.

### 6.5.10 Out-Of-Merit Capacity and Out- of-Merit Energy Services

- ERCOT will use OOMC and OOME Services to procure additional capacity and energy required to provide reliable ERCOT System operation, as determined by ERCOT.

- Any Generation Resource or Load acting as a Resource may be called upon by ERCOT to provide OOMC or OOME Service, in any time frame that the Resource or Load is listed as available in the Resource Plan.

- For combined cycle plants, or other plants that involve tandem operation of units, a Generation Entity may request ERCOT approval to treat the plant at which these units are located as an Aggregated Unit.

- OOMC is used by ERCOT only when necessary to provide ERCOT System security and capacity adequacy. ERCOT will call on OOMC and OOME Service in such a way as to minimize the use of these services as much as practicable.

- OOME will be settled in accordance with Balancing Energy settlement provisions in Section 6.8.2.2, Energy Payments.

- Bids from Loads acting as Resources may also be used by ERCOT under the OOME instructions and pricing structure.

- The QSE associated with the Generation Resource or Load acting as a Resource that receives a Dispatch Instruction to provide OOMC and/or OOME Service(s) must use all commercially reasonable efforts to provide the requested service(s).  If the QSE declines the Dispatch Instruction according to provisions of Section 5.4.4, Compliance with Dispatch Instructions, to provide OOMC and/or OOME Service(s), ERCOT will post such declines on the MIS.

- In the event that OOMC is ordered to sustain reliable ERCOT System operation, the QSE must bid into the Balancing Energy Up and Down market quantities which sum greater or equal to the High Sustainable Limit (if unavailable, the High Operating Limit) minus the Low Sustainable Limit (if unavailable, the Low Operating Limit) of the unit receiving the OOMC instruction, in the zone of the OOMC unit.  At the time Initial Settlement Statements are issued for the Operating Day, but no sooner than 14 days following the Operating Day, ERCOT will post on the MIS, for such Operating Day, (1) each unit receiving an OOMC and/or OOME Dispatch Instruction, (2) Intervals for which a unit received an OOMC and/or OOME Dispatch Instruction,  (3) quantity of energy requested by ERCOT for each interval for each unit receiving an OOMC and/or OOME Dispatch Instruction, and (4) the binding transmission constraint (contingency and/or overloaded element(s)) causing the out-of-merit-deployment.