| PRR Number | 452PRR | PRR Title | Unavailable Units and RMR Agreements |
| --- | --- | --- | --- |
| ###### Date |  | September 8, 2003 |  |
| ## Submitter’s Information |  |  |  |
| ###### Name |  | William Bojorquez |  |
| ###### E-mail Address |  | bbojorquez@ercot.com |  |
| ###### Company |  | ERCOT |  |
| ###### Company Address |  | 2705 W Lake Dr, Taylor, TX 76574 |  |
| ###### Phone Number |  | (512) 248-3036 |  |
| ###### Fax Number |  |  |  |

ERCOT proposes to add the following language to clarify the original PRR:

Comments

#### 8.1.4.1	Changes to a Resource Outage Plan

All Resource Entities shall notify ERCOT of any changes to a Resource Outage plan that affects activities scheduled to occur within the next 30 days.

ERCOT shall accept all changes to Resource Outage plans as submitted without comment except as otherwise provided in this Section and in accordance with the applicable Agreements.

Except for the occurrence of a Forced Outage, a Generation Entity may not cease or suspend operation of a Generation Resource for a period of greater than one hundred eighty (180) days without written notice to and the approval of ERCOT.   Such notice shall be in writing, and shall be deemed delivered in accordance with the terms of the applicable Standard Form Agreement provided in Section 22 of the Protocols.   On receiving such notice, ERCOT shall treat such notice as an application for RMR status and follow the RMR evaluation and notice requirements described in Section 6.5.9.1, Application and Approval of RMR Agreements.  If ERCOT determines that RMR status is required, the Generation Entity and ERCOT shall enter into good faith negotiations for an RMR Agreement.  During the evaluation and negotiations, the Resource Entity must maintain such Resource(s) available for OOM Dispatch Instructions under Section 6, Ancillary Services.  If ERCOT determines that RMR status is not required, ERCOT shall approve the suspension of operation as proposed.