| PRR Number | 457PRR | PRR Title | Balancing Energy Down Requirement Revision |
| --- | --- | --- | --- |
| ###### Date |  | September 18, 2003 |  |
| ## Submitter’s Information |  |  |  |
| Name |  | Clayton Greer |  |
| E-mail Address |  | Clayton.greer@constellation.com |  |
| Company |  | Constellation Power Source |  |
| Company Address |  | 8768 Polo Drive, Fort Worth, TX 76123 |  |
| Phone Number |  | 817-938-3692 |  |
| Fax Number |  |  |  |

Changes per discussion at the 9/17/03 Wholesale Market Subcommittee meeting.

Proposed Protocol Language Revision

### 6.5.2		Balancing Energy Service

- QSEs shall provide Balancing Energy Down Service bids prior to the close of the Adjustment Period equal to or greater than the lesser of:

  - the ERCOT posted percentage at 0600 of the Day Ahead according to Section 4.4.5, Notification to QSEs of Mandatory Balancing Energy Service Down Bid Percentage Requirements and Section 4.5.2, Receipt of QSE’s Balancing Energy Bid Curves; or,

  - the QSE’s capability above the Low Operating Limits for all units of the QSE that are On-line.

[new section]

(23)	Should the Bid Stack for Balancing Energy Down Service be exhausted, ERCOT may select units to OOME off-line.