| PRR Number | 457PRR | PRR Title | Balancing Energy Down Requirement Revision |
| --- | --- | --- | --- |
| ###### Date |  | September 15, 2003 |  |
| ## Submitter’s Information |  |  |  |
| Name |  | Kevin Smith |  |
| E-mail Address |  | ksmith@tnsk.com |  |
| Company |  | Tenaska Power Services Co. |  |
| Company Address |  | 1701 E. Lamar Blvd., Suite 100 Arlington, Texas 76006 |  |
| Phone Number |  | 817-462-1513 |  |
| Fax Number |  | 817-303-1104 |  |

Comments

### Since the intention of this PPR was resolving the currently-infeasible situation which exists when QSEs do not physically have enough capability between the resource schedule and the Low Operating Limits to meet the mandatory down balancing percentage requirement, Tenaska recommends that PRR 457 be modified to avoid introducing a mandate that QSEs bid all down balancing capability above their Low Operating Limits.  The issue which needs to be addressed is the situation which occurs when a unit is scheduled to a level, including its Low Operating Limit, which does not allow the QSE to meet the mandatory DBES requirement.  This situation can occur, among other reasons, when ERCOT issues an OOMC instruction to a unit, creating a DBES requirement which cannot be provided by the OOMC unit.

Tenaska recommends that Market Participants interested in introducing a policy change which mandates QSEs to bid all their physical DBES capability submit such a recommendation through a PRR separate from PRR 457.

Proposed Protocol Language Revision

### 6.5.2		Balancing Energy Services

- QSEs shall provide Balancing Energy Down Service bids prior to the close of the Adjustment Period in an amount equal to or greater than the ERCOT-posted percentage at 0600 of the Day Ahead according to Section 4.4.5, Notification to QSEs of Mandatory Balancing Energy Service Down Bid Percentage Requirements and Section 4.5.2, Receipt of QSE’s Balancing Energy Bid Curves.  QSEs are not required to provide Balancing Energy Down Service bids which exceed the zonal aggregated Low Operating Limit for all Generation Resources of the QSE that are On-line in the Resource Plan.

[new section]

- Should the Bid Stack for Balancing Energy Down Service be exhausted, ERCOT may select units to OOME off-line.