| PRR Number | 458PRR | PRR Title | LaaR OOMC and OOME Deployments and Payments |
| --- | --- | --- | --- |
| Date |  | 9/22/03 |  |

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

| Impact Analysis |  |  |  |
| --- | --- | --- | --- |
| Market Segment | Impact |  | Benefit |
|  | Business | System |  |
| Consumer | ERCOT: not known | ERCOT: This would impact the reliability of the system by issuing OOM’s to LaaR’s that are on High Set Under Freq. Relays. It would effectively remove the first line of defense against frequency decay. | ERCOT: Could cause less LaaR participation. |
|  | Market: not known | Market: not known | Market: Adds substantial costs to customers by issuing and paying for OOM deployments. LaaR is voluntary and should be treated as such. LaaR’s should not receive OOM deployments. |
| LSE: General, Including NOIE | ERCOT: not known | ERCOT: not known | ERCOT: not known |
|  | Market: Still awaiting OOME as an instructed deviation. This would add to a situation that is already undesirable. | Market: not known | Market: Adds substantial costs to customers by issuing and paying for OOM deployments. LaaR is voluntary and should be treated as such. |
| LSE: CR & REP | ERCOT: not known | ERCOT: not known | ERCOT: not known |
|  | Market: Still awaiting OOME as an instructed deviation. This would add to a situation that is already undesirable. | Market: not known | Market: Adds substantial costs to customers by issuing and paying for OOM deployments. LaaR is voluntary and should be treated as such. |
| QSE | ERCOT: not known | ERCOT: not known | ERCOT: not known |
|  | Market: Still awaiting OOME as an instructed deviation. This would add to a situation that is already undesirable. | Market: not known | Market: not known |
| Resource | ERCOT: not known | ERCOT: not known | ERCOT: not known |
|  | Market: Takes away rights for choice to schedule or not for the customer providing the LaaR. | Market: not known | Market: LaaR is strictly voluntary and should not be given OOM deployments nor compensated for it. It should be treated as a load providing A/S only. |
| TDSP | ERCOT: not applicable | ERCOT: not applicable | ERCOT: not applicable |
|  | Market: not applicable | Market: not applicable | Market: not applicable |

| ## Sponsor or Comment Submitter |  |
| --- | --- |
| Name | Fred Sherman |
| E-mail Address | fsherman@ci.garland.tx.us |
| Company | Garland Power & Light |
| Company Address | 525 E. Ave. B Garland, TX 75040 |
| Phone Number | 972-205-3184 |
| Fax Number | 972-205-3106 |