| PRR Number | 459PRR | PRR Title | EPS Meter Data Transmittal |
| --- | --- | --- | --- |
| ###### Date |  | 9/18/03 |  |
| ## Submitter’s Information |  |  |  |
| Name |  | Larry Gurley |  |
| E-mail Address |  | Lgurley1@txu.com |  |
| Company |  | TXU Energy |  |
| Company Address |  | 1717 Main Street, Dallas, TX, 75201 |  |
| Phone Number |  | 214-875-9020 |  |
| Fax Number |  | 214-875-9074 |  |

Proposed Protocol Language Revision

### 11.1.10	Treatment of EPS Load Data

For EPS metering that ERCOT is populating ESI ID Load data, ERCOT will:

(1)	Utilize the data for all settlement calculations and reports;

(2)	Provide the TDSP and LSE with daily KWH consumption information in accordance with SET 867_03 for interval data upon completion of the Data Aggregation process for the settlement day.  Data changes during settlement runs subsequent to the most current settlement run will result in an additional SET 867_03 being provided to the TDSP and LSE;

(3)	Accommodate retail switching via the standard switching process and timelines;

(4)	Be identified as the Meter Reading Entity (MRE); and

(5)	Make ESI ID interval data available to the associated QSE, TDSP, Resource Entity and LSE via an extract.

The ERCOT read ESI ID data extract will:

(a)	Select all ERCOT read ESI IDs for the Market Participant.

(b)	Provide interval data as populated by ERCOT for each channel associated to an ESI ID.

11.1.11	 Treatment of EPS RIDs Data

For EPS RID data, ERCOT will:

- Be identified as the MRE.

- Model and populate data to appropriate channels such that netting and aggregation conform to the ERCOT Protocols requirements.

[PIP 204 & PRR283 & PRR459: This system change creates a mechanism for Market Participants to obtain EPS RID  data.  Add the following to the end of Section 11.1.11 upon system implementation.]

11.1.11 Treatment of EPS RIDs Data

- Make RID interval and SCADA interval data available to the associated QSE, TDSP, Resource Entity and LSE via an extract.

The ERCOT RIDs data extract will:

(a)	Select all ERCOT read RIDs for the Market Participant.

(b)	Provide interval data as populated by ERCOT for each channel associated to a RID.