| PRR Number | 470PRR | PRR Title | System Fuel Availability |
| --- | --- | --- | --- |
| Date |  | 10/20/03 |  |
| Submitter’s Information |  |  |  |
| Name |  | Steve Myers |  |
| E-mail Address |  | smyers@ercot.com |  |
| Company |  | ERCOT |  |
| Company Address |  | 2705 W. Lake Drive, Taylor, TX 76574 |  |
| Phone Number |  | 512 225-3077 |  |
| Fax Number |  | 512 248-3055 |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | Minor new workload resulting from notification duties. Major impacts if ERCOT is also made responsible for monitoring system-wide fuel supply issues, rather than continuing to receive reports from QSEs and Resources. | No system impacts expected with changes suggested below. Major system changes required if ERCOT is also made responsible for monitoring system-wide fuel supply issues, rather than continuing to receive reports from QSEs and Resources | Reliability improvements in resource scheduling by enhancing market awareness with respect to fuel supply so market can adjust more efficiently. |
| MARKET SEGMENT |  |  |  |
| Consumer | Not known | Not known | Reliability improvement |
| LSE: General, Including NOIE | Not known | Not known | Reliability improvement |
| LSE: CR & REP | Not known | Not known | Reliability improvement |
| QSE | Minimal | Not known | Reliability improvement |
| Resource | Minimal | Not known | Reliability improvement |
| TDSP | Not known | Not known | Reliability improvement |

Comments

ERCOT Operating Guide Section 3.1.4.1 currently requires Resources and QSEs to notify ERCOT if they are facing a fuel shortage.  Other sections also state that the Generation Entities and QSEs will provide data and information needed by ERCOT to ensure reliable operations.   ERCOT believes that the requirement to initiate this information exchange should remain with those Entities, because their fuel supply monitoring and supply strategies are integral business decisions squarely within the Market Participants’ responsibilities.  ERCOT has no operating procedures to determine if a fuel shortage exists system-wide, and implementing such procedures would have substantial staffing and budgeting impacts.

ERCOT does not object to this PRR if it is modified as shown below to require ERCOT to disseminate the information it already receives from QSEs and Resources.  Market Participants should further determine the level of specificity and timing of the information that would be reported to the market as a whole, such as by units, QSEs, zones, or companies, etc.

Revised Proposed Protocol Language

# Dispatch

## 5.6 Emergency and Short Supply Operation

### 5.6.3 Operating Condition Notice

ERCOT will issue an Operating Condition Notice (OCN) to inform all QSEs of a possible future need for more Resources due to conditions that could affect ERCOT System reliability. OCNs are for informational purposes only, and ERCOT exercises no extra authority with the issuance of this type of notice.

When time permits, ERCOT will issue an OCN before issuing an Advisory, Alert, or Emergency Notice. However, issuance of an OCN does not require action on the part of any Market Participant, but rather simply serves as a reminder to QSEs and TDSPs that some attention to the changing condition may be warranted. OCNs serve to communicate to QSEs the need to take extra precautions to be prepared to serve the Load during times when contingencies are most likely to arise.

Reasons for OCNs include unplanned transmission outages and fuel curtailments, based on information provided by the Market Participants, and weather related concerns such as anticipated freezing temperatures, hurricanes, wet weather, and ice storms.

ERCOT will monitor actual and forecasted weather for ERCOT and adjacent NERC regions. When adverse weather conditions are expected, ERCOT may confer with TDSPs and QSEs regarding the potential for adverse reliability impacts and contingency preparedness.

QSEs and TDSPs are expected to establish and maintain internal procedures for monitoring actual and forecasted weather and for implementing appropriate measures when the potential for adverse weather or other conditions (which could threaten ERCOT System reliability) arise.

### Advisory

ERCOT will issue an Advisory for informational purposes for the following reasons:

- When it recognizes that conditions are developing or have changed and more Ancillary Services will be needed to maintain current or near-term operating reliability;

- When weather or ERCOT System conditions require more lead-time than the normal Day Ahead market allows;

- When anticipated gas curtailments indicate the need for units to switch to alternative fuels, as indicated by the Market Participants;

- When communications or other controls are significantly limited; or,

- When ERCOT Transmission Grid conditions are such that operations within first contingency criteria as defined in the Operating Guides are not likely or possible because of Forced Outages or other conditions.

The Advisory communicates existing constraints.  ERCOT will notify TDSPs and QSEs. QSEs will notify appropriate Resources and LSEs.  ERCOT will communicate with TDSPs as needed to confirm their understanding of the condition and to determine the availability of Transmission Facilities.  For the purposes of verifying submitted information, ERCOT may communicate with QSEs.

Although an Advisory is for information purposes, ERCOT may exercise its authority, in such circumstances, to increase Ancillary Service requirements above the quantities specified in the normal Day Ahead plan in accordance with scheduling procedures. ERCOT may also increase the Day Ahead market to Two Days Ahead.

### Emergency Notice

ERCOT will issue an Emergency Notice only for the following reasons:

- ERCOT cannot maintain minimum reliability standards during the Operating Period using every Resource practicably obtainable from the market;

- ERCOT is in an unreliable condition, as defined below;

- Immediate action must be taken to avoid or relieve an overloaded transmission element;

- ERCOT varies from timing requirements or omits one or more scheduling procedures, as described in Section 4.8, Temporary Deviations from Scheduling Procedures; or,

- ERCOT determines that afuel shortage exists, based on information provided by the Market Participants.

The actions ERCOT takes during an Emergency Condition will depend on the nature and severity of the situation.

ERCOT is considered to be in an unreliable condition whenever ERCOT Transmission Grid status is such that the most severe single-contingency event presents the threat of uncontrolled separation or cascading outages and/or large-scale service disruption to Load (other than Load being served from radial transmission service) and/or overload of a critical transmission element, and no timely solution is obtainable from the market.

If the Emergency Condition is the result of a transmission problem that puts ERCOT in an unreliable condition, then ERCOT will act immediately to return ERCOT to a reliable condition, including instructing Resources to change output and instructing TDSPs to drop Load.

If the Emergency Condition is the result of a short supply situation, then the Emergency Electric Curtailment Plan procedures will be followed.