| PRR Number | PRR493 | PRR Title | Reactive Power Generator Exemption |
| --- | --- | --- | --- |
| Impact Analysis Date |  | 03/01/04 |  |
| Cost/Budgetary Impact |  | This PRR’s implementation is contingent upon the addition of 0.5 FTE in the transmission planning staff as described in the ERCOT Staffing Impacts. Requires additional staff as noted below. |  |
| Estimated Project Time Requirements* *Unless otherwise indicated, project time requirements begin upon project initiation. |  | No ERCOT computer system project required. |  |
| ERCOT Staffing Impacts (across all areas) |  | An estimated 0.5 FTE will be needed for ERCOT’s transmission planning efforts to calculate needed voltage support facilities, and analyze proposals and is required prior to implementation. ERCOT compliance will require approximately .1 FTE to maintain a record of TDSP certifications that the induction generators have complied with these requirements, but this FTE can be absorbed by current staff. |  |
| ERCOT Computer System Impacts |  | None identified. |  |
| ERCOT Business Function Impacts |  | None identified. |  |
| Grid Operations/ Practices Impacts |  | The transmission planning group will model the alternative voltage support facilities and monitor their performance. |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

N/A

Evaluation of Interim Solutions (e.g., manual workarounds)

N/A

Comments

N/A