Summary of Protocol Revisions

Effective:  March 1, 2004

Section 1:

PRR464 – 	Confidentiality of LSE Transaction Data

This PRR adds a new item to Section 1.3, Confidentiality, which describes REP specific information that is protected from disclosure.  The new item concerns transactions submitted by an LSE to ERCOT or received by an LSE from ERCOT.  Currently the Protocols do not protect from disclosure data concerning individual transactions, such as move-in or switch success.  Disclosure of this data may provide competitively sensitive information to the market.

Revised subsection:	1.3.1.1

Section 2:

PRR426 – 	Uninstructed Deviation Calculation for Uncontrollable Renewable Resources

This PRR adds definitions of Energy Ratio Share, Renewable Production Potential, and Uncontrollable Renewable Resources to the Protocols.  The substantive changes allow an Uncontrollable Renewable Resource to elect to use its Renewable Production Potential in lieu of its Resource Plan as the basis for URC and OOME Down payments.  While not subject to URC, the Uncontrollable Renewable Resource would now be subject to regulation charges which it previously did not incur.  In this PRR, if an Uncontrollable Renewable Resource elects to use its Renewable Production Potential in lieu of its schedule, it would not be subject to Uninstructed Deviation Pricing unless it participates in price chasing.

Revised subsection:	2.1

PRR425 – 	 Section 8 Outage Coordination

This PRR refines the Outage definitions in Section 2.1, Definitions, clarifies language in Section 6.8.2.2, Capacity Payments, and changes and reorders Section 8, Outage and System Topology Coordination.  Changes are made to Transmission and Resource Facilities Outage requirements.  This PRR is expected to improve the accuracy and dependability of Outage Coordination and approval studies for a thirty (30) day window.  This PRR also clarifies the coordination requirements of Outages for Reliability Resources (RMR, Black Start, and Synchronous Condensers) and clarifies ERCOT’s authority regarding generator Outage schedule approval within eight (8) days, providing limited authority for ERCOT to deny Outage schedules for reliability reasons.

Revised subsection:	2.1

Section 4:

PRR426 – 	Uninstructed Deviation Calculation for Uncontrollable Renewable Resources

See Section 2 above.

Revised subsection:	4.4.4

Section 5:

PRR473 – 	Reactive Standards

This PRR adds language to conform the Protocols to the Reactive Standards adopted by TAC.  Until Protocols providing for a contribution to reactive capability construction are approved, language allowing induction generators to elect to make such a contribution in lieu of meeting the installed standard is boxed (and, therefore, not effective).

Revised subsections:	5.2, 5.2.1, 5.2.2, 5.2.3, 5.5.1, 5.5.2

Section 6:

PRR426 – 	Uninstructed Deviation Calculation for Uncontrollable Renewable Resources

See Section 2 above.

Revised subsections:	6.3.1, 6.8.1.15.1, 6.8.2.3

PRR473 – 	Reactive Standards

See Section 5 above.

Revised subsections:	6.1.7, 6.4.2, 6.5.7, 6.5.7.1, 6.5.7.2, 6.5.7.3, 6.7.6, 6.8.4, 6.10.3.5, 6.10.9

PRR484 – 	Changes for Implementation of Direct Load Control (DLC)

This PRR modifies Protocol language to better represent the way Direct Load Control (DLC) will participate in Balancing Up Load (BUL).

Revised subsections:	6.10.2, 6.10.5.2

Section 7:

PRR397 – McCamey Area Congestion Management

Errata change to February 25, 2004 Protocols which corrects placement of items not currently implemented.

Revised subsections:	7.8

Section 8:

PRR425 – 	Section 8 Outage Coordination

See Section 2 above.

Revised Section:	8

Section 11:

PRR459 – 	EPS Meter Data Transmittal

This PRR clarifies boxed Protocol language to show that ERCOT (1) is identified as the Meter Reading Entity, where appropriate; (2) utilizes the data for all settlement calculations and reports; and (3) makes ESI ID interval data available to TDSPs and LSEs via an extract.  In addition, this PRR specifies the deadlines for ERCOT to provide EPS data to TDSPs.

Revised subsection:	11.1.10, 11.1.11

Section 15:

PRR459 – 	EPS Meter Data Transmittal

See Section 11 above.

Revised subsection:	15.3

Section 18:

PRR478 – 	Use of Lagged Dynamic Samples for New Load Profiles

This PRR permits the use of lagged dynamic samples for creating new Load Profiles.  This new methodology is expected to provide the following benefits:  (1) reduce the time lag between approving a new profile and being able to settle ESI IDs using the new profile; (2) lagged dynamic schedules will accommodate the expected population changes within Load Profiles more quickly, accurately, and efficiently than is possible with adjusted static models; and (3) Use of lagged dynamic samples is expected to allow the market to audit ESI IDs being assigned to new profiles and to create an incentive for CRs using the profile to limit the inclusion of ESI IDs to those appropriate to the profile.

Revised subsections:	18.2.2, 18.2.7

Section 19:

PRR477 – 	Section 19 Texas Standard Electronic Transactions (SET)

This PRR conforms the ERCOT Protocols with information contained on the ERCOT Website and ERCOT version Release 1.6.  Transactions 814_28, 814_29, 824, T01-T4, 810_03 were added and transactions 820_01, 814_PA and PB were removed.  In addition, notes in transaction 997 were updated and a new Section 19.5, TX SET Envelope Standards, was added.

Revised Section:	19