Summary of Protocol Revisions

Effective:  June 1, 2003

Section 4:

PRR393 – Balancing Energy Bid Expiration Time - PIP147

Deletes the PIP147 box, which allows for expiration time of balancing energy bids.  Eliminates the need for a software revision.

Revised subsections:	4.5.2

PRR407 – Sunset Date Removal for Relaxed Balanced Schedules (RBS)

Removes the paragraph addressing ERCOT’s ability to initiate a limitation or suspension of RBS.

Revised subsections:	4.3.5

Section 6:

PRR371 – Minimum Energy OOME When OOMC Issued

Improves the “proxy” criteria for cost recovery for OOMC and OOME services and provides that financial settlement will treat the deployment as if an OOME instruction had been issued so the QSE does not bear the cost of the difference between market pricing and unit production costs.

Revised subsections:	6.8.2.1 & 6.8.2.2 – text placed in a gray box pending system implementation.

PRR392 – Posting BE Forecast - PIP138

Deletes the box for PIP138 which requires the Posting of BE Forecast.  Eliminates the need for a software revision.

Revised subsections:	6.7.1.1

PRR394 – Balancing Energy Ramps as Instructed Deviations

Conforms the Protocols to the ERCOT system’s treatment of Balancing Energy ramps outside of the target Settlement Interval.

Revised subsections:	6.5.2

PRR396 – RMR Issues

Revises the guidelines and compensation for Reliability Must Run Service.

Revised subsections:	6.5.9, 6.5.9.1, 6.7.8 & 6.8.3

PRR398 – Combined Cycle Settlement

Changes the way instructions to combined cycle plants are settled to more accurately reflect the operational interdependencies of these plant technologies.

Revised subsections:	6.8.2.3 – text placed in a gray box pending system implementation (concurrent with PRR369).

PRR400 – Provisional Approval for LaaRs

Allows Loads to begin participating in the market as soon as they meet all telemetry and calibration testing until such time as an actual load interruption test can be scheduled with ERCOT and the load facilities.

Revised subsections:	6.10.1

PRR403 – URC Update Due to Smoothing Algorithm Revision

Clarifies and describes in detail the changes to the URC equation as a result of the implementation of PRR 350.  Specifically describes how to treat DC Tie Schedules when calculating the schedule to be used in the URC calculation.

Revised subsections:	6.8.1.15 – text placed in a gray box pending system implementation.

Section 7:

PRR398 – Combined Cycle Settlement

See above in Section 6.

Revised subsections:	7.4.3.1 & 7.4.3.2 (concurrent with PRR369).

Section 9:

PRR401 – Partial Payments & Credit

Updates ERCOT’s calculation of each QSE’s Total Estimated Liability and Estimated Aggregate Liability. Clarifies that ERCOT has the ability to offset amounts owed to and from a QSE that does not remit a payment in a timely manner.

Revised subsections:	9.4.4

Section 12:

PRR386 – Scheduling Information

Adds text “where applicable” to indicate that not all services are deployed by zone and the services that are deployed by zone will be reported by zone.

Revised subsections:	12.4.1

Section 16:

PRR401 – Partial Payments & Credit

See above in Section 9.

Revised subsections:	16.2.5-16.2.9

Section 18:

PRR362 – Load Profiling ID Type Correction

Directs that changes to Load Profile IDs be made in ERCOT’s billing system instead of the registration system.

Revised subsections:	18.4.4.2

PRR385 – Direct Load Control (DLC) Implementation

Allows the DLC programs to be appropriately profiled and ERCOT systems to properly process DLC programs.

Revised subsections:	18.7.2.1 & 18.7.2.2.2-5

Section 22:

PRR396 – RMR Issues

See above in Section 6.

Revised subsections:	22(F) & 22(I)