Summary of Protocol Revisions

Effective:  July 1, 2004

Section 2:

PRR 507 - RMR Process Enhancements

Streamlines and clarifies the RMR initiation process timeline and adds incentives for Resource Owners to negotiate RMR agreements.

Revised subsections:  2.1

Section 5:

PRR 499 - Eliminate Fuel Shortage Notice

Eliminates the requirement for ERCOT to issue Operating Condition and Advisory Notices for fuel curtailment situations; however, Emergency Notices for fuel shortages are required.

Revised subsections:  5.6.3, 5.6.4, 5.6.6

PRR 510 - Remove PIP134 and PIP158 Boxed Language

Removes changes due to PIP134 and PIP158, which will not be supported.  PIP134 required ERCOT System and Zonal Load forecasts to be distributed through the Message System. PIP158 added information contained in Dispatch Instructions.

Revised subsections:  5.4.2.2

Section 6:

PRR 502 - Aggregation of Combined Cycle Units Providing RRS

Allows RRS obligations awarded to combined cycle plants to be aggregated for all units in a block for consideration of compliance.

Revised subsections:  6.10.5.4 [text placed in gray box pending system implementation]

PRR 507 - RMR Process Enhancements

See Section 2 above.

Revised subsections:  6.5.9, 6.5.9.1, 6.8.3.1

PRR 510 - Remove PIP134 and PIP158 Boxed Language

See Section 5 above.

Revised subsections:  6.4.2

PRR 512 - OOMC and OOME of LaaRs

Modifies Sections 6.1.10 and 6.5.10 to remove LaaRs from being available to provide OOMC Service. Adds new Section to 6.8.2.1 to define Resource Generic Energy Cost for LaaRs. Modifies Section 6.8.2.2 to make any reference to OOMC applicable to Generation Resources only. Adds new Section to 6.8.2.3 to define the settlements payment to LaaRs providing OOME Service.  Modifies Section 6.10.8 to define instances where LaaR is available for replacement reserve Service and removes references to LaaR related to OOMC Service.

Revised subsections:  6.1.10, 6.5.10, 6.8.2.1, 6.8.2.2, 6.8.2.3, 6.10.8

Section 7:

PRR 513 - Verification of Operational Model after Recurring Local Congestion Event

After an event has caused Local Congestion for two times within a three-day period or three times within a five-day period, this revision makes it mandatory for ERCOT to contact the appropriate TO to (1) verify transmission line ratings, (2) verify modeling of the transmission system, and (3) determine with the TO if any transmission operational intervention could relieve congestion.

Revised subsections:  7.4.1 [text placed in gray box awaiting fulfillment of ERCOT staffing requirements]

Section 8:

PRR 504 - Resource Derating Clarification

Provides an explanation of what constitutes a Resource deration.

Revised subsections:  8.6.3

PRR 507 - RMR Process Enhancements

See Section 2 above.

Revised subsections:  8.1.3.2

Section 15:

PRR 519 - ERCOT and TDSP Acceptance of Customer Cancellation of Switch Request

Revises language to clarify that ERCOT and the TDSP will accept cancellations (814_08s) until five (5) Business Days preceding the effectuating meter read date.

Revised subsections:  15.1.1.4

Section 22(I):

PRR 507 - RMR Process Enhancements

See Section 2 above.

Revised subsections:  RMR Application