- ERCOT

- Draft Protocols Document

- Section 2: Definitions and Acronyms

- July 27, 2000

Prepared by

- The ERCOT Stakeholders

- And

- Tabors Caramanis & Associates

2.	Definitions and Acronyms	2-1

2.1.	Definitions	2-1

2.2.	Acronyms	2-38

# Definitions and Acronyms

## Definitions

Definitions probably unneeded — terms (and sometimes acronyms) defined and never used. Delete from definitions?

.

VEE (Sec 9.4.2) — leave and check.

Terms possibly needing definition:

Capacity Conversion Factor

Grid Access Charges, Wheeling Out Charges, Wheeling Through Charges, and Dispatch Charges

Metered Entity

A number of terms concerning meters, metering, etc.:

Compatible Meter Data Servers

Meter Certification Form (a copy of which is in Protocol?)

Meter Installation Agent

Meter installation entity

Meter Point

Meter read code

Meter reads

Meter Service Provider

Metered Entities (ERCOT, MDMA, TDSP (MDMA), Real Time, ESI)

Polled Settlement Metering Facilities

Qualified Competitive Meter Reading Agents

Retail load meter data

Revenue Quality Meter Data

Revenue Quality Meters

Settlement quality meter data

(Note that the following terms ARE defined):

Meter Data Exchange Format

Meter Data Management Agent (MDMA)

Meter Data Request Format

Meter Read Date

Metering Facilities (twice)

NERC tagging guidelines; NERC tags; NERC/ERCOT tags

Permitted Exemptions, Authority to Grant Exemptions, and Procedure for Applying for Exemptions

Urgent Request – To be defined in the Protocol to Change Protocol

Zonal Allocation (is this the same as the Zonal Method of CSC cost allocation?

(Referred to in congestion management section)

Links to definitions A, B, C, D, E, F, G, H, I, J, K, L, M, N, O, P, Q, R, S, T, U, V, W, X, Y, Z; List of Acronyms

A, [Back to Top]

Adjustment Period

The time period following the close of the Day-Ahead market and ending at the close of the hour preceding the operating hour. [Parviz Abid asks if the period shouldn’t begin with the DA process rather than after]

Advisory 
The first of four possible levels of communication issued by ERCOT in anticipation of a possible need to use emergency protocols.  An Advisory will be issued by ERCOT when it recognizes that conditions are developing or have changed such that more Ancillary Services will be needed to maintain current or near-term operating reliability or that weather or system conditions require more lead time than the normal Day-Ahead market allows.

Agency

Any state board, commission, department, or offices having statewide jurisdiction which make rules or determines contested cases.

Aggregator

A person, other than a Retail Electric Provider, joining two or more Customers, other than municipalities and political subdivision corporations, into a single purchasing unit to negotiate the purchase of electricity from Retail Electric Providers, but not selling or taking title to electricity.

Alert

An ERCOT response to conditions that have developed requiring additional Ancillary Services in the Real Time Market, with which the ERCOT may exercise its authority to ask for a quick bid response that precludes the QSEs having sufficient time to self-arrange additional Ancillary Services.

Alternative Dispute Resolution

Procedures for settling disputes by means other than litigation.

Ancillary Services

Those services necessary to support the transmission of energy from resources to loads while maintaining reliable operation of transmission provider’s transmission systems in accordance with Good Utility Practice

Area Control Error

The instantaneous difference between actual and scheduled interchange, taking into account the effects of frequency bias. The formula for calculating the Control Area’s Area Control Error using tie line bias is

ACE = (NiA – NiS) + 10B(fA – fS)

Where

NiA	=	actual instantaneous net interchange (in megawatts); the algebraic sum of the power flows on the Control Area’s tie lines. Positive net interchange is a net power flow out of the Control Area,

NiS	=	scheduled net interchange (in megawatts); the mutually prearranged intended net power flow on the Control Area’s tie lines. Positive net interchange is a net power flow out of the Control Area,

fA	=	actual frequency (in hertz); the actual frequency in the ERCOT system,

fS	=	scheduled frequency (in hertz); the scheduled frequency in the ERCOT system,

B	=	frequency bias setting (in megawatts per 0.1 Hz); the bias value used by the Control Area. (This is a positive (+) value),

10	=	a constant to convert the frequency bias setting to megawatts per hertz.

Authorized Meter Inspector

A person or entity authorized by the ERCOT to certify, test, inspect, and audit metering facilities in accordance with ERCOT established procedures.

Automatic Generation Control [Need to change to match new paradigm]

Equipment that automatically adjusts the generation within a Control Area to maintain its interchange schedule plus its share of frequency regulation. The following Automatic Generation Control modes are typically available:

Tie Line Bias Control

Automatic generation control with both frequency and interchange terms of Area Control Error considered.

Constant Frequency (Flat Frequency) Control

Automatic generation control with the interchange term of Area Control Error ignored. This Automatic Generation Control mode attempts to maintain the desired frequency without regard to interchange.

Constant Net Interchange (Flat Tie Line) Control

Automatic generation control with the frequency term of Area Control Error ignored. This Automatic Generation Control mode attempts to maintain interchange at the desired level without regard to frequency.

Availability

The readiness of a unit or dispatchable load to respond to the ERCOT deployment of services.

Available Transmission Capacity

The CSC path transmission transfer capability available for release to use besides for Pre-Existing Contracts.

Add in based on FERC 889 Definition?

Average Daily Usage (ADU)

The ratio of the total consumption divided by the number of days the consumption covered. (ADU = Monthly kWh/# of days).

Average Generation Shift Factor

Pertaining to each defined Commercially Significant Constraint congestion zone.

B, [Back to Top]

Balanced Schedule

An energy schedule submitted to the ERCOT by a Qualified Scheduling Entity that consists of projected 15-minute obligations (loads or sales) and projected 15-minute resources (procurements or generation), and that includes Qualified Scheduling Entity obligations for transmission and distribution system losses.

Balancing Energy

Balancing Energy represents the change in energy output or demand determined by the ERCOT to ensure secure operation of the Grid, and supplied by the ERCOT through acquisition of resources (generating units and interruptible demands) to meet load variations not covered by Regulation Service.

Banking Day

A weekday excluding all Federal and state Holidays.

Bilateral Trading

Financial or physical transactions related to electrical energy commodity service, between two entities.

Black Start Service

A mandatory service acquired by the ERCOT for the benefit of all loads, provided by generators capable of starting and synching without support of the Grid.

Black Start Unit

A unit capable of providing Black Start Service.

Business Day

Monday through Friday, excluding observed holidays listed below:

New Year’s Day

President’s Day

Good Friday

Memorial Day

Independence Day

Labor Day

Thanksgiving Thursday and Friday

Christmas

TBD

C, [Back to Top]

Capability

[can we split this up so that it’s clear whether it’s one definition, or two or three?]

a.	Generation Capability for Daily Planning

(1)	Unit: The net dependable capability of a generating unit as verified in accordance with Guide I.C.

(2)	Qualified Scheduling Entity: The sum of the net dependable capability of generating units, with adequate aggregate fuel sources, planned to be on line for a given day or time. [Should this be split into a separate definition of Qualified Scheduling Entity Capability?]

Capacity

The rated continuous load-carrying ability (expressed in megawatts or megavolt-amperes) of generating equipment or other electrical apparatus.

Central Prevailing Time

Either Central standard time or central day-light time as established by national time standards.

Certificate of Compliance

A certificate issued by the ERCOT that states that the Metering Facilities referred to in the certificate satisfy the certification criteria for Metering Facilities contained in the Protocol and its Attachments.

Charge

A sum of money due from an invoice recipient to the ERCOT, or from the ERCOT to the invoice recipient

Check Meter

A redundant revenue quality meter which produces equal or better accuracy than the primary revenue quality meter connected at the same metering point which must be certified in accordance with the Protocol and its Attachments.

Cluster Analysis

A widely recognized statistical technique for grouping observations (in this case Shift Factors) into meaningful buckets (i.e., zones) given some pre-defined criteria

Coincident Peak (CP)

Maximum combined daily, monthly, or annual loads occurring at the same time.

Coincident Peak

Maximum daily, monthly, or annual loads occurring at the same time.

Commercial Model

Commercially Significant Constraint

A limitation in the transmission system that is found, through actual operations, and a collaborative effort open to all stake holders, to limit the free flow of market activity in a significant manner.

Common Switchyard

A switchyard located on a power generation plant property or the property of the host transmission utility, contiguous to the generator plant property and whose purpose is to provide generation interconnection and auxiliary load interconnection required for the operation of the generator with the Grid.

Compatible Meter Data Server

A meter data processing system which is capable of passing meter data and/or Settlement Quality Meter Data to MDS via File Transfer Protocol (FTP) and which has been certified in accordance with the Protocol and its Attachments by the ERCOT or its authorized representative.

Competitive Retailer

A municipally owned utility, generation and transmission cooperative (G&T cooperative), or distribution cooperative that offers customer choice in the restructured competitive electric power market in Texas or a Retail Electric Provider (REP).

Congestion

The situation where requests for net power transfers across a transmission interface exceed the transfer capability of the interface.

Congestion Management

The ERCOT management of scheduled power transfers across a Congested transmission path to ensure both system reliability and effective utilization of the transmission system.

Congestion Zone

A grouping of buses, bound by CSCs that have a similar impact (Shift Factor) on all of the CSCs.

Contingency Criteria (first)

The standard for acceptable system response when a single transmission or distribution component or device is removed from service.

Control Area [is the definition both, or one or the other?]

An electrical system, bound by interconnect (tie line) metering and telemetry, which continuously regulates, through automatic generation control, its generation and interchange schedules to match its system load, contributes to frequency regulation of the interconnected system, and meets all Control Area requirements of the ERCOT Operating Guides.

An electric power system or combination of electric power systems to which a common automatic control scheme is applied in order to:

(1)	match, at all times, the power output of the generators within the electric power system and capacity and energy purchases from entities outside the electric power system, with the load within the electric power systems;

(2)	maintain, within the limits of good utility practice, scheduled interchange with other Control Areas;

(3)	maintain the frequency of the electric system within reasonable limits in accordance with good utility practice; and

(4)	maintain sufficient generating capacity to maintain operating reserve in accordance with good utility practice.

Control Area Operator

An individual or set of individuals responsible for monitoring and control operation of a Control Area to meet the requirements of the ERCOT Protocols and Guides.

Defined control center terms are rarely used — if at all.

Current Certificate

A valid document, issued by the ERCOT, authorizing a Person to act as an Authorized Meter Inspector.

Current Operating Plan

An ERCOT-developed plan with sufficient Ancillary Services to maintain the security of the ERCOT Transmission System consistent with ERCOT and North American Electric Reliability Council (NERC) criteria.

Current Resource Specific Percentage

A percentage based on the number of times a specific resource is used to resolve a localized problem where a market solution does not exist

Current System Conditions

The Real-Time status of the ERCOT System, which may affect operational decisions of the ERCOT.

Customer

A Person or entity who purchases and ultimately consumes electricity at a single premise.

Customer Choice

The unrestricted freedom of a retail Customer to purchase electric services, either individually or on an aggregated basis with other retail Customers, from the provider or providers of the Customer’s choice and to choose among various fuel types, energy efficiency programs, and renewable power suppliers.

Customer Choice Pilot

A project used to allow the commission to evaluate the ability of each power region and electric utility to implement customer choice. The commission shall require each electric utility to offer customer choice in its service area within this state amounting to five percent of the utility's combined load of all Customer classes within this state beginning on June 1, 2001.

Customer Drop

Termination of the relationship between a Customer and the Customer’s current REP initiated by the current REP.

Customer Enrollment Process (“Enrollment”)

The process by which as Customer is associated with an REP in the Customer Registration Database

Customer Premise

See Premise.

Customer Registration Database

The database maintained by the Registration Agent containing identifying information about each Customer Premise, including current and previous REPs serving the Premise.

Customer Switch

Change in the REP serving a Customer Premise, initiated by an REP.

D, [Back to Top]

Data Aggregation System

The database and communication system that will collect meter data from TDSPs and directly polled meters in ERCOT. The system will perform aggregation functions to the load data in order to satisfy certain objectives such as ensuring that TDSPs are paid appropriately by their respective REP’s, assigning QSE load responsibility, and assisting REPs and QSEs in their settlement responsibilities. The data will also be compiled along congestion and weather zones.

Data Processing

The set of processes carried out on the raw data collected from the Interval Data Recorders (IDRs). These processes include verification, editing and data retention.

Day Ahead

The 0000 to 2400 period proceeding the Operating Day.

Day-Ahead Ancillary Services Plan

The ERCOT’s plan, developed at approximately 0600, for the necessary Ancillary Services for each hour of the Operating Day.

DEC Instruction

A Dispatch Instruction to decrease energy output (or increase energy consumption).

Demand

Instantaneous or integrated energy consumption

Demonstrable Costs

The costs, including variable production costs and the costs of foregone opportunities, incurred by a QSE in providing a service to the ERCOT; provided that: (i) the QSE must provide reasonable justification to support its claim of costs, which may include direct cost data or indirect data such as published market prices or indices; (ii) such costs may be subject to caps or floors imposed by contracts or by the PUC or other regulatory authorities; and (iii) the final determination of whether a cost has been sufficiently demonstrated will be subject to arbitration under the terms of the ERCOT’s Protocols.

Designated Representative

A responsible natural person authorized by the owner of a REC trading account with the authority to represent and legally bind the owner of the account in all matters pertaining to the renewable energy credits trading program.

Direct Current Tie, DC Tie, and/or DC Tie Operator

One of the two non-synchronous transmission interconnections between ERCOT and non-ERCOT electric power systems

Dispatch

The act of issuing Dispatch Instructions

Dispatch Instruction(s)

Specific command(s) issued by the ERCOT to any Market Participant or its affiliate during the course of operating the ERCOT system.

Distribution Losses

Total electric energy consumed as a result of I2R heating of the conductors that do not meet the definition of Transmission Facilities, and excluding the inverters and converters associated with the direct current ties.

Dynamic Schedule

An energy obligation of a QSE's base power schedule and instructed deviations that is metered in Real Time. Dynamic Schedules may, with certain pre-approved conditions, be used as ERCOT authorized Balancing Energy Service Up and Down instructed deviations.

E, [Back to Top]

Early Banking

Process through which certified generators generate and are awarded (RECs) prior to the program’s first compliance period.

Electric Reliability Council of Texas, Inc. (ERCOT)

ERCOT is a Texas nonprofit corporation. The ERCOT is the independent organization for the ERCOT Region.

Electric Reliability Council of Texas Region (“ERCOT Region”)

The ERCOT Region represents the area in Texas that is served by Electric Utilities, municipally owned utilities, and electric cooperatives and that is not synchronously interconnected with electric utilities outside the state of Texas. The ERCOT Region is certified as an Independent Organization by the PUC.

Electric Service Identifier

A unique and permanent identifier assigned to a premise.

Electric System Losses

Total electric energy losses in the electric system. The losses consist of transmission, transformation, and Distribution Losses between supply sources and delivery points. Total electric energy consumed as a result of I2R heating of the conductors that make up the electric delivery system excluding the inverters and converters associated with the direct current ties.

Electric Utility (“Utility”)

A person or river authority, operating under the Public Utility Commission’s regulation, that owns or operates for compensation in the state equipment or facilities to produce, generate, transmit, distribute, sell, or furnish electricity in this state. The term includes a lessee, trustee, or receiver of an electric utility and a recreational vehicle park owner who does not comply with Subchapter C, Chapter 184, with regard to the metered sale of electricity at the recreational vehicle park. The term does not include

- A municipal corporation;

- A qualifying facility;

- A power generation company;

- An exempt wholesale generator;

- A power marketer;

- A corporation that sells electricity exclusively at wholesale and not to the ultimate consumer;

- A cooperative corporation;

- A Retail Electric Provider;

- A person not otherwise an electric utility who (1) furnishes an electric service or commodity only to itself, its employees, or its tenants as an incident of employment or tenancy, if that service or commodity is not resold to or used by others; (2) owns or operates in this state equipment or facilities to produce, generate, transmit, distribute, sell, or furnish electric energy to an electric utility, if the equipment or facilities are used primarily to produce and generate electric energy for consumption by that person; or (3) owns or operates in this state a recreational vehicle park that provides metered electric service in accordance with Subchapter C, Chapter 184.

Eligible Transmission Service Customer

A Transmission Service provider (for all uses of its transmission system) or any electric utility, municipally owned utility, electric cooperative, power generation company, Retail Electric Provider, federal power marketing agency, exempt wholesale generator, qualifying facility, power marketer, or other person whom the Public Utility Commission of Texas has determined to be an eligible Transmission Service Customer.

Emergency Condition

Emergency Electric Curtailment Plan [Procedures]

A plan which provides an orderly, predetermined procedure for curtailing demand during electric system emergencies and provides for the maximum possible continuity of service while maintaining the integrity of the ERCOT bulk power transmission system.

Emergency Notice

Emergency Restoration Plans

Energy

The amount of power produced, delivered, or consumed during a pre-defined unit of time.

Energy Management System

A system capable of sending, receiving, and saving system operations data in real-time.

Energy Schedule

A schedule that is made available to ERCOT, through the Scheduling Protocol, that describes the QSE’s energy resource and obligation.

Enrollment

See Customer Enrollment

Equalization Fund

ERCOT fund used to allocate…[later]

ERCOT Authorized Inspector

A person authorized by ERCOT to certify, test, inspect and audit ERCOT Polled Settlement Metering Facilities in accordance with procedures established by ERCOT pursuant to the Protocol and its Attachments.

ERCOT Electric System

An interconnected combination of generation, transmission, and distribution components for which ERCOT has dispatch and/or operational control.

ERCOT Engineering Studies

Studies performed by ERCOT for the purpose of studying, evaluating, or planning of the ERCOT Electric System.

ERCOT Market Information Web Site (“Web Site”)

A measure of generating unit thermal efficiency (commonly expressed as million BTU per megawatt-hour or BTU per kilowatt-hour). Heat rate is calculated by dividing the total heat content (in BTU) of the fuel burned (or of the heat released from a nuclear reactor) by the resulting electrical energy generated.

[This definition does not fit.  Revise.]

ERCOT Metered Entity

Any one of the following entities who meets the requirements of Section 10.2.2, ERCOT Polled Meters:

Generating Unit; or

Load acting as a resource; or

a wholesale point of delivery that is being followed by a dynamic resource schedule; or

a meter point being used by ERCOT Settlement Agent to develop UFE zones.

ERCOT Meter Service Provider (MSP)

A service provider who installs, repairs, maintains and programs meters and meter related equipment and has received authorization by ERCOT.

ERCOT Polled Settlement Meters

Meters directly polled by ERCOT.

ERCOT Register

A list of all of the transmission facilities over which ERCOT has operational authority, posted on ERCOT web site.

ERCOT System

The interconnected combination of generation, transmission, and distribution components for which the ERCOT has dispatch and/or operational control.

ERCOT Transmission Grid

All of those transmission facilities, as defined herein, which are within the jurisdiction of ERCOT.

Exempt Wholesale Generator

A Person who is engaged directly or indirectly through one or more affiliates exclusively in the business of owning or operating all or part of a facility for generating electric energy and selling electric energy at wholesale and who (1) does not own a facility for the transmission of electricity, other than an essential interconnecting transmission facility necessary to effect a sale of electric energy at wholesale; and (2) has (i) applied to the Federal Energy Regulatory Commission for a determination under 15 U.S.C. Section 79z-5a; or (ii) registered as an exempt wholesale generator as required by Section 35.032.

Existing Renewable Energy Facilities

Renewable energy generators placed in service before September 1, 1999.

F, [Back to Top]

Facilities

Equipment in place specifically for the purpose of conducting service and/or business through use of the ERCOT System

Facility Identification Number

Unique number assigned by the Administrator to a certified REC generator which shall remain the same for the duration of a certified generator’s participation in the program.

FERC

The Federal Energy Regulatory Commission or its successor.

Final Adjustment Period Schedules

Those schedules ERCOT deems valid following any Adjustment Period.

Final Day-Ahead Schedule

Those schedules ERCOT deems valid following the close of the Day Ahead period.

Final Settlement Data

Data components used by ERCOT to prepare the final settlement statement:

Aggregated estimated and actual interval and profiled consumption data for retail loads by specific zones

Aggregated estimated and actual interval consumption data for generation by specific zones

Aggregated estimated and actual interval consumption data for UFE zones (if there are multiple UFE zones)

Generation schedules

Retail load schedules

Hourly and 15-minute MCPs for each Market Service

Hourly and 15-minute performance for each Market Service

Hourly and 15-minute obligations for each Market Service

Adjustments from approved disputes or errors in data

Final Settlement Process

The processing of Final Settlement Data to generate financial transaction records for market services that reflect differences to financial records on the corresponding initial settlement statement for a given Operating Day. Records that reflect these differences are published to the final settlement statement.

Final Statement

Term needs to be trued up with Settlements Section

Statement produced 45 calendar days after the Operating Day based on final settlement data. If that the 45th calendar day falls on a weekend or observed holiday, then the final statement will be provided on the following business day. The final statement will reflect any adjustments as a result of processed and approved disputes.

Frequency

Terms aren’t really used in text. Delete?

Scheduled Frequency

60.0 Hz, except during a time correction (when it is either 60.02 Hz or 59.98 Hz)

Frequency Deviation

The difference between actual system frequency and the scheduled system frequency

Frequency Bias

A positive (+) value, in megawatts per 0.1Hz, set into a Control Area’s Automatic Generation Control equipment to represent a Control Area’s response to frequency deviation from scheduled frequency, and to a separate internal load/generation unbalance from external unbalance so that a Control Area may regulate its own load while contributing to frequency regulation in the ERCOT System.

G, [Back to Top]

Generating Company

Used in the context of Certification of Market Participants

Generating Resource Provider

Generation

Gross Generation

The generated output power at the terminals of the generator.

Net Generation

Gross generation minus station auxiliaries or other internal unit power requirements.

Generation Entity

Owner or controller of a generator used for generating electricity and electrically connected to a transmission or distribution system.

Generation Offset Technology

Any renewable technology that reduces the demand for electricity at a site where a Customer consumes electricity. An example of this technology is solar water heating.

Generation Plan

Unit-specific forecasted output and capacity reserved for ancillary service markets following the Day-Ahead Scheduling Process.

Generation Resources

Facilities that produce energy and that are owned or operated by a PGC

Generation Supply Error

For performance monitoring purposes, the unfiltered megawatt output of each unit for on-line plants shall be collected by POS/MOS. Based on these inputs, the Performance Monitoring function shall calculate Generation Supply Error (GSE) (initially, every control cycle) for each generation supplying Qualified Scheduling Entity. GSE shall be calculated as

GSE	=	 Actual Generation

– Bilateral Static Schedules

– Bilateral Dynamic Schedules

– Responsive Reserve Energy request by ERCOT

– Balancing Schedule request by ERCOT

– Regulation Schedule request by ERCOT

– Expected Governor Response due to frequency

Good Utility Practices

Any of the practices, methods, and acts engaged in or approved by a significant portion of the electric utility industry during the relevant time period, or any of the practices, methods, and acts that, in the exercise of reasonable judgment in light of the facts known at the time the decision was made, could have been expected to accomplish the desired result at a reasonable cost consistent with good business practices, reliability, safety, and expedition. Good utility practice is not intended to be limited to the optimum practice, method, or act, to the exclusion of all others, but rather is intended to include acceptable practices, methods, and acts generally accepted in the region.

Grid

ERCOT’s contiguous transmission system.

H, [Back to Top]

Heat Rate

A measure of generating unit thermal efficiency (commonly expressed as million BTU per megawatt-hour or BTU per kilowatt-hour). Heat rate is calculated by dividing the total heat content (in BTU) of the fuel burned (or of the heat released from a nuclear reactor) by the resulting electrical energy generated.

I, [Back to Top]

IDR Requirement

The kW or voltage level at which interval data recorders will be required to be installed for settlement purposes.

INC Instruction

A Dispatch Instruction to increase energy output (or decrease energy consumption).

Initial Settlement Data

Data components used by ERCOT to prepare the Initial Settlement Statement:

Aggregated estimated and actual interval and profiled consumption data for retail loads by specific zones

Aggregated estimated and actual interval consumption data for generation by specific zones

Aggregated estimated and actual interval consumption data for UFE zones (if there are multiple UFE zones)

Generation schedules

Retail load schedules

Hourly and 15-minute Market Clearing Prices for each Market Service

Hourly and 15-minute performance for each Market Service

Hourly and 15-minute obligations for each Market Service

Initial Settlement Process

The processing of initial settlement data to generate financial transaction records for market services for publication of initial settlement statements for a given Operating Day.

Initial Settlement Statement

Statement produced 3 calendar days after the Operating Day based on initial settlement data. If the 3rd calendar day is not a business day, the initial statement will be provided on the following business day.

Interim Period

That period of time prior to when the CSC Congestion costs are directly allocated based on relative usage of CSC paths.

Interconnection Agreement

An agreement that sets forth requirements for physical connection between an eligible transmission Customer and transmission providers. Transmission Customers must have such an agreement with all transmission providers to whom they are physically interconnected. Add SGIA, where appropriate

Interval Data Recorder (IDR)

Metering that is capable of recording load usage in relatively short time intervals (e.g., hourly, 15-minute). For purposes of this document, such devices are installed on a sample of Customers for a given class to measure the Customers’ load usage for the development of load profiles. A device that captures, records and time stamps energy consumption on specific time increments for the purpose of determining the financial obligation of the entity responsible for the energy consumed.

Interval Data Recorder Requirement

The level at which interval data recorders will be required to be installed for settlement purposes.

Invoice

A bill for payment rendered by ERCOT based on data contained in initial, final, true-up or any resettlement settlement statements.

Invoice Recipient

Market Participants; including  Power Generation Companies, Retail Electric Providers, Qualified Scheduling Entities, Transmission Companies; that receive notice of payment or credit.

This definition is still under discussion.

J, [Back to Top]

K, [Back to Top]

L, [Back to Top]

Load

The amount of electric power delivered or required at any specified point or points on a system, but not including sales of electricity by a Qualifying Facility to that Qualifying Facility's thermal host.

Load Profile

A representation of the consumption pattern of a group of Customers, showing the demand variation on an hourly or sub-hourly basis.

Load Profile Class

A group of Customers having similar energy usage patterns and that are assigned the same load profile

Load Profiling

The set of processes, carried out as part of ERCOT settlements, that allows the consumption data in respect of non-interval metered Customers, to be separated into hourly or sub-hourly consumption load profiles, by reference to generic hourly or sub-hourly load profiles, representative of those particular Customers.

Load Profiling Methodology

The methodology utilized for:

- the production of the reference hourly or sub-hourly consumption load profiles;

- the statistical analysis of the reference load profiles; and

- maintenance of the reference load profiles.

Load Ratio Share

A QSE’s historical fraction of load as calculated x days prior to the Settlement Period….

Need to fill in from Settlements

Load Serving Entity

A person or organization that provides electric service or otherwise manages energy needs of loads.

Load Shedding

The process of deliberately removing (either manually or automatically) preselected Customer demand from a power system in response to an abnormal condition in order to maintain the integrity of the system and minimize overall Customer outages.

Local Regulatory Authority

[Later]

M, [Back to Top]

Maintenance Outage

Mandated Level for Interval Metering

The level of maximum demand of an individual Customer, specified in kilowatts, above which it is required that an Interval Data Recorder is installed for the purpose of settlement.

Market Clearing Price for Capacity

The highest price for Ancillary Service capacity selected in each Ancillary Services capacity procurement run by ERCOT. There will be a separate Market Clearing Price for Capacity for each Ancillary Services capacity market. [need zonal reference]

Market Clearing Price for Energy

The highest price for Ancillary Service energy deployed during the 15-minute settlement period. Market Clearing Price for Energy is defined for each of all Commercially Significant Constraint Congestion Zones.

Market Participant

A Person who has a signed agreement with ERCOT for the purpose of engaging in the production of, and/or procurement of, and/or transportation of, and/or distribution of electricity within the ERCOT Region.

Market Services

Services administered by ERCOT and include ancillary services and congestion management. Balancing Energy is considered to be part of Ancillary Services.

Market Solution

A Market Solution will be deemed to exist when there are at least three unaffiliated owners capable of submitting bids to ERCOT to solve the local problem. Market Surveillance will periodically determine if the minimum number of owners required for defining Market Solution needs to be changed.

Market Surveillance

Merit Order

The ranking of resources as a direct function of the monetary bid from those resources.

Messaging System

The ERCOT-to-QSE and communications system used to send real-time notices and Dispatch Instructions to the QSEs.

Meter Data Exchange Format

The format for submitting meter data to, or receiving data from, ERCOT Settlement Agent.

Meter Data Management Agent (MDMA)

A service provider who interrogates meters, or otherwise collects meter data, and supplies that information to ERCOT Settlement Agent per the Protocol and its Attachments. At market open, the TDSP will be the only MDMA authorized by ERCOT to supply this data.

Meter Data Request Format

The format for requesting Settlement Quality Meter Data from ERCOT Settlement Agent.

Metering Facilities

Revenue Quality Meters, instrument transformers, secondary circuitry, secondary devices, meter data servers, related communication facilities and other related local equipment intended to supply ERCOT settlement quality data

Meter Read Date

With respect to registration of market participants, when a Customer changes at a given premise:

Move In

Move Out

N, [Back to Top]

New Facilities

Renewable energy generators placed in service on or after September 1, 1999. A new facility includes the incremental capacity and associated energy from an existing renewable facility achieved through repowering activities undertaken on or after September 1, 1999.

Non-Metered Load

Load that is not required to be metered by applicable distribution or transmission Tariff.

Non-Spinning Reserve Service

Non-Spinning Reserve Service is provided through utilization of the portion of off-line generation capacity capable of being synchronized and ramped to a specified output level within 30 minutes (or load that is capable of being interrupted within 30 minutes) and that is capable of running (or being interrupted) at a specified output level for at least 1 hour. Non-Spinning Reserve Service (NSRS) may also be provided from unloaded on-line capacity that meets the above response requirements and that is not participating in any other activity, including ERCOT markets, self-generation and other energy transactions.

O, [Back to Top]

Off-grid Generation

The generation of renewable energy in an application that is not interconnected to a utility transmission or distribution system.

Open Access Same Time Information System

This Open Access Same Time Information System definition seems to contain more detail than is appropriate under definitions

The information system and standards of conduct contained in 18 Code of Federal Regulations (CFR) Part 37 of the FERC’s regulations and all additional requirements implemented by subsequent FERC orders dealing with OASIS and to provide other relevant published information from ERCOT in accordance with these Protocols.

The ERCOT Open Access Same-Time Information System will, at a minimum, provide all information required under any Federal Energy Regulatory Commission regulations governing electronic transmission information networks which apply to utilities under Federal Energy Regulatory Commission jurisdiction. Information that a utility is required to make available to market participants in accordance with Section 23.67 (o)  [reference FERC document] shall be posted on the information network. The information on the network shall include

- Total and available transfer capability for transmission of energy between areas in ERCOT and to, from, and over the direct current (DC) interconnections with the Southwest Power Pool (SPP) and the Western Systems Coordinating Council (WSCC);

- ERCOT transmission prices;

- Ancillary Service prices, including any pricing discounts for such services;

- Requests and offers for Transmission Service and ancillary Transmission Services on the primary and secondary transmission markets;

- Transmission scheduling data;

- Transmission service curtailment and interruption data; and

- Information necessary to verify redispatch cost calculations.

Operating Condition Notice

An Operating Condition Notice will be issued by ERCOT to warn the Qualified Scheduling Entities of possible future need for more resources because of conditions that could affect reliability. Operating Condition Notices are for communication only, and ERCOT exercises no extra authority with the issuance of this type of notice.

Operating Day

The actual day, including hours ending 0100 to 2400, during which energy is flowing.

Operating Plan

An ERCOT-developed secure plan with sufficient Ancillary Services to maintain the security of the Grid consistent with ERCOT and North American Electric Reliability Council (NERC) criteria.

Operating Period

[used in Section 6]

Operating Reserve

That capability above system demand required to provide for regulation, load forecasting error, and equipment forced outages.

Operational Congestion

Security violation or overload of a transmission element, based on actual network topology. Operational Congestion may occur on CSCs or not.

This definition does not work all that well in sections in which we are trying to distinguish ERCOT operating practices related to local congestion as opposed to CSC congestion. Since ERCOT manages congestion differently with local (non-CSC) congestion than it does in the presence of local congestion there needs to be specific terms to reflect this.  Recommend returning this definition to exclude CSC congestion.

Operational Model

Opt-Out Utilities

[later]

Outage

Forced Outage

A component failure or other condition that requires that the equipment be removed from service immediately or up to and including the next weekend.

Maintenance Outage

Removing the equipment from service to perform work on specific components that could have been postponed past the very next weekend. This is work done to prevent a potential forced outage and that could not be postponed until the next planned outage.

Planned Outage

Removing the equipment from service for inspection and/or general overhaul of one or more major equipment groups. This work is usually scheduled well in advance (for example, boiler overhaul, turbine overhaul, line or substation equipment maintenance).

Out of Merit Capacity

Out of Merit Order capacity available to provide Ancillary Services when no Market Solution exists to provide such capacity.

Out of Merit Energy

Out of Merit Order energy available to provide Balancing Energy when no Market Solution exists to provide such energy.

Out of Merit Order

A condition or situation, created by the need to alleviate operational or security constraints, in which the next resource in the bid stack is not selected to provide a service, but rather another resource, still part of the same bid stack, is selected to provide the service. For a resource to be selected in this manner it must help alleviate the constraints.

P, [Back to Top]

Peak Demand

Refer to section 8.3 and 9.2.9..

Person

Any natural person, partnership, municipal corporation, cooperative corporation, corporation, association, governmental subdivision, or public or private organization of any character other than an Agency.

Portal

[Later]

Portfolio

Energy, or Ancillary Service bids, for a set of loads or resources contained within a single Congestion Zone.

Postage Stamp Allocation

Postage stamp allocation for Commercially Significant Constraint congestion costs. A method of distributing charges (or payments) essentially which spreads to parties based on a pro rata share (generally of actual or estimated consumption).

Power Generation Company

A company registered by the PUC, which generates electricity that is intended to be resold; does not own a transmission or distribution facility in this state other than an essential interconnecting facility, a facility not dedicated to public use, or a facility otherwise excluded from the definition of “electric utility”; and

does not have a certified service area, although its affiliated electric utility or transmission and distribution utility may have a certified service area.

Power Marketer

A person or entity [registered by the PUC] that:

- Becomes an owner of electric energy in this state for the purpose of buying and selling the electric energy at wholesale;

- Does not own generation, transmission, or distribution facilities in this state;

- Does not have a certificated service area; and

- Has been granted authority by the Federal Energy Regulatory Commission to sell electric energy at market-based rates or has registered as a power marketer.

Pre-Existing Contract

Any contract that is deemed to have existed prior to the formation of ERCOT and for which exceptions to provisions of these Protocols will be made.

Premise

A service delivery point or combination of service delivery points that are assigned a single Electric Service Identifier for purposes of settlement and registration.

Primary Meter

The settlement-approved, revenue-quality meter connected at an ERCOT-approved interconnection point.

Program Administrator (Administrator)

The entity approved by the commission that is responsible for carrying out the administrative responsibilities related to the Renewable Energy Credit Program as set forth in Texas Substantive Rule 25.173(g).

Proposal for Installation

A written proposal submitted by an ERCOT Metered Entity to ERCOT describing a proposal for the installation of additional Metering Facilities.

Provider of Last Resort

REP to which a Customer Premise is assigned in the case of a Customer Drop by their existing REP without a Customer Switch requesting a specific new REP, and as designated by Provider of Last Resort

The Provider of Last Resort shall offer a standard retail service package for each class of Customers designated by the Public Utility Commission of Texas at a fixed, nondiscountable rate approved by the PUC and shall provide the standard retail service package to any requesting Customer in the territory for which it is the Provider Of Last Resort. The Public Utility Commission of Texas shall designate Retail Electric Providers in areas of the state in which Customer Choice is in effect to serve as Providers of Last Resort.

Q, [Back to Top]

Qualified Scheduling Entity

A Market Participant that is qualified in accordance with Section 16, Registration and Certification of Market Participants, by ERCOT to submit Balanced Schedules and Ancillary Services bids and settle payments with ERCOT.

Qualifying Facility

A qualifying cogenerator or qualifying small power producer according to regulatory qualification criteria.

R, [Back to Top]

Reactive Power

The product of voltage and the out-of-phase component of alternating current. Reactive Power, usually measured in megavolt-amperes reactive, is produced by capacitors, overexcited generators and other capacitive devices and is absorbed by reactors, underexcited generators and other inductive devices.

Reactive Reserve

That reactive capability required to meet sudden loss of generation, load or transmission capacity and maintain voltage within desired limits.

Real Time

The time period following the close of the Adjustment Period during which ERCOT balances the system by deployment of energy from Balancing Energy service, Regulation Service, Responsive Reserve service, Non-Spinning Reserve Service, and Replacement Reserve service.

REC Aggregator

A category of REC Generator that facilitates participation in the REC trading program by accumulating the (REC) production of numerous small-scale renewable resources eligible to generate RECs, including Generation Offset Technologies, Off-grid installations and Small Producers, into a quantity greater than one REC per quarter. The Program Administrator shall consider a REC Aggregator eligible to produce RECs as a REC Generator on receipt of certification from the PUC.

REC Compliance Period (Compliance Period)

A calendar year beginning January 1 and ending December 31 of each year in which renewable energy credits are required of a Competitive Retailer.

REC Offset (offset)

An REC offset represents one MWh of renewable energy from an existing facility that may be used in place of an REC to meet a renewable energy requirement imposed under this section.  REC offsets may not be traded, shall be calculated as set forth in Texas Substantive Rule 25.173(i), and shall be applied as set forth in Texas Substantive Rule 25.173(h).

REC Program Settlement Period

The first calendar quarter following the end of a calendar year during which the settlement process for compliance year takes place.

REC Requirements

Annual number of RECs that must be submitted to the Program Administrator by a Competitive Retailer.

Received Energy

Energy flowing into the Grid.

Registered Market Participant

Entity that is registered with ERCOT to participate in the competitive market administered by ERCOT within the single control area of ERCOT. Entities include those using statewide systems administered by ERCOT and may be non-ERCOT participants.

Registration Agent

Entity authorized [by ERCOT?] to administer the Customer Registration Database.

Regulation Service

Regulation Service is used to control the power output of generating units in response to a change in system frequency so as to maintain the target system frequency within predetermined limits. Regulation Service is provided by generating units equipped and operating with Automatic Generation Control, which enables such units to respond to the direct digital control signals from an Energy Management System in an upward and downward direction to match Real Time demand and resources, consistent with established North American Electric Reliability Council and ERCOT operation criteria. Regulation Service must be provided by generating units with governors in service with capability to deploy the total amount of the awarded capacity within a 15-minute settlement period.

Regulation Service – Down

[later]

Regulation Service – Up

[later]

Reliability Must-Run Service

[later]

Renewable Energy Credit (REC or Credit)

An REC represents one megawatt hour (MWh) of renewable energy that is physically metered and verified in Texas and which meets other requirements set forth in Substantive Rule 25.173, Goal for Renewable Energy.

Renewable Energy Credit Account (REC Account)

An account maintained by the renewable energy credit trading program Administrator for a program participant through which a participant may hold, trade, and retire RECs.

Renewable Energy Credit Allocation

The number of Renewable Energy Credits required to be produced or purchased retired by a given Competitive Retailer during a single REC Compliance Period.

Renewable Energy Credit Program (Trading Program, Program)

Activities conducted or overseen by the PUC and Program Administrator, as applicable, which facilitate the application and certification (as needed) of participants to generate, trade, and submit RECs for compliance with requirements as set forth in Texas Substantive Rule 25.173, Goal for Renewable Energy, and which facilitate other requirements as set forth in Substantive Rule 25.173.

Renewable Energy Resource (Renewable Resource)

A resource that produces energy derived from renewable energy technologies.

Renewable Energy Technology

Any technology that exclusively relies on an energy source that is naturally regenerated over a short time and derived directly from the sun, indirectly from the sun, or from moving water or other natural movements and mechanisms of the environment. Renewable Energy Technologies include those that rely on energy derived directly from the sun, on wind, geothermal, hydroelectric, wave, or tidal energy, or on biomass or biomass-based waste products, including landfill gas. A Renewable Energy Technology does not rely on energy resources derived from fossil fuels, or waste products from inorganic sources.

Replacement Reserve Service

Replacement Reserve Service is provided by units, either off-line or on-line, uncommitted capacity, selected by ERCOT by bringing off-line generation capacity (or on-line capacity expected to be off-line during the periods in question) on-line. Each replacement reserve bid will include a specific amount of capacity that is being offered by the unit. There may not be more than one bid for Replacement Reserve Service from a given unit. Units selected for this service must be capable of being synchronized and ramped to a specified output level and maintained for a period specified at an ERCOT-specified time for an ERCOT-specified period.

Repowering

Modernizing or upgrading an existing facility in order to increase its capacity or efficiency.

Resettlement Data

Data that includes Initial and/or Final Settlement Data that has been corrected for approved disputes or other data errors.

Resettlement Process

The processing of resettlement data to generate financial transaction records for market services that reflect differences in initial or final settlement financial records due to corrections from approved disputes or other data errors. Records that reflect these differences are published to a Resettlement Statement for a given Operating Day.

Resettlement Statement

Statement produced using corrected initial or final settlement data due to approved disputes or other data errors.

Resource

A Market Participant capable of providing electrical energy or Ancillary Services into the ERCOT System.

Resource Plan

A plan provided by a QSE to ERCOT indicating the forecast state of

generation units or individual loads each acting as a resource including

information on availability, limits and forecast generation or load of each

resource.

Resource Transfers

[later]

Responsibility Transfer

The transfer of eligible resources from one QSE to another in accordance with Section 4.11.

Responsive Reserve Service

Responsive Reserve consists of the daily operating reserves that are intended to help restore the frequency of the interconnected transmission system within the first few minutes of an event that causes a significant deviation from the standard frequency. Responsive Reserves may be provided by unloaded generation facilities that are on line, interruptible loads controlled by high-set under-frequency relays, or from direct current tie response that stops frequency decay. Responsive Reserve is the sum of Responsive Spinning Reserve, Interruptible Responsive Reserve, and Hydro Responsive Reserve, which are defined as follows:

Responsive Spinning Reserve

That portion of Spinning Reserve resulting from normal generator governor action or from direct current tie response that stops frequency decay.

Interruptible Responsive Reserve

Interruptible Load controlled by high-set under-frequency relaying.

Hydro Responsive Reserve

Capability of a hydro unit operating in synchronous condenser fast response mode that has been demonstrated to be available within 10 seconds following a system frequency decay.

Retail Electric Provider

A person [not also a company?] that sells electric energy to retail Customers in this state. As provided in PURA §31.002(17), a Retail Electric Provider may not own or operate generation assets. As provided in PURA §39.353(b), a Retail Electric Provider is not an aggregator.

Although an electric cooperative and a municipally owned utility cannot be a Retail Electric Provider because they are not a “person” as defined in PURA Section 11.003 (14), Senate Bill 7(?) authorizes electric cooperatives and municipally owned utilities to perform the functions of a Retail Electric Provider.

References in these Protocols to Retail Electric Provider shall, unless noted otherwise, refer to an electric cooperative and a municipally owned utility, as well.

Revenue Quality Meter

For ERCOT Metered Entities means a meter that is in compliance with the Protocol and its Attachments. For TDSP (MDMA) Metered Entities it means a meter that is in compliance with Local Regulatory Authority approved meter standards or the protocol and its Attachments.

S, [Back to Top]

Sample Design

A set of processes used to determine the appropriate requirements for a sample of Customer Premises to be used for the purpose of creating a Load Profile.

Sample Size

The number of data points (i.e. Customer Premises) in a particular sample.

Sampling

The process of selecting a subset of a population of Customers that statistically represent the population. For load profiling purposes, the samples have an IDR installed.

Scheduling and Dispatch Service

The service provided by ERCOT encompassing all of ERCOT activities executed to coordinate the implementation of QSE Balanced Schedules and arrange for and dispatch all required Ancillary Services.

Season

Winter months are December, January, and February; Spring months are March, April, and May; Summer months are June, July, and August; Fall months are September, October, and November.

Segmentation

The process of dividing a population into a number of sub-sets, according to certain parameters, for the purpose of creating Load Profiles for sub-sets of the population.

Segmentation Parameter

The parameter chosen as the basis for Segmentation.

Self Arranged

Resources used for Ancillary Services designated by a QSE for use by the QSE or its designee, but not bid into ERCOT’s AS markets.

Service Address

The street address associated with a Customer Premise as recorded in the Customer Registration Database

Service Delivery Point

The specific point on the Utility’s electric system where electricity flows from the Utility to an end-use load. Service Delivery points may be metered or unmetered.

Service Filing

A filing by a QSE to ERCOT as part of the QSE’s certification process, as defined in Section 16, Registration and Certification of Market Participants.

Settlement Interval

The time period for which a Market Service is deployed and financially settled.

Settlement Meter

Generation and end-use consumption meters used for allocation of ERCOT charges and wholesale and retail settlements.

Settlement Period

The unique 15-minute operating period over which charges are settled.

Settlement Quality Meter Data

Data that has been edited, validated, and is appropriate for ERCOT Settlement Agent to use for Settlement and Billing purposes.

Shift Factor

The Shift Factor for a particular bus, on a particular transmission element, is the flow on the transmission element that results from a unit injection of power at that particular bus that is received at a fixed reference bus.

Site Specific Shift Factor

The actual Shift Factor for a particular bus.

Zonal Shift Factor

The average Shift Factor for all buses in a particular zone.

Short Supply Situation

[later]

Sign/Direction Terminology Conventions for Reactive Power

Generator

Lagging power factor operating condition is when volt-ampere reactive (VAR) flow is out of the generating unit (overexcited generator) and into the transmission system and is considered to be positive (+) flow, i.e., in the same direction as megawatt power flow. The generator is producing megavolt-amperes reactive.

Leading power factor operating condition is when VAR flow is into the generating unit (underexcited generator) and out of the transmission system and is considered to be negative (–) flow, i.e., in the opposite direction as megawatt power flow. The generator is absorbing megavolt-amperes reactive.

Transmission Line Terminal

VAR flow out of the bus and into the line is considered to be positive (+) flow. VAR flow into the bus and out of the line is considered to be negative (–) flow.

Capacitor

Produces reactive power (VAR source) for voltage control and causes the system power factor to move towards a leading condition.

Reactor

Absorbs reactive power (VAR sink) for voltage control and causes the system power factor to move towards a lagging condition.

Small Producer

A renewable resource that is less than two megawatts (2 MW) in size.

Southwest Power Pool

[later]

Spinning Reserve

Net generation capability on line that is not loaded but could be loaded or capability of a direct current tie that can be utilized within 10 minutes.

Steady State Task Force Data Sets

[later]

Statement Recipient

This Statement Recipient definition is still under discussion

Market Participants, including Qualified Scheduling Entities and Power Generation Companies, that receive a summary of settlement activity for a given Operating Day.

Subzone

A transmission-constrained area within ERCOT formed by a non-CSC constrained path.

System

An interconnected combination of generation, transmission, and distribution components

System Emergency

A system condition immediately following an Emergency Notice

System Insufficiency

A system condition perceived by ERCOT to be deficient in production, delivery of, or consumption of electrical energy.

System Operator

An individual at a power system control center whose responsibility it is to monitor and control that power system in Real Time. The ERCOT System Operator is ERCOT.

T, [Back to Top]

TCR Interface

The CSC for which TCRs are auctioned and awarded.

TDSP (MDMA) Metered Entity

A generator not connected to the Grid, an Eligible Customer, or an end-user that is not an ERCOT Metered Entity.

Telemetry

Term isn’t used as caps. Delete?

Equipment for measuring a quantity (e.g., amperes, volts, megawatts, megavolt-ampere reactive, megavolt-amperes) and transmitting the result to a remote location for indication or recording.

Texas SET

Texas Standard Electronic Transaction Protocol, used to transmit information pertaining the Customer Registration Database. Definitions and data dictionary are provided in Attachment.

Total Energy Obligation

The total energy obligation for a 15-minute period that includes the energy from the Balanced Schedule and integrated energy of instructed Ancillary Services for a Qualified Scheduling Entity.

Total Transmission Capacity

Add in based on FERC 889 Definition

Transmission Access Service

The service provided by a TDSP for use of the TDSP’s transmission and for which the TDSP is allowed to charge for the use through tariff rates approved by the PUC.

Transmission Billing Determinants

Key parameters and formula components required by a TDSP in determining the billing charges for the use of its transmission and/or distribution facilities.

Transmission Congestion Right

A financial hedge against the cost of 1 MW flowing across a particular Commercially Significant Constraint, in a single direction, for 1 hour. The total amount of Transmission Congestion Rights sold on each Commercially Significant Constraint in any one hour will be equal to the rating in the Commercial Model of the Commercially Significant Constraint as determined by ERCOT. A Transmission Congestion Right is not required to schedule and no proper schedule is refused. Therefore all schedules have equal priority with or without Transmission Congestion Rights. Having or not having a Transmission Congestion Right has financial impacts only. There is no scheduling priority associated with having a Transmission Congestion Right. Transmission Congestion Rights will not be issued for the direct current ties. Schedules over the DC ties will be governed by Federal Energy Regulatory Commission/North American Electric Reliability Council interchange scheduling rules and the Federal Energy Regulatory Commission tariffs of the respective owners of the DC ties on file with the FERC.

Transmission and/or Distribution Service Provider (TDSP)

An entity under the jurisdiction of the PUC that owns and maintains a transmission or distribution system for the delivery of energy to and from the Grid, including a Municipal or Co-op.

Alternate definition provided:

A person or river authority that owns or operates for compensation in this state equipment or facilities to transmit and/or distribute electricity, and whose primary compensation for such service is defined by tariffs approved by a governmental agency within the ERCOT Region.

Transmission Facilities

The following facilities are deemed to be transmission facilities:

- Power lines, substation, and associated facilities, operated at 60 kV or above, including radial lines operated at or above 60 kV.

- Substation facilities on the high side of the transformer, in a substation where power is transformed from a voltage higher than 60 kV to a voltage lower than 60 kV or is transformed from a voltage lower than 60 kV to a voltage higher than 60 kV.

The direct current interconnections with the Southwest Power Pool (SPP), Western System Coordinating Council (WSCC), CFE, or other interconnections. Transmission Loss Factors

Factors to be incorporated by a QSE in identifying the additional obligation due to losses when scheduling a load responsibility.

Transmission Losses

Total electric energy consumed as a result of I2R heating of the conductors that meet the definition of Transmission Facilities excluding the inverters and converters associated with the direct current ties.

Transmission Owner

An owner of transmission systems or equipment as defined by ____ [insert FERC reference? Or One who has executed a Transmission Owner Agreement with ERCOT, or…?].

Transmission Service

Commercial use of Transmission Facilities.

Transmission Service Customer

A TDSP customer who uses only the Transmission Facility of the TDSP.

Transmission System

The Transmission Facilities at or above 60 kV owned, controlled, operated or supported by a transmission provider or transmission customer that are used to provide Transmission Service.

What’s the difference between this and the ERCOT Transmission Grid, and the ERCOT System, and the Grid?

True-up Settlement Process

The processing of resettlement data to generate financial transaction records for market services that reflect differences in initial, final or resettlement financial records due to correction from approved disputes or other data errors. Records that reflect these differences are published to a true-up statement for a given Operating Day.

True-Up Statement

Statement produced at the end of the settlement time period when dollar amounts vary from the final statement or most recent resettlement statement.

Two-Day Ahead

See Day Ahead

U, [Back to Top]

Unaccounted for Energy

The difference between total retail load each Settlement Period, adjusted for distribution and transmission line losses, and total system load (generation), adjusted for system-wide transmission losses.

Unbundling

The separation of certain functions from basic Transmission Service. The unbundled functions are termed services (Ancillary, IOS, etc.) and are paid for separately from basic Transmission Service.

Uninstructed Deviation

The difference between the total schedule and the actual energy output of a Qualified Scheduling Entity. Events that might cause Uninstructed Deviation include unit trips, unit runbacks, unilaterally increasing or decreasing resource output, and nonperformance of Ancillary Services.

Unit Specific Generation Shift Factor

Pertaining to each generation unit, the Shift Factor associated with a specific Commercially Significant Constraint path.

Term never used. Delete?

Unmetered Device

[later]

Unreliable Condition

ERCOT is considered to be in an Unreliable Condition whenever Grid status is such that the most severe single-contingency event presents the threat of causing uncontrolled separation or cascading outages and/or large scale service disruption to load (other than load being served from single feed Transmission Service) and/or overload of a critical transmission element, and no timely solution is obtainable from the market.

Updated Day-Ahead Schedule

QSE’s Balanced Schedules updated from initial schedule submission, given consideration of Commercially Significant Constraint congestion as posted by ERCOT during the Day-Ahead scheduling process.

Uplift

The process of spreading costs due to one or a few Market Participants over all load customers within the ERCOT Region or the ERCOT System.

Usage Profile

See Load Profile.

V, [Back to Top]

Voltage Support Service

Voltage Support Service is required to maintain transmission and distribution voltages on the Grid within acceptable limits. It is expected that Voltage Support Service may only be provided from generating units, pursuant to mandated quality levels specified in the ERCOT Operating Guides.

W, [Back to Top]

Western System Coordinating Council

Wheeling Out

Electric energy transaction with a point of receipt within the ERCOT system and a point of delivery outside of the ERCOT system.

Wheeling Through

Electric energy transaction with a both point of receipt and a point of delivery outside of the ERCOT system, but on a contract path that uses Transmission Facilities that are part of the ERCOT system.

Working Day

Used in outage coordination section.

X, [Back to Top]

Y, [Back to Top]

Z, [Back to Top]

Zonal Metering

Metering required by ERCOT to manage and monitor the Grid and associated markets within a particular zone.

Zonal Method

[later]

## Acronyms

ACE	Area Control Error

ADR	Alternative Dispute Resolution

ADU	Adjusted Daily Usage

AEIC	Association of Edison Illuminating Companies

AGC	Automatic Generation Control

AP	Adjustment Period

AS	Ancillary Service

ASX	Ancillary Service Exchange

ATC	Available Transmission Capability

CCC	Congestion Clearing Costs

CFC	Constant Frequency Control

CFE

COP	Current Operating Plan

CRA	Contingency Reserve Adjustment

CRSP	Current Resource Specific Percentage

CSC	Commercially Significant Constraint

CT	Current Transformer

DA	Day Ahead

DAS	Data Aggregation System

DC	Direct current

DCA	Disturbance Control Assistance

DOE	Department of Energy

DSG	Dynamically Scheduled Generation

DSL	Dynamically Scheduled Load

EECP	Emergency Electric Curtailment Plan

EMS	Energy Management System

EP	Energy Provider

EPS	ERCOT Polled Settlement Meter

EPRI	Electric Power Research Institute

ERCOT	Electric Reliability Council of Texas

ESC	Engineering Subcommittee

ESI	Electric Service Identifier

ETIN	Electronic Transmission Information Network

EWG	Exempt Wholesale Generators

FERC	Federal Energy Regulatory Commission

FPC	Federal Power Commission

FTC	Federal Trade Commission

FTP	File Transfer Protocol

FTR	Firm Transmission Rights

GR	Generation Resources

GSE	Generation Supply Error

HVDC	High Voltage Direct Current

IDR	Interval Data Recorder

IOU	Investor Owned Utilities

IPP	Independent Power Producers

LPA	Load Profiling Agent

MAD	Mean Absolute Deviation

MAPE	Mean Absolute Percentage Error

MCP	Market Clearing Price

MCPC	Market Clearing Price for Capacity

MCPE	Market Clearing Price for Energy

NBS	National Bureau of Standards

MDMA	Meter Data Management Agent

MSP	Metering Service Provider

NERC	North American Electric Reliability Council

NSRS	Non-Spinning Reserve Service

OASIS	Open Access Same-Time Information System

OCN	Operating Condition Notice

OOM	Out of Merit Order

OOME	Out of Merit Energy

OOMC	Out of Merit Capacity

OTC	Operating Transmission Capacity

PEC	Pre-Existing Contracts

PGA	Participating Generator Agreement

PGC	Power Generation Company

PM	Power Marketer

PUC	Public Utility Commission of Texas

PURPA	Public Utility Regulatory Policy Act

QSE	Qualified Scheduling Entity

RCAG	Remote Control Area Generator

RCAL	Remote Control Area Load

RDT	Rapid Decision Team

REC	Renewable Energy Credit

REP	Retail Electric Provider

RGS	Regulation Service

RMR	Reliability Must-Run

RPRS	Replacement Reserve Service

RRO	Responsive Reserve Obligation

RRS	Responsive Reserve Service

RSG	Reserve Sharing Group

RspT	Responsibility Transfer

RSS	Reliability and Security Subcommittee

RT	Real Time

RTR	Raise the Remaining

SCADA	Supervisory Control And Data Acquisition

SIS	Security Information System

SPS	Special Protection System

SSG	Static Scheduled Generation

SSL	Static Scheduled Load

SPP	Southwest Power Pool

TAC	Technical Advisory Committee

TCOS	Transmission Cost of Service

TCR	Transmission Congestion Right

T&D Losses	Transmission Losses & Distribution Losses

TDSP	Transmission and/or Distribution Service Provider

TDU	Transmission Distribution Utility

TMOS	Transmission Market Operations Subcommittee

TO	Transmission Owner

TRM	Transmission Reliability Margin

TTC	Total Transfer Capability

UFE	Unaccounted For Energy

TSP	Transmission Service Provider

Va.m.M	Vector Absolute Megawatt-Mile

Va.m.O	Vector Absolute Megawatt Ohm

VEE	Validation, Editing and Estimation of meter data

VSS	Voltage Support Service

VT	Voltage Transformer

WSCC	Western System Coordinating Council

Section 25.5 of the PUC Rules.