## UFE Allocation
Company Name:
Contact Person:
Section 1 - Objectives/Instructions
| 1 | To determine the appropriate UFE Reduction Factors to be used at market opening for
each major customer class (IDR, Transmission Level, Profiled, and Non-opt in entities).
| 2 | To understand the impact of UFE on particular customer type based on their load share.
| 3 | After trying multiple scenarios, communicate your company's position on the appropriate
reduction factors (using the input cells) for SWG review and subsequent approval by the RUG.
| 4 | Complete Section 2 as to whether your company agrees/disagrees with the principles of UFE
allocation.
| 5 | Return your comments to Vikki Gates by July 11th (vikki.gates@scgo.com, 415.225.1104)
| 6 | A summary of the recommendations will be presented at the SWG on July 14, 2000.
| Section 2 - Principles |  |  |  | Position A=Agree D = Disagree R = Ratified by RUG
| 1 | Interval transmission losses are calculated after the fact, for final settlment purposes, and
are deemed 100% accurate.
| 2 | Transmission level customers are allocated less UFE, but will have some UFE. |  |  | R - 5/31/00
| 3 | Interval metered distribution level customers would have a lesser contribution to UFE than |  |  | R - 5/31/00
profiled distribution level customers
| 4a | Opt-out entities are allocate no (0%) UFE
| 4b | Opt-out municipals, Cooperative Electric Companies and other customers that are metered at |  |  | R - 5/31/00
transmission level would not be expected to be responsible for estimated UFE attributable
to profile error or distribution loss error or any other non-tranmission factor
| 5 | Transmission Premises participating in the competitive market are Interval Metered
| 6 | Profiled distribution level customers will have additional UFE that is attributable to distribution
and transmission losess.
| 7 | UFE will be allocate on each REP load share ratio by load class to a QSE
Section 3 - Supporting Formulas
At the 7/29 Settlment Working Group meeting, the following formula for UFE allocation was presented by
Madjid Zehani. After some ammendments, the formula was agreed by the attendants as the appropriate
method to allocate UFE. A copy of the attendance list is included in Section 5.
For each premise category, and for each settlement interval, the UFE load ratio share
per Retail Electric Provider is defined as follows:
| 1a | UPR = | UFE X | (LPR ) / (LUFE)
| 1b | UIDR | UFE X | ( fIDR X LIDR) / (LUFE)
| 1c | UTR | UFE X | ( fTR X LTR) / (LUFE)
| 1d | UOP | UFE X | ( fOP X LOP) / (LUFE)
| 2 | UFE | UPR + UIDR + UTR + UOP
| 3 | LUFE | LPR + fIDR X LIDR + fTR X LTR + fOP X LOP
| 4 | UFEREP = | [ UPRX(LPR,R/LPR) + UIDRX(LIDR,R/LPR) + UTRX(LTR,R/LPR)]
| 5 | The UFE settlement charges will be calculated on per REP basis,
and aggregated to their corresponding QSE entities.
|  | UFE_QSE_Charge = |  | å UFEREP,I X $MCPE
Section 4 - Example & Variable Definitions
|  | Value | Variable Name | Description
|  | 1000 | QUFE | Total system or zonal UFE
Company Recommendation
|  | 0.55 | FIDR | IDR Reduction Factor
|  | 0.15 | FTR | Transmission Level Reduction Factor
|  | 1 | FPR | Profiled Customer Reduction Factor
|  | 0.01 | FOP | Non-opt in Reduction Factor
|  | 3500 | LIDR | Aggregated load of IDR premises
|  | 1200 | LTR | Aggregated load of Transmission premises
|  | 4000 | LPR | Aggregated Load of Profiled premises
|  | 2000 | LOP | Aggregated load of Opt-out premises
|  | 10700 | TSL | Total system Load (sum of above)
|  | 9.346% | PUFE | System Wide UFE percentage
|  | 6125 | LUFE | Adjusted UFE Load Reference
UFE Quantity
|  | 314.2857 | UIDR | UFE Share of IDR premises
|  | 29.3878 | UTR | UFE Share of Transmission Premises
|  | 653.0612 | UPR | UFE Share of Profiled premises
|  | 3.2653 | UOP | UFE Share of Non Opt-Out Entities
|  | 1000 |  | This number should equal QUFE
% of UFE
|  | 31.43% | UPIDR | UFE Percent Share of IDR premises
|  | 2.939% | UPIDR | UFE Percent Share of Transmission
|  | 65.31% | UPIDR | UFE Percent Share of Profiled premises
|  | 0.3265% | UPIDR | UFE Percent Share of Non Opt-Out Entities
|  | 100% |  | This number should equal 100%
Section 5 - Settlement Working Group Attendants at 7/29/00
|  | Judy Briscoa |  | Cheryl Moseley
|  | Ray Wenzel |  | Bill Starnes
|  | Jim Galvin |  | Madjid Zehani
|  | Jim Krajecki |  | Cherie Broadrick
|  | Jill Traffanstedt |  | Barb Penkala
|  | Les Galloway |  | Vikki Gates
|  | Eddie Johnson |  | Ken Monts
Kenneth Ragsdale
Legend
Input Value (changeable factors)
Formulas Result (do not modify)
Company Position Required

## Interactive_UFE_CHART
| Profiled | IDR | Transmission | Opt-outs | Totals | Profiled | IDR | Transmission | Opt-outs | Total UFE
F Factor | 1 | 0.5 | 0.1 | 0 |  | 1 | 0.5 | 0.1 | 0 | 12000
mWh Load | 23000 | 11000 | 13250 | 1380 | 48630 | 23000 | 11000 | 13250 | 1380
UFE mWh Share | 9253.9816 | 2212.9086 | 533.1098 | 0 | 12000 | 20 | 10 | 2 | 0 | 24
UFE % Share | 77.12% | 18.44% | 4.443% | 0% | 100% | Fpr | Fidr | Ftr | Fop
Use only buttons to decide on F factors, adjust UFE, or loads | [5 empty] | 460 | 220 | 265 | 276
[6 empty] | Lpr | Lidr | Ltr | Lop