Section 1:

PRR 515 –	Disclosure of Local Congestion

Provides for the disclosure of information on each unit receiving an OOMC deployment or an OOME Dispatch Instruction, the intervals for which the deployment or instruction was received, and the amount of OOMC and OOME service provided by interval for each unit receiving such instruction by ERCOT as soon as possible, as well as, the transmission studies performed by ERCOT Staff that lead to OOMC, OOME, or RMR deployments; also provides for disclosure of the contingency and/or overloaded element(s) causing the Local Congestion (OOMC, OOME, and RMR) deployments as soon as possible.

Revised subsections: 1.3.1.1, 1.3.1.2 [text placed in gray box pending system implementation]

Section 2:

PRR 479 –	IDR Optional Removal Threshold

Allows the removal of an IDR meter for settlement under certain conditions when load drops below a minimum threshold; exempts from use for retail Customer settlement purposes IDRs installed by NOIES only for load aggregation purposes and allows the NOIE to remove IDRs used for NOIE load aggregation within one hundred and twenty (120) days after the NOIE fully implements Customer Choice.

Revised subsections:  2.1

Section 4:

PRR 501 –	A/S Revision to Down Balancing Requirement

Revises the Down Balancing Requirement to account for Regulation Down obligations.

Revised subsections: 4.5.2

Section 6:

PRR 501 –	A/S Revision to Down Balancing Requirement

See Section 4 above.

Revised subsections:  6.5.2

PRR 515 –	Disclosure of Local Congestion

See Section 1 above.

Revised subsections: 6.5.10 [some text placed in gray box pending system implementation], 6.7.8 [some text placed in gray box pending system implementation]

Section 11:

PRR 514 –	Twelve Month Window for Non-IDR Scaling

Changes the window used in data aggregation for estimating non-IDR meter reads when data for an Operating Day is not present in ERCOT systems.

Revised subsections:  11.3.2 [text placed in gray box pending system implementation]

Section 15:

PIP 188 -		Changes system processing timelines

Revised subsections: 15.1, 15.3 [removing text from gray box]

PRR 312 –	Enhance ESI ID Look-Up Function

Provides additional information for an ESI ID to include Premise Type, status (active/de-energized/inactive) for an ESI ID.

Revised subsection:  15.2 [removing some text from gray box]

PRR 444 –	Move In Move Out (MIMO) Stacking

Provides Market Participant solution for handling multiple non-sequential transactions on a single ESI ID.

Revised subsection: 15.1 [removing text from gray boxes]

PRR 519 –	ERCOT and TDSP Acceptance of Customer Cancellation of Switch Request

Clarifies that EROCT and the TDSP will accept cancellations (814_08s) until five (5) Business Days preceding the effectuating meter read date.

Revised subsection: 15.1 [removing text from gray box]

Section 18:

PRR 479 -		IDR Optional Removal Threshold

See Section 2 above.

Revised subsections:  18.6.1, 18.6.2, 18.6.3, 18.6.5, 18.6.6, 18.6.7 [text placed in gray box pending system implementation]