| OGRR Number | 151OGRR | OGRR Title | Operator Emergency Training |
| --- | --- | --- | --- |
| ###### Date |  | July 29, 2004 |  |
| ## Submitter’s Information |  |  |  |
| Name |  | Jack Thormahlen |  |
| E-mail Address |  | jack.thormahlen@lcra.org |  |
| Company |  | LCRA |  |
| Company Address |  | P.O. Box 220, Austin, Texas 78767-0220 |  |
| Phone Number |  | 512-473-3200 ext 2635 |  |
| Fax Number |  | 512-469-6856 |  |

Comments

The LCRA QSE submits these comments and language changes.

The LCRA QSE supports ERCOT’s desire to require QSEs to receive certain emergency training in conjunction with the NERC Recommendation # 6.  To generalize that all training for TDSPs, their TOs and QSEs are relevant to an emergency is not quite correct.  QSEs can not see the transmission system.  QSEs, relative to transmission system emergencies, are dispatched by ERCOT to resolve a constraint or emergency.  QSEs have the responsibility to follow those instructions to the best of their ability.

QSEs, within their qualifications criteria, have a specific function.  To that end, any emergency training that ERCOT required of the QSE should be relevant to the QSE function for normal and emergency operations.  Allowing the QSE who have physical responsibilities of generation and LaaR dispatch to train their personnel for their particular function is appropriate.  The attached language and NERC recommended operator training topics will allow proper QSE training.

The changes in language include those submitted by James Hinson.

Revised Proposed Operating Guide Language

## 1.8	Operational Training

### 1.8.1	Operator Training Objectives

A primary objective of each Operating Entity within the ERCOT System shall be to train Operators such that they will be educated, motivated, and possess the necessary skills to be able to direct the operation of the power system in accordance with the Protocols, these Operating Guides, ERCOT Control Area Operator Procedures as well as individual entity operating goals, plans and procedures.

These training objectives are:

  - Maintain the safety of personnel, even during emergency situations involving complex switching and manipulation of control elements.

  - Protect system components, particularly major power system elements from serious life degradation or harm.

  - Operate the system in a secure manner to minimize violations of operating limits, avoiding customer outages where reasonably possible, and avoiding unstable situations that might result in widespread outages or blackouts.

  - Operate the system as economically as possible within continually changing operating constraints.

  - Restore the system to its normal operating state as rapidly as practical after a disturbance.

1.8.2	Operator Training Requirements and Topics

      - Requirements

The System Operator Training Program applies to all Control Area Authority, Transmission Operators and QSE Operators who have physical responsibilities of generation and LaaR dispatch, who are responsible for the Real-Time operation or reliability monitoring of the bulk electric system.  At least five (5) days (40 hours) per year of training and drills in system emergencies using realistic simulations must be included in the training program.  System Operator and QSE Training documentation, including curriculum, training methods, and individual training records, shall be available for verification during reliability readiness audits.

      - Topics

- Participation in Severe Weather Drills, ERCOT Black Start Training,

- Up to 16 hours of real time operations at their respective TO or QSE backup control centers,

- Reliability-related portions of the ERCOT Operations Training Seminar and

- Any other topics including but not limited to those listed in the NERC letter dated March 2, 2004 to the NERC Operating Committee can be used to satisfy this requirement.

1. Recognition and Response to System Emergencies

a. Emergency drills and responses

b. Communication tools, protocols, coordination

c. Operating from backup control centers

d. System operations during unstudied situations

e. System Protection

f. Geomagnetic disturbances weather impacts on system operations

g. System Monitoring – voltage, equipment loading

h. Real-time contingency analysis

i. Offline system analysis tools

j. Monitoring backup plans

k. Sabotage, physical, and cyber threats and responses

2. Operating Policies Related to Emergency Operations

a. NERC policies, appendices, standards that deal with emergency operations (e.g. Policy 5, “Emergency Operations”)

b. Regional reliability operating policies

c. Sub-regional policies and procedures

d. ISO/RTO policies and procedures

3. Power System Restoration Philosophy and Practices

a. Blackstart

b. Interconnection of islands – building islands

c. Load shedding – automatic (underfrequency and undervoltage) and manual

d. Load restoration philosophies

4. Interconnected Power System Operations

a. Operations coordination

b. Special protections systems

c. Special operating guides

d. Voltage and reactive control, including responding to eminent voltage collapse

e. Understanding the concepts of Interconnection Reliability Operating Limits versus System Operating Limits

f. DC tie operations and procedures during system emergencies

g. Thermal and dynamic limits

h. Unscheduled flow mitigation − congestion management

i. Local and regional line loading procedures

j. Radial load and generation operations and procedures

k. Tie line operations

l. E-tagging and Interchange Scheduling

m. Generating unit operating characteristics and limits, especially regarding reactive capabilities and the relationship between real and reactive output

5. Technologies and Tools

a. Forecasting tools

b. Power system study tools

c. IDC

6. Market Operations as They Relate to Emergency Operations

a. Market rules

b. LMP

c. Transmission rights

d. OASIS

e. Tariffs

f. Fuel management

g. Real-time, hour-ahead and day-ahead tools

The ERCOT compliance template for System Operator Training Program is available on the ERCOT website.

### 1.8.3	ERCOT Operations Training Seminar

ERCOT will host a training seminar that, as a minimum, will be held annually.  The purpose of the training seminar is to provide a forum for system wide problems to be effectively addressed and to maintain an operator training consistency across all ERCOT System Operating Entities.

The seminar provides a forum for all ERCOT System Entity Operators and ERCOT System Operators, to meet and analyze common topics and issues as well as participate in formal training sessions.

### 1.8.4	ERCOT Black Start Training

ERCOT shall periodically conduct system restoration seminars for all Transmission and Distribution Service Providers, Qualified Scheduling Entities, Generation Entities and other Market Participants, in accordance with Section 6.5.8 of the Protocols.

### 1.8.5	Criteria For The Selection Of Operators

To be selected as Operators, candidates should be capable of directing other personnel in their own organization and, at the same time, work harmoniously with the ERCOT System Operators and other Entities’ Operators.  In addition, they must have a high intellectual ability, above average reasoning, mathematical ability, well-developed communication skills and reasonable mechanical aptitude.  To ensure compliance with these criteria, a screening and selection procedure must be considered for prospective Operators.  This procedure should include the following:

- Evaluation against a detailed job description.

- Analysis of the candidate's past work record to determine character, reputation, and previous experience.

- In-depth interview with each candidate.

- Evaluation of intelligence, logic, mathematical, and communication skills along with psychological fitness.

### 1.8.6	Training Practices

Each Operating Entity should establish a clear requirement, define and develop a systematic approach in administering the training, and provide the necessary feedback as a measurement of curriculum suitability and trainee progress.  Each Operating Entity should recognize the importance of training and provide sufficient Operator participation through adequate staffing and work-hour scheduling.