| PRR Number | 483PRR | PRR Title | Interruptible LaaR Response to Instructions |
| --- | --- | --- | --- |
| ###### Impact Analysis Date |  | 04/12/04 |  |
| ###### Cost/Budgetary Impact |  | This PRR is a clarification of the Protocols to reflect current practice. There is no cost associated with continuing this methodology. |  |
| ###### Estimated Project Time Requirements |  | The use of telemetered data, as is currently being used, is clarified by this PRR. No new project would be associated with this PRR. |  |
| ###### ERCOT Staffing Impacts (across all areas) |  | None. Staff would continue to use existing practice as a result of this clarification. |  |
| ###### ERCOT Computer System Impacts |  | None. |  |
| ###### ERCOT Business Function Impacts |  | None. |  |
| ###### Operating Practice Impacts |  | None. This PRR is a clarification of the existing operating practice. |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

N/A

Evaluation of Interim Solutions (e.g., manual workarounds)

N/A

Comments

The continued use of LaaR response to instructions telemetered from the QSE provides a more precise reliability measurement than the existing Protocols requirement of a calculation by ERCOT, based on information provided in the Resource Plan.