Competitive Metering Guide Changes Noted in December 2 – 3, 2003 Meetings

- Site communication readiness – need to note that the meter number and/or IP address is required.  [These boxes were removed from the TMA Form]  This impacts CMG Section 7.1(4)(a)(ii).

- Remove Agreement “Data Access” reference since this section no longer exists in the Agreement.  Consistency with Agreement is required throughout the CMG.

Completed as part of the Agreement changes performed to the CMG during the January 7th and 8th meting

- Need to clarify whether removal of a competitive meter requires the use of the MTR Form.  Does customer have to send the form to the TDSP requesting removal and does the TDSP have to notify the customer/owner that removal has been completed through the use of the MTR?  This impacts CMG Section 9.4

- Add note that a Meter Functionality Checklist Sheet will be included with the Meter Approval Form and Meter Functionality/Firmware Upgrade Approval Form.  May impact CMG Section 13 and Section 14.

- Consider changing the Meter Approval Application Form; Meter Firmware/Functionality Upgrade Approval Form; and the Meter Issue Resolution Form to include the word “Competitive” before Meter.  Make title changes throughout CMG and check the CMG for consistency on all form names.

- Need to create a process for removal of obsolete meters and include in the CMG.  May also require the creation of a new form or modification of the MTR form.

- Need to review section 12.4 for the inclusion on line loss compensation.