METER EVENT CODES and MV-90

1-28-2004

- Does the meter record/log all the events listed in the Settlement Metering Operating Guide (SMOG)?

  - If not, can the Meter Manufacturer incorporate the events in the meter functionality?

- Does the meter report all events listed in the SMOG when interrogated by MV-90 (though the TIM module)?

  - If not, can the Meter Manufacturer work with ITRON to incorporate the events in the TIM module?

- Does the meter record and/or report an event in a different manner, or use different verbiage, than what is in the SMOG or ITRON’s TIM documentation?

  - If so, what event or verbiage applies to the required event?