February 18, 2004 OWG Meeting Minutes

Attendance:

David Darnell		CPS / Chair OGRTF			TO	210-353-2208

James Hinson		ERCOT						512-248-3997

Paul Barham		CPS					QSE	210-353-3892

Rick Keetch		Reliant Energy / Chair OWG & ROS	QSE	713-497-2526

Ed Self			Calpine					QSE	713-830-8804

Sydney Niemeyer		TxGenco				QSE	713-207-5051

John Adams		ERCOT						512-694-3364

Jack Thormahlen 		LCRA / Vice Chair OWG			QSE	512-473-3200

Henry Zamora		AEN					QSE	512-322-6167

Wayne Kemper		CenterPoint Energy 			TO	713-207-2192

Robert Potts		ERCOT						512-225-7022

Robert Avila		BPUB					TDSP	956-983-6319

Ron Wheeler		Dynegy					QSE	713-767-0554

Wayne Bolton		BEPC					QSE	254-750-6270

Tip Tipton		BEPC					TO	254-750-6267

Jason Sweeney		Tractebel				QSE	713-636-1477

Frank Owens		Garland	/ Chair Black Start TF		TO	972-205-3003

Tom Peterson		TXUPM					QSE	214-875-9299

Stan Morris		TNMP					TO	281-337-6589

Jeff Gilbertson		ERCOT						512-225-7043

Steven Knapp		Constellation				QSE	410-468-3606

Ross Owen		ONCOR					TO	214-743-6854

John Koch		CPS					TO	210-353-3353

John Jonte		CNP / Chair Communications TF		TO	713-207-2252

### NOTE: Action Items Shown in Bold

- Keetch reviewed the Anti-Trust admonition.

- Keetch reviewed the January 14, 2004 draft meeting minutes and no changes were made. Action items were reviewed and all have been completed.

- Keetch announced that Frank Owens will be the 2004 Chairman of the Black Start TF rather than Jack Thormahlen as had been reported at the January OWG meeting.

- ROS / TAC report—Keetch.

- No action items for the OWG from ROS.

- ROS approved OGRR142 (DOE/NERC Reporting) and OGRR141 (section 2 clarifications). These are awaiting PRS review.

- The ERCOT Board approved PRR425 (Resource Outage Scheduling).

- ROS ad hoc group has been working on reactive testing procedures. A draft proposal is out for review. Protocol and/or Operating Guide revisions may be required. Keetch will distribute the proposal to the OWG.

- There was discussion at the ROS meeting that some generators’ governors may not be on automatic control. ERCOT Compliance was requested to draft a letter outlining resource governor response requirements.

- OGRTF Report—David Darnell

- The OGRTF recommends OGRR143 (Change Control Process) as amended by ERCOT comments for OWG approval. Darnell reviewed this ERCOT sponsored OGRR as well as changes recommended by ERCOT. OWG agreed to forward to ROS with an approval recommendation.

- The OGRTF recommends OGRR144 (Generation UF Trip Coordination) for OWG approval. OWG agreed to forward to ROS with an approval recommendation.

- The OGRTF recommends OGRR145 (Reactive Requirements) for OWG approval. OWG agreed to forward to ROS with an approval recommendation.

- The OGRTF recommends OGRR146 (LaaR Testing Procedures) for OWG approval. Approved by OWG with stipulation that it not be sent to ROS until PRR490 is approved.

- OGRR147 (System Fuel Availability), needed as a result of PRR470, is still in the comment period.

- Draft OGRR purging PARWG will be posted soon.

- SPWG and DWG continue to work on a draft OGRR on relay requirements for firm load shedding.

- Report on proposed PRRs that could affect ERCOT operations—John Adams

- PRR486 proposes a Fuel Oil Service similar to Black Start Service.

- PRR487 proposes adding Black Start resources external to ERCOT. This OGRR also requires simulation or actual starting of Black Start Resources.

- PRR490 proposes to change LaaR testing from seasonal to biennial.

- PRR491 deals with the redesign of the ERCOT market.

- PRR492 proposes requirement on ERCOT to alleviate / lower congestion charges within 100 days of a trigger level of congestion.

- Chief System Operations Report—Hinson

- ERCOT has updated procedures dealing with emergency operations to add fuel curtailments as required by PRR470. OWG discussed need to let the market know when the fuel curtailments emergency has ended or is expected to end.

- Hinson discussed concern that the Responsive Reserve (RR) calculation used for monitoring reliability does not take into account either unit specific or zonal congestion constraints. Hinson has asked the ERCOT IT department to provide a RR calculation that takes into account unit specific constraints. This RR calculation is expected to be available by November 2004. Hinson is seeking OWG support for this concept. Adams believes the use of Simultaneous Feasibility Test function would help prevent frequency decline caused by deploying RR to constrained units. The OWG supports the conceptual use of a constrained Responsive Reserve calculation  (RR adjusted to take into account constraints) in determining the need to declare emergency operations. Keetch will include this recommendation in the March OWG report to the ROS.

- Ron Wheeler discussed problem with ERCOT recognizing QSE portal unavailability. Hinson will investigate and report back to the OWG.

- Compliance Report—Robert Potts

- Potts reviewed the compliance report dated February 6, 2004 that was sent with the OWG meeting agenda.

- The next UFLS survey is scheduled for 11:00 on April 20, 2004.

- ERCOT Operations Report--Adams

- Adams reviewed the January 2004 ERCOT Operation Report, which was supplied via email by Adams.

- Keetch asked Adams to investigate updating the firm load shed table in the Operating Guides to reflect this past summer’s 4CP peak data.

- Communications TF Report—Jonte.

- ERCOT has agreed to hold separate System Security Response Group conference calls for QSEs and TDSPs so that the number of participants does not exceed the ERCOT conference bridge limit.

- ERCOT will revise the ERCOT Security Plan document to be specific as to what modifications are being made to any Alert Level during the Hotline Call notifications to entities.

- ERCOT will only send the ERCOT Security Plan to SSRG members. The plan will not be posted.

- Jonte asked ERCOT’s John Adam how the voltage settings on the ERCOT web site are updated. Adams responded that ERCOT is responsible for updating the voltage profiles but takes into consideration TDSP recommendations. The OWG recommends ERCOT send a market bulletin whenever the voltage settings are updated.

- Black Start TF report—Owens

- Next meeting is scheduled for March 5, 2004.

- The TF expects one of the market participants to create a protocol revision request to change to a biennial rather than an annual process for the acquisition of black start resources.

- Tentative future meeting dates and locations.

- March 9, 10 and 11th is the ERCOT Seminar. The OWG will meet the morning of March 9, 2004 prior to attending the practice ERCOT Seminar.

- Tentative future meeting dates are April 21, May 19, June 16, July 21, Aug 18, September 22, October 20, and November 17.