DRAFT

May 19, 2004 OWG Meeting Minutes

Attendance:

David Darnell	CPS/Chair OGRTF			TO	210-353-2208

James Hinson	ERCOT						512-248-3997

Paul Barham		CPS					QSE	210-353-3892

Stephen C. Knapp	CPS					QSE	410-468-3606

Rick Keetch	   Reliant Energy/Chair OWG & ROS	QSE	713-497-2526

Sydney Niemeyer	TxGenco				QSE	713-207-5051

Jeff Healy		ERCOT						512-248-3079

Jack Thormahlen	LCRA/Vice Chair OWG		QSE	512-473-3200

Henry Zamora	AEN					QSE	512-322-6167

Ralph Poston	ERCOT						512-248-3129

Robert Potts	ERCOT						512-225-7022

Robert Avila	BPUB					TDSP	956-983-6319

Wayne Bolton	BEPC					QSE	254-750-6270

Tip Tipton		BEPC					TO	254-750-6267

Jason Sweeney	Tractebel				QSE	713-636-1477

Frank Owens		Garland/Chair Black Start TF	TO	972-205-3003

Tom Peterson	TXUPM					QSE	214-875-9299

John Jonte		CNP/Chair Communications TF	TO	713-207-2252

Jerry Willms	LCRA					TO	512-482-6307

Dennis Starbuck	AEN					TO	512-322-6694

Dennis Kunkel	AEP					TO	361-289-4003

Kent Grammer	ERCOT						572-248-6338

John Moore		STEC					TO	361-485-6137

Stan Morris		TNP					TO	281-337-6589

Anti-Trust Admonition

May 11, 2004 ROS Meeting Report

Rick Keetch reviewed with the OWG the ROS assignments related to NERC Black out recommendations. Rick gave overview of the ROS assignments and how they relate to the OGRTF.

Rick stated that TAC had approved OGRR143 and that the was discussion as to whether the ERCOT Board should approve the OGRRs instead of just being informed of their approval because they have become somewhat more like requirements rather than guides.

TAC Approved OGRR145 after making some minor changes related to the timeframe of reporting certain events to ERCOT. This is in the last two paragraphs of Section 3.1.4.1 of the Operating Guides.

April 21, 2004 Meeting Minutes Approval

June 1st is dead line for ERCOT to have the Load Shed Tables ratios established and provide to the OGRTF for administrative change to the Operating Guides. John Jonte discussed the requirement of the NERC recommendation 4b – vegetation maintenance. James Hinson – BS training- correction to state that ERCOT will budget for contractor, if not then ERCOT will train the trainer. The minutes were approved as amended.

Operating Guides Task Force Report

Recommended OGRRs

David Darnell reviewed the OGRTF activities of 5-18-04.

1. An OGRR will be submitted for Section 1.5 UF Load Shed 
2. Wayne Kemper is drafting OGRR for Vegetation Management reporting 
3. David Darnell is drafting OGRR for Training requirements 
4. Steve Knapp is drafting OGRR(s) to match up with PRR359 and PRR423 
5. OGRTF comments will be posted for OGRR 149 (regarding combined cycle         testing) 
6. OGRTF continues to do much work on Section 3

7.  Next meeting is June 15th.

Chief System Operator Report

James Hinson stated that ERCOT is having trouble consistently passing CPS1. Release 3 is due June 2, 2004.  James reviewed an April constraint that occurred due to line maintenance end time was completed 8 hours early but the active constraint continued longer that it should have. James requested that if a TO or QSE sees a similar event they should notify the ERCOT Shift Supervisor or Chief System Operator to report and resolve the problem.

- New Operations Bulletins

Kent Grammer reviewed the previous months published bulletins

#81, #82, #83, #84, #85. Kent will send out his presentation materials to the OWG distribution list.

Planned Outage Scheduling Implementation Update

- Outage Scheduler Enhancements

Ralph Poston reviewed the columns in the Outage Scheduler. The column CANCELLED<2 are outages that were terminated within two hours of start for any reason.  Ralph stated that a performance matrix would be developed later this year based on the outage scheduler.

Ralph reviewed the resource scheduler associated with PRR 425. Resources appear to be conforming to the outage scheduler. It was noted that a planned resource outage has to be submitted at least 8 business hours prior to commencement of the outage. If an outage is submitted at 3PM Friday afternoon, the outage will not be studied or approved until the next business day, i.e. generally the next Monday. Ralph discussed Outage Scheduler questions posed by TOs who participate in a recent conference call. Ralph will send out his presentation materials to the OWG distribution list.

A request was made to get the Network Data Working Group to look at whether the state estimator and the outage scheduler can be linked.

Black Start Task Force Report

Frank Owens discussed activities of the task force. ERCOT is accepting proposals for Black Start Services from entities outside of ERCOT. A gray boxed item in the Protocols related to ERCOT staffing may slow ability to award any possible proposed units outside of ERCOT. Frank requested that James Hinson attend the next Black Start TF meeting to answer questions by the task force related to training. Frank discussed the task force issue related to transmission system synchroscope sites. The next task force meeting will be on June 23, 2004 at the Met Center.

Compliance Report

Rick Keetch reviewed the NERC compliance templates associated with vegetation maintenance, emergency training and backup requirements and the associated ROS assignment.

- Vegetation Management

Vegetation maintenance work plan will probably be required annually. There will be two reports to submit 1) what maintenance will be performed the ensuing year and what maintenance was performed during the previous year. The OGRTF will DRAFT the appropriate OGRR. Next meeting the OWG should be prepared to review draft OGRR as to compliance with the NERC template.

- Operator Training

Rick discussed what will count toward complying with the NERC template. Black Start training, working at a backup site, simulations both with computer simulation or in-house drills and other training will satisfy the requirement. There is an extensive list posted on the NERC web site. The OGRTF will DRAFT the appropriate OGRR. Next meeting the OWG should be prepared to review draft OGRR as to compliance with the NERC template.

- Backup Plan

Robert Potts of ERCOT Compliance stated that ERCOT will be requesting the annual update for the Operating Guide required TO and QSE backup plans. This conforms to NERC Policy 6 T3. ERCOT also stated that confirmations of compliance would also be sent out once the annual backup plans were received.

- Other

Compliance is visiting with entities that are having issues following their SCE especially during the 0600 hour. Compliance has completed the annual under frequency survey.

Operations Report

Jeff Healy presented the April Operations Report. Jeff stated that there had been twice the number of outages in April 2004 as compared to April 2003.

- Status of EECP Step 4 Load Interruption Table

The interruption table will be effective June 1, 2004. The table is considered a Protocol mandated administrative change to the Operating Guides and should be posted by 5-21-04.

Additional Items

James Hinson and John Adams have received proposals for an operator transmission simulator. This will be geared toward the new market design. More by this fall.

Future Meetings

June 16, 2004

July 21, 2004