June 16, 2004 OWG Meeting Minutes

Attendance:

David Darnell	CPS/Chair OGRTF			TO	210-353-2208

James Hinson	ERCOT						512-248-3997

Paul Barham		CPS					QSE	210-353-3892

Stephen C. Knapp	Constellation			QSE	410-468-3606

Rick Keetch Reliant Energy/Chair OWG & ROS	QSE	713-497-2526

Jeff Healy		ERCOT						512-248-3079

Henry Zamora	AEN					QSE	512-322-6167

Robert Potts	ERCOT						512-225-7022

Wayne Bolton	BEPC					QSE	254-750-6270

Tip Tipton		BEPC					TO	254-750-6267

Jason Sweeney	Tractebel				QSE	713-636-1477

Frank Owens		Garland/Chair Black Start TF	TO	972-205-3003

John Jonte		CNP/Chair Communications TF	TO	713-207-2252

Dennis Starbuck	AEN					TO	512-322-6694

Dennis Kunkel	AEP					TO	361-289-4003

Kent Grammer	ERCOT						572-248-6338

Lane Robinson	ERCOT						512-225-7211

Ross Owen		TXU EO				TO	214-743-6864

Wayne Kemper	CNP					TO	713-207-2192

Ron Wheeler		Dynegy				QSE	713-767-0554

Larry Grimm		ERCOT						512-248-7025

### NOTE: Action Items Shown in Bold

- Anti-Trust Admonition – Keetch reviewed anti-trust admonition.

- June, 2004 ROS Meeting Report--Keetch

The first round of review of the TNT Protocols will be on July 6, 2004 followed by second round on August 16. Proposed Protocols break up interruptions within EECP into two steps. TAC has approved OGRR148 (removal of PAR reference).  ROS discussed using unconstrained Responsive Reserve to call EECP steps and agreed to endorse the proposed concept.

- May 19, 2004 Meeting Minutes Approval --Keetch

The minutes were revised and approved for posting. Action items were completed.

- Operating Guides Task Force Report -- David Darnell

- Darnell reviewed the OGRTF activities of 6-15-04.

- OGRR 149 (combined cycle testing) has completed comment period without comments other than those provided by the OGRTF. The OWG agreed to forward to ROS for approval.

- OGRR150 (UFLS maximum delay to 37 cycles) has recently been posted for comments.

- OGRR 147 (Fuel shortage notice) has been revised to include fuel shortage as a reason for an Emergency Notice. The OWG agreed to forward to ROS for approval.

- Darnell reviewed draft OGRR language incorporating NERC vegetation template requirements into the Operating Guides. The draft OGRR language was amended and will be forwarded to ROS for review. Mark Henry reviewed a draft form for reporting vegetation outages. Mark will revise, post on the ERCOT web site and send out to the OWG and previously established vegetation outage contacts.

- Darnel reviewed draft OGRR language incorporating NERC Operator training requirements. The OWG revised and agreed to provide this draft to the ROS for review. Additionally, the OWG agreed that the Communications TF should evaluate and recommend whether QSE Operators should be included in these requirements.

- Darnel discussed proposal to eliminate Section 3.2 of the Operating Guides dealing with scheduling which is either verbatim or paraphrasing from the ERCOT Protocols. No one at the OWG meeting voiced objections.

- Chief System Operator Report--Hinson

- Hinson reviewed follow-up on the ERCOT Operational Audit. After the initial audit, ERCOT reviewed the Frequency Desk procedures and conducted training. The follow up audit indicates an improvement from 54% up to a 93% score on the Frequency Desk.

- Ross Owens requested that James ask Ralph Poston to update his “13 point Outage Scheduler Issues”, dated 4-29-04. The new update should add a “6-04 Response” to each of the 13 items below the original response.

- Ross asked ERCOT Operations to investigate a problem with the naming of the contingencies for Transmission Alerts not matching the TO nomenclature.

- New Operations Bulletins—Kent Grammer

Kent reviewed the previous months published bulletins--86 through 93. Kent will send his presentation materials to the OWG distribution list.

- Communication TF — John Jonte

- Jonte reviewed a draft white paper describing the need for ERCOT Hurricane and Winter Storm Drills as well as suggested drill activities. The OWG agreed that it is appropriate to include this topic on the Communications TF agenda. Tentative date for the next Communications TF meeting is July 7, 2004.

- Black Start Task Force Report—Frank Owens

The next task force meeting will be on June 23, 2004 at the Met Center.

- Compliance Report – Robert Potts

- Potts reviewed the June 6 Compliance Report which was sent with the OWG agenda.

- Potts reminded the TOs and QSE that the DOE /NERC reports are required to be provided to ERCOT as quickly as possible after an event.

- Operations Report – Jeff Healy

Healy presented the May Operations Report, which was provided with the OWG agenda.

- Future Meetings

- July 21, 2004

- August 18, 2004

- September 22, 2004

- October 20, 2004

- November17, 2004