| PRR Number | 489PRR | PRR Title | Ancillary Service Deployment Performance Conditions |
| --- | --- | --- | --- |
| Date |  | 01/30/04 |  |
| Submitter’s Information |  |  |  |
| Name |  | Jeff Gerber |  |
| E-mail Address |  | jgerber@ercot.com |  |
| Company |  | ERCOT |  |
| Company Address |  | 7620 Metro Center Drive, Austin, TX 78744 |  |
| Phone Number |  | 512-225-7033 |  |
| Fax Number |  | 512-225-7165 |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | Will require increased effort in the calculation of QSE Ancillary Service performance. | None | Not known. |
| MARKET SEGMENT |  |  |  |
| Consumer | Not known. | Not known. | Not known. |
| LSE: General, Including NOIE | Not known. | Not known. | Not known. |
| LSE: CR & REP | Not known. | Not known. | Not known. |
| QSE | Not known. | Not known. | Potential upward trend in QSE Ancillary Service average performance scores. |
| Resource | Not known. | Not known. | Not known. |
| TDSP | Not known. | Not known. | Not known. |

Comments

This PRR would require ERCOT staff to examine QSE performance levels for all intervals during which the events in section 6.10.6 occur, and include passing scores from such intervals in the calculation of overall QSE average performance.  This calculation method could potentially raise some QSEs’ average Ancillary Service performance scores that are not the result of QSE actions to improve actual performance.  ERCOT does not object to this calculation method, as long as the Market Participants understand and accept the potentially subsequent effect on QSE average AS performance scores.

No changes to the proposed Protocol language are submitted by ERCOT.

Revised Proposed Protocol Language

### Ancillary Service Deployment Performance Conditions

ERCOT shall determine the performance of providers of Ancillary Services under normal operating conditions.  ERCOT shall remove from consideration of average performance of a QSE any period during which any of the following events has occurred and which does not have a passing score.

- The twenty (20) minute period where the QSE has experienced a Forced Outage causing an ERCOT frequency deviation of greater than 0.02 Hz;

- The entire Settlement Intervals for all QSEs in which ERCOT has deployed Balancing Energy in response to an Unusual Event;

- The entire Settlement Intervals in which ERCOT has deployed OOME to the QSE;

- The period where ERCOT issues instructions to any QSE to be deployed at ramp rates in excess of bid ramp rates;

- Certain other periods of abnormal operations as determined by ERCOT.

PIP112: Add item #5 below to the list when BUL is implemented:

(5)	If requested by a QSE, the two scheduling hours following an instruction issued by ERCOT to recall previously deployed Responsive Reserve, Non-Spin or Balancing Energy Up Services provided from Replacement Capacity that is using qualified Load as the QSE’s Resource;

(6)	Certain other periods of abnormal operations as determined by ERCOT.