| Protocols Revision Subcommittee Meeting | 02/20/04, 9:30 am – 3:30 pm ERCOT – Austin |
| --- | --- |
| Agenda |  |

Friday, 02/20/04

- Antitrust Admonition

- Approval of the 01/23/04 Meeting Minutes

- Project Update

- Update on Urgency Votes –

  - PRR492 – Plan to Alleviate Chronic Local Congestion.  This PRR was posted on 01/28/04 and the submitter requested urgent status.  An email vote on urgency ending on 02/02/04 failed to result in sufficient votes to declare urgent status (4 yes, 2 no votes received).  The PRR is on a normal timeline and is up for consideration by PRS in February.

  - PRR493 – Induction Generator Exemption.  This PRR was posted on 02/12/04 and the submitter requested urgent status.  Email voting on urgency concluded on 02/16/04, with urgent status being declared (9 yes, 1 no votes received).  This PRR is on an urgent timeline.

- PRR468 – Frequency Response Requirements & Monitoring.

- PRR483 - Interruptible LaaR Response to Instructions.

- PRR485 – Revision to Unit-Specific Deployment Based on Generic Cost.

- PRR486 – Fuel Oil Inventory Service.

- PRR487 – Black Start Resources.

- PRR488 – Weather Responsiveness Determination.

- PRR489 – Ancillary Service Deployment Performance Conditions.

- PRR490 – LaaR Annual Testing Description.

- PRR491 – Clarification to PRR413 RPRS Market.

- PRR492 – Plan to Alleviate Chronic Local Congestion.

- PRR493 – Induction Generator Exemption.

- Integration of PRS into the TX NODAL protocol process.  (Cheryl Moseley)

- Update on Open PRRs:

  - PRR472 – ERCOT Meter Read Transaction Validation Reinstatement.

  - PRR476 – Ramp Rate Adherence During Local Congestion.  Status update.

  - PRR480 - Reporting of Switch and Move-In Data.  Remanded in January to RMS.  Status update.

- Review of OGRRs  –

  - OGRR 141 - Updating Section 2 with Corrections and Clarifications.

  - OGRR 142 – DOE and NERC Reporting.

- System Prioritization and/or Review of Impact Analysis on Approved PRRs/PIPs/SCRs:

  - PRR404 – Energy Procured from ERCOT.

  - PRR426 – URC for Uncontrollable Resource.

  - PRR471 – NIDR to IDR Default Profile Scaling.

  - PRR473 – Reactive Standards.

  - PRR478 – Use of Lagged Dynamic Samples for New Load Profiles.

  - PRR479 – IDR Optional Removal Threshold.

  - PRR484 – Changes for Implementation of DLC.

  - SCR731 – Automate the Implementation of MCSM.

  - SCR732 – Enhancements to FasTrak Process.

- Proposed SCR – Zonal Instructed Deviation (ZID), and Resource Plan (RP).  Manny Muñoz.

- Additional Information Pending PRRs – - PRR356 – SCE Performance Requirement. This PRR was remanded by PRS to WMS and ROS Task Force on 09/25/03. - PRR358 – Negative Impact SCE. This PRR is to be considered along with PRR356 in the WMS and ROS Task Force review. - PRR384 – Protocol Preamble and Process for Advisory Opinion. This PRR has been tabled based on the August 2003 recommendation of TAC. - PRR409 – Voltage Support Service. This PRR was remanded to WMS on 5/22/03. - PRR462 – Market Solution Definition. This PRR was tabled with concurrence of the PUCT until more progress is made by the stakeholders at WMS and PRS concerning the Market Solution. - PRR472 – ERCOT Meter Read Transaction Validation Reinstatement. PRS remanded this PRR to RMS in November 2003. - PRR476 – Ramp Rate Adherence During Local Congestion. PRS deferred this PRR in December 2003 to obtain QSE PM input. - PRR480 – Reporting of Switch and Move-in Data. PRS remanded this PRR to RMS in January 2004. Pending PRRs (21 day comment period not yet complete) – None this month.

Posted Document Listing from ERCOT Website (For Reference only)

PRR #; Form; Submitter; Date. 468; PRR; Garland Power & Light; 9/22/03. 468; Com; Calpine; 9/26/03. 468; Com; Oncor Electric Transmission; 10/10/03. 468; Com; TXU Energy; 10/14/03. 468; Com; ERCOT; 10/16/03. 468; IA; ERCOT; 10/17/03. 468; Ppt; Sydney L. Niemeyer, TXGENCO; 1/22/04. 468; Com; ROS/WMS TF; 1/22/04. 468; Rpt; ROS/WMS TF; 1/22/04. 468; Com; ERCOT; 2/16/04. 468; IA; For PRS; 2/17/04. 483; PRR; ERCOT; 12/24/03. 483; IA; for PRS; 1/09/04. 485; PRR; ERCOT; 1/13/04. 485; Com; ANP; 2/13/04. 485; IA; For PRS; 2/18/04. 486; PRR; TXU Energy; 1/14/04. 486; Com; Garland; 1/16/04. 486; Com; MOD; 2/5/04. 486; Com; ERCOT; 2/16/04. 487; PRR; AEP; 1/15/04. 487; Com; Garland; 1/16/04. 487; Com; ERCOT; 2/18/04. 487; IA; For PRS; 2/18/04. 488; PRR; Profiling Working Group; 1/15/04. 488; IA; For PRS; 2/6/04. 489; PRR; TXU Energy; 1/19/04. 489; Com; ERCOT; 2/16/04. 489; PRR; For PRS; 2/16/04. 490; PRR; ERCOT; 1/19/04. 490; IA; For PRS; 2/16/04. 491; PRR; ERCOT; 1/22/04. 491; Com; ANP; 2/6/04. 491; IA; For PRS; 2/16/04. 492; PRR; Reliant Energy, Inc.; 1/29/04. 492; Com; Centerpoint; 2/13/04. 492; Com; ERCOT; 2/16/04. 493; PRR; AEP; 2/12/04. 493; Com; ERCOT; 2/18/04.