| PRR Number | 504PRR | PRR Title | Resource Derating Clarification |
| --- | --- | --- | --- |
| Date |  | March 24, 2004 |  |
| Submitter’s Information |  |  |  |
| Name |  | Henry Durrwachter |  |
| E-mail Address |  | hdurrwachter@txu.com |  |
| Company |  | TXU Energy |  |
| Company Address |  | 1717 Main Street Dallas, TX 75201 |  |
| Phone Number |  | (214) 875-9285 |  |
| Fax Number |  | (214) 875-9074 |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | None | None | Improves relevancy of Resource data received by ERCOT. |
| MARKET SEGMENT |  |  |  |
| Consumer | None | None | Not known |
| LSE: General, Including NOIE | None | None | Not known |
| LSE: CR & REP | None | None | Not known |
| QSE | None | None | Same as Resource |
| Resource | None | None | Gives guidance on deration entry requirements |
| TDSP | None | None | Not known |

Comments

TXU Energy recommends adding the phrase “the greater of 10% or” to the PRR to reduce the need to input non-material capacity changes associated with large capacity units into the ERCOT Outage Scheduler.  This language was in the original draft PRR but was removed by ROS.

On large capacity units (e.g., a 750 MW unit), a 10 MW change in rating which is expected to last longer than 48 hours due to some equipment malfunction or repair is not “material” in terms of its impact on the unit’s output or on ERCOT’s total capacity.  For such large capacity units, a 10% derating is “material”.  If the “hard” 10 MW limit is maintained, Resources will be inputting significantly more unit deratings into the ERCOT Outage Scheduler, but the impact on ERCOT operations or reliability would be minimal.

Revised Proposed Protocol Language

### Deratings

The Resource Entity or its designee must enter material deratings that are expected to last more than forty-eight (48) hours in the ERCOT Outage Scheduler.  A derating is considered to be material when the Resource’s capability is reduced by the greater of ten percent (10%) or 10 MW due to the loss of auxiliary equipment.  ERCOT will consider the Resource Entity’s capability as the lesser of the latest seasonal net capability test, or the asset registration submittal.