| PRR Number | 504PRR | PRR Title | Resource Derating Clarification |
| --- | --- | --- | --- |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 8.6.3, Deratings |  |
| Requested Resolution (Normal or Urgent) |  | Normal |  |
| Revision Description |  | Provides an explanation of what constitutes a Resource deration. |  |
| Reason for Revision |  | Defines the magnitude of the deratings to be entered, so that ERCOT will receive relevant information regarding Resource capability. |  |
| Timeline |  |  |  |
| Date Posted |  | 3/23/04 |  |
| Please see the Master List on the ERCOT website for current timeline information. |  |  |  |

| Sponsor |  |
| --- | --- |
| Name | Rick Keetch, on behalf of the ROS |
| E-mail Address | rkeetch@reliant.com |
| Company | Reliant Energy |
| Company Address | 1000 Main, Houston, TX |
| Phone Number | (713) 497-2526 |
| Fax Number | (713) 497-9720 |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | None | None | Improves relevancy of Resource data received by ERCOT. |
| MARKET SEGMENT | None | None | Not known |
| Consumer | None | None | Not known |
| LSE: General, Including NOIE | None | None | Not known |
| LSE: CR & REP | None | None | Not known |
| QSE | None | None | Same as Resource |
| Resource | None | None | Gives guidance on deration entry requirements |
| TDSP | None | None | Not known |

Proposed Protocol Language Revision

### Deratings

The Resource Entity or its designee must enter material deratings that are expected to last more than forty-eight (48) hours in the ERCOT Outage Scheduler.  A derating is considered to be material when the Resource’s capability is reduced by 10 MW or more due to the loss of auxiliary equipment.  ERCOT will consider the Resource Entity’s capability as the lesser of the latest seasonal net capability test, or the asset registration submittal.