| PRR Number | 502PRR | PRR Title | Aggregation of Combined Cycle Units Providing RRS |
| --- | --- | --- | --- |
| Impact Analysis Date (Impact Summary) |  | May 19, 2004 (Upon system implementation and filling ERCOT staffing requirements) |  |
| Cost/Budgetary Impact |  | 5-L |  |
| Estimated Project Time Requirements* *Unless otherwise indicated, project time requirements begin upon project initiation. |  | After project initiation, an internal project of at least two weeks of ERCOT Power Operations System database work will be required. An additional three (3) months will be necessary after completion of the database work and prior to implementation, for updating Operator Procedures and training Operators. Initiation of this project is dependent on market prioritization, ranking with other queued projects and completion of the implementation of (EMP 2.2, currently scheduled for mid-July, 2004, with EMMS Release 3.1). An Operations Guide revision is also necessary and a process for Compliance monitoring will need to be established. |  |
| ERCOT Staffing Impacts (across all areas) |  | Performance monitoring of availability of Responsive Reserve Service (RRS) creates an impact on ERCOT Compliance staff of 0.25 FTE to assist in creating the business rules and processes. |  |
| ERCOT Computer System Impacts |  | There will be a system impact to the ERCOT Power Operations System to change the generator and reserve modeling (database work). |  |
| ERCOT Business Function Impacts |  | An additional compliance measurement will need to be established to meet this PRR requirement to monitor the performance of QSEs with respect to availability of Responsive Reserve Service. An impact of 0.25 FTE is required for the ERCOT Compliance team for developing and monitoring the business rules and the process for performance monitoring of RRS availability. |  |
| Grid Operations/ Practices Impacts |  | Prior to implementation, Operator Procedures and Operator training are required. After system implementation, there is no impact to Grid Operations with respect to addressing performance monitoring of Responsive Reserve Service. |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

N/A

Evaluation of Interim Solutions (e.g., manual workarounds)

N/A

Comments

Responsive Reserve Service (RRS) is currently awarded and deployed on a portfolio basis. This PRR requests reporting of Combined Cycle units as an Aggregate Unit for compliance performance monitoring of RRS. This PRR appears to change the application of the 20% requirement (as specified in the Operating Guides) for Combined Cycle units. In addition, performance measures contemplated in this PRR are not yet part of the Protocols.