| PRR Number | 503PRR | PRR Title | Section 8 Coordination of Resource Outage Due to TSP |
| --- | --- | --- | --- |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 8.2.4, Management of Transmission Forced Outages or Maintenance Outages |  |
| Requested Resolution (Normal or Urgent) |  | Urgent |  |
| Revision Description |  | Include the following statement within the Protocols: Resource Entities that have arranged for redundant interconnection onto the ERCOT Transmission Grid, during the construction and interconnection phase, shall not be exposed to interruption of both interconnections at the same time, without the TSP arranging for station service and ERCOT taking on the responsibility of serving the Resource Entity’s obligations. |  |
| Reason for Revision |  | Resource Entities are being forced offline by the TSP even though the Resource Entity previously arranged for redundant interconnection points with ERCOT and the TSP. Resource Entity is not only unable to fulfill its contractual obligations, but also exposed to demand charges on station service and/ or damage to its equipment. |  |
| Timeline |  |  |  |
| Date Posted |  | 3/19/04 |  |
| Please see the Master List on the ERCOT website for current timeline information. |  |  |  |

| Sponsor |  |
| --- | --- |
| Name | Rafael Lozano |
| E-mail Address | rlozano@tielp.com |
| Company | PSEG Texgen |
| Company Address | 13760 Noel Road, Suite 930 |
| Phone Number | (972) 628-2753 |
| Fax Number | (972) 490-4635 |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT |  |  |  |
| MARKET SEGMENT |  |  |  |
| Consumer |  |  |  |
| LSE: General, Including NOIE |  |  |  |
| LSE: CR & REP |  |  |  |
| QSE |  |  |  |
| Resource |  |  |  |
| TDSP |  |  |  |

Proposed Protocol Language Revision

### 8.2.4	Management of Transmission Forced Outages or Maintenance Outages

In the event of a Forced Outage, the Resource Entity or TSP may remove the affected equipment from service immediately and must immediately notify ERCOT of its action.  Forced Outages may require ERCOT to review and/or withdraw approval of previously approved or accepted, as applicable Planned Outage or Maintenance Outage schedules to ensure reliability.

For Maintenance Outages, the Resource Entity or TSP shall notify ERCOT of any Resource or Transmission Facility Maintenance Outage according to the Maintenance Outage Levels defined in Section 2, Definitions and Acronyms.  ERCOT will coordinate the removal of Facilities from service within the defined timeframes as specified by the TSP or Resource Entity in its Notification to ERCOT.

ERCOT may require supporting information describing Forced Outages and Maintenance Outages.  ERCOT may reconsider and withdraw approvals of other previously approved Transmission or Reliability Resource Outages as a result of Forced Outages or Maintenance Outages, if necessary, in ERCOT’s determination to protect system reliability.  When ERCOT accepts a Maintenance Outage, ERCOT shall coordinate timing of the appropriate course of action as specified in Sections 8.3.8 and Sections 8.4.1.

Resource Entities that have arranged for redundant interconnection onto the ERCOT Transmission Grid, during the construction and interconnection phase, shall not be exposed to interruption of both interconnections at the same time, without the TSP arranging for station service and ERCOT taking on the responsibility of serving the Resource Entity’s obligations.

Removal of Resource or Transmission Facilities from service under Maintenance Outages shall be coordinated with ERCOT.  To minimize harmful impacts to the system in urgent situations, the equipment may be removed immediately from service, provided Notice is given immediately, by the Resource Entity or TSP, to ERCOT of such action.