| PRR Number | 516PRR | PRR Title | Curtailment Prioritization for Wind Generators |
| --- | --- | --- | --- |
| Date |  | May 14, 2004 |  |
| Submitter’s Information |  |  |  |
| Name |  | James Scott |  |
| E-mail Address |  | jscott@cielowind.com |  |
| Company |  | Cielo Wind Power, LLC |  |
| Company Address |  | 823 Congress, Ste. 500 Austin, TX 78701 |  |
| Phone Number |  | (512) 440-0305 |  |
| Fax Number |  | (512) 440-0277 |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT |  |  |  |
| MARKET SEGMENT |  |  |  |
| Consumer |  |  |  |
| LSE: General, Including NOIE |  |  |  |
| LSE: CR & REP |  |  |  |
| QSE |  |  |  |
| Resource |  |  |  |
| TDSP |  |  |  |

Comments

Cielo Wind Power, LLC  ("Cielo") strongly opposes PRR 516 which, if implemented, would create barriers to the development of new wind power projects in the "McCamey area" in favor of protecting the operations of existing wind power projects.  The PRR516 proposal undermines fair market access by new facilities and risks subsidizing at the market's expense older, and possibly less efficient, existing generation assets.

Cielo asks ERCOT or any committee of ERCOT act to reject this proposal so as to remove the cloud of uncertainty that exists regarding whether or not ERCOT or any committee of ERCOT is in consideration of such a proposal.   Any delay in rejection of this proposal would cause to further harm to future planned wind power projects in McCamey, Texas.

If the lack of a 345kV circuit from San Angelo-McCamey-Odessa is used as justification for this PRR 516, Cielo asks ERCOT or any committee of ERCOT to consider ordering the engineering and construction of the expansion of the 345kV system to incorporate this almost 800MW generation center in McCamey, Texas into ERCOT bulk 345kV network.

Revised Proposed Protocol Language