| PRR Number | 515PRR | PRR Title | Disclosure of Local Congestion |
| --- | --- | --- | --- |
| Impact Analysis Date |  | May 19, 2004 |  |
| Cost/Budgetary Impact |  | TBD |  |
| Estimated Project Time Requirements* *Unless otherwise indicated, project time requirements begin upon project initiation. |  | Some requirements of this PRR are scheduled for delivery in the EMMS Release 4 timeframe (planned for November 2004). The remaining items will require additional project work for extraction of data and posting to the website. |  |
| ERCOT Staffing Impacts (across all areas) |  | Minimal impacts upon system implementation. However, the manual workaround for providing OOME service amount by the 10th Business Day could not be done without one additional trained FTE on staff (not budgeted). |  |
| ERCOT Computer System Impacts |  | If you adopt ERCOT comments regarding the posting of information on the 2nd and 17th Business Day, the following items can be posted to the website once the necessary System enhancements are in place: - OOMC dispatch instructions to the unit level (currently being done on an aggregated basis per zone per interval by ERCOT Settlements group as a manual workaround in an effort to satisfy PRR 446). This data could be provided by the 2nd Business Day after the Operating Day upon system implementation. - OOME dispatch instructions (not currently being done). This data could be provided by the 2nd Business Day after the Operating Day upon system implementation. - the determined amount of OOME service provided for each unit receiving instructions (can be automated through the extract process and could be provided by the 17th Business Day after the Operating Day upon system implementation). - The results of the OOME studies (RTCAs) are scheduled to be archived with the Release 4 timeline, but no method has been developed for posting these to the website. The actual studies will not be available until Release 5. |  |
| ERCOT Business Function Impacts |  | Minimal impacts upon system implementation. |  |
| Grid Operations/ Practices Impacts |  | None |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

Evaluation of Interim Solutions (e.g., manual workarounds)

Comments